## log - configuration check
pcrate | CSC | time stamp | TMB |  | ALCT |  | DMB | No.
VMEm1_12 | ME-1/1/35 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log
VMEm1_12 | ME-1/1/35 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log
VMEm1_12 | ME-1/1/35 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log
VMEm1_4 | ME-1/1/9 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log
VMEm1_4 | ME-1/1/9 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log
VMEm1_4 | ME-1/1/9 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_m_configuration_check.log
VMEm1_4 | ME-1/3/11 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log
VMEm1_4 | ME-1/3/11 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log
VMEm1_4 | ME-1/3/11 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log
VMEm1_8 | ME-1/1/22 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file | DMB | FPGA config bit not set at CCB | 20090203_1036_m_configuration_check.log
VMEm2_3 | ME-2/1/9 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file |  |  | 20090203_1036_m_configuration_check.log
VMEm2_3 | ME-2/1/9 | 20090204_1612 |  |  | ALCT | Config read dees not equal xml file and did not expect it to |  |  | 20090204_1612_m_configuration_check.log
VMEm2_3 | ME-2/1/9 | 20090206_1659 |  |  | ALCT | Config read dees not equal xml file and did not expect it to |  |  | 20090206_1659_m_configuration_check.log
VMEm2_5 | ME-2/2/27 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log
VMEm2_5 | ME-2/2/27 | 20090204_1612 |  |  |  |  | DMB | Config read does not equal xml file | 20090204_1612_m_configuration_check.log
VMEm3_3 | ME-3/2/17 | 20090206_1659 |  |  |  |  | DMB | Config read does not equal xml file | 20090206_1659_m_configuration_check.log
VMEm3_4 | ME-3/2/24 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file | DMB | FPGA config bit not set at CCB | 20090203_1036_m_configuration_check.log
VMEm3_4 | ME-3/2/24 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log
VMEm3_4 | ME-3/2/24 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_m_configuration_check.log
VMEm4_6 | ME-4/1/17 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log
VMEm4_6 | ME-4/1/17 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log
VMEp1_4 | ME+1/3/11 | 20090204_1614 |  |  |  |  | DMB | Config read does not equal xml file | 20090204_1614_p_configuration_check.log
VMEp1_4 | ME+1/3/11 | 20090205_0948 |  |  |  |  | DMB | Config read does not equal xml file | 20090205_0948_p_configuration_check.log
VMEp1_5 | ME+1/3/12 | 20090205_0948 |  |  |  |  | DMB | Config read does not equal xml file | 20090205_0948_p_configuration_check.log
VMEp1_7 | CCB | 20090204_1614 | 0 |  | 0 |  | 0 |  | 20090204_1614_p_configuration_check.log
VMEp1_8 | ME+1/2/21 | 20090203_103 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_p_configuration_check.log
VMEp1_8 | ME+1/2/21 | 20090204_1614 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log
VMEp1_8 | ME+1/2/21 | 20090205_0948 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log
VMEp1_8 | ME+1/2/21 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log
VMEp1_9 | ME+1/2/26 | 20090203_103 |  |  | ALCT | Config read does not equal xml file |  |  | 20090203_1036_p_configuration_check.log
VMEp2_3 | ME+2/1/10 | 20090203_103 |  |  |  |  | DMB | FPGA config bit not set at CCB | 20090203_1036_p_configuration_check.log
VMEp2_3 | ME+2/1/10 | 20090204_1614 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log
VMEp2_3 | ME+2/1/10 | 20090205_0948 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log
VMEp2_3 | ME+2/1/10 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log
VMEp2_3 | ME+2/2/18 | 20090203_103 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | FPGA config bit not set at CCB | 20090203_1036_p_configuration_check.log
VMEp2_3 | ME+2/2/18 | 20090204_1614 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log
VMEp2_3 | ME+2/2/18 | 20090205_0948 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log
VMEp2_3 | ME+2/2/18 | 20090206_1659 | TMB | Config equals xml but was not expected to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log

## Log - Firmware Status
pcrate | CSC | time stamp | TMB | ALCT |  | CFEB |  |  |  |  | File
VMEm1_8 | ME-1/1/22 | 20090203_1033 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090203_1033
VMEm2_4 | ME-2/2/24 | 20090130_1527 |  | ALCT | [6 empty] | 20090130_1527
VMEm2_5 | ME-2/2/27 | 20090204_1612 | [7 empty] | CFEB1 | 20090204_1612
VMEm3_4 | ME-3/2/24 | 20090203_1033 | [6 empty] | CFEB2 |  | 20090203_1033
VMEm3_4 | ME-3/2/24 | 20090204_1612 | [6 empty] | CFEB2 |  | 20090204_1612
VMEm3_4 | ME-3/2/24 | 20090205_0944 | [6 empty] | CFEB2 |  | 20090205_0944
VMEm3_4 | ME-3/2/24 | 20090206_0951 | [6 empty] | CFEB2 |  | 20090206_0951
VMEm4_6 | ME-4/1/17 | 20090203_1033 |  |  |  |  | CFEB4 |  |  |  | 20090203_1033
VMEp1_11 | ME+1/1/32 | 20090203_1021 | [5 empty] | CFEB3 |  |  | 20090203_1021
VMEp1_4 | ME+1/3/11 | 20090205_0944 |  |  |  |  | CFEB3 |  |  |  | 20090205_0944
VMEp1_4 | ME+1/3/11 | 20090206_0951 |  |  |  |  | CFEB3 |  |  |  | 20090206_0951
VMEp1_5 | ME+1/3/12 | 20090205_0944 |  |  | DMB control | CFEB4 | CFEB3 | CFEB2 | CFEB1 |  | 20090205_0944
VMEp1_8 | ME+1/2/21 | 20090130_1529 |  |  | DMB control | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090130_1529
VMEp2_3 | ME+2/1/10 | 20090130_1529 |  |  |  |  | CFEB4 |  |  |  | 20090130_1529
VMEp2_3 | ME+2/1/10 | 20090203_1021 |  |  |  |  | CFEB4 |  |  |  | 20090203_1021
VMEp2_3 | ME+2/1/10 | 20090204_1611 |  |  |  |  | CFEB4 |  |  |  | 20090204_1611
VMEp2_3 | ME+2/1/10 | 20090205_0944 |  |  |  |  | CFEB4 |  |  |  | 20090205_0944
VMEp2_3 | ME+2/1/10 | 20090206_0951 |  |  |  |  | CFEB4 |  |  |  | 20090206_0951
VMEp2_3 | ME+2/2/18 | 20090130_1529 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090130_1529
VMEp2_3 | ME+2/2/18 | 20090203_1021 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090203_1021
VMEp2_3 | ME+2/2/18 | 20090204_1611 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090204_1611
VMEp2_3 | ME+2/2/18 | 20090205_0944 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090205_0944
VMEp2_3 | ME+2/2/18 | 20090206_0951 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090206_0951

## Input 1 - configuration check
VMEp1_8 | ME+1/2/21 |  |  |  |  | DMB | 2 | CFEB1 Comparitor Threshold = -545 expected to be 30
VMEp2_3 | ME+2/1/10 |  |  |  |  | DMB | 2 | CFEB3 3.2V instead of 5V
VMEp2_3 | ME+2/2/18 | TMB | 3 | ALCT | 2 | DMB | 2 | LVMB cable disconnected at DMB
[fborcher@srv-C2C04-21 status_check]$ more 20090206_1659_p_configuration_check.log
VMEm1_4 | ME-1/1/9 |  |  |  |  | DMB | 2 | CFEB1 config readback all fs |  | from ALFS > ssh cmsuser 5 or 6
VMEm1_4 | ME-1/3/11 |  |  |  |  | DMB | 3 | DMB user proms reading fs
VMEm1_12 | ME-1/1/35 |  |  |  |  | DMB | 3 | CFEB3 reads comparator threshold 2902 expected 30 |  | file is | ~cscpro/firmware/status_check
VMEm2_3 | ME-2/1/9 |  |  | ALCT | 2 |  |  | ALCT AFEB18 thresh has 71 expected 80
VMEm3_3 | ME-3/2/17 |  |  |  |  | DMB | 1 |  |  | show file with >less filename
VMEm3_4 | ME-3/2/24 |  |  |  |  | DMB | 2 | CFEB2 dead |  | space bar to page to bottom
VMEm4_6 | ME-4/1/17 |  |  |  |  | DMB | 3 | CFEB4 bad read firmware ID | intermittent | highlight text to copy
[fborcher@srv-C2C04-21 status_check]$ more 20090206_1659_m_configuration_check.log
VMEp1_4 | ME+1/3/11 |  |  |  |  | DMB | 1 |  |  | Paste into A1 from input file
VMEp1_5 | ME+1/3/12 |  |  |  |  | DMB | 1 |  |  | text to column should be automatic
VMEp1_8 | ME+1/2/21 |  |  |  |  | DMB | 2 | CFEB1 Comparitor Threshold = -545 expected to be 30
VMEp2_3 | ME+2/1/10 |  |  |  |  | DMB | 2 | CFEB3 3.2V instead of 5V
VMEp2_3 | ME+2/2/18 | TMB | 2 | ALCT | 2 | DMB | 2 | LVMB cable disconnected at DMB
[fborcher@srv-C2C04-21 status_check]$ more 20090205_0948_p_configuration_check.log
VMEp1_4 | ME+1/3/11 |  |  |  |  | DMB | 1
VMEp1_7 | CCB
VMEp1_8 | ME+1/2/21 |  |  |  |  | DMB | 2 | CFEB1 Comparitor Threshold = -545 expected to be 30
VMEp2_3 | ME+2/1/10 |  |  |  |  | DMB | 2 | CFEB3 3.2V instead of 5V
VMEp2_3 | ME+2/2/18 | TMB | 2 | ALCT | 2 | DMB | 2 | LVMB cable disconnected at DMB
[fborcher@srv-C2C04-21 status_check]$ more 20090204_1614_p_configuration_check.log
VMEm1_4 | ME-1/1/9 |  |  |  |  | DMB | 2 | CFEB1 config readback all fs
VMEm1_4 | ME-1/3/11 |  |  |  |  | DMB | 2 | DMB user proms reading fs
VMEm1_12 | ME-1/1/35 |  |  |  |  | DMB | 2 | CFEB3 reads comparator threshold 2902 expected 30
VMEm2_3 | ME-2/1/9 |  |  | ALCT | 2 |  |  | ALCT AFEB18 thresh has 71 expected 80
VMEm2_5 | ME-2/2/27 |  |  |  |  | DMB | 1
VMEm3_4 | ME-3/2/24 |  |  |  |  | DMB | 2 | CFEB2 dead
[fborcher@srv-C2C04-21 status_check]$ more 20090204_1612_m_configuration_check.log
VMEp1_8 | ME+1/2/21 |  |  |  |  | DMB | 1
VMEp1_9 | ME+1/2/26 |  |  | ALCT | 1
VMEp2_3 | ME+2/1/10 |  |  |  |  | DMB | 4
VMEp2_3 | ME+2/2/18 | TMB | 2 | ALCT | 2 | DMB | 4
[fborcher@srv-C2C04-21 status_check]$ more 20090203_1036_p_configuration_check.log
VMEm1_4 | ME-1/1/9 |  |  |  |  | DMB | 1
VMEm1_4 | ME-1/3/11 |  |  |  |  | DMB | 1
VMEm1_8 | ME-1/1/22 |  |  | ALCT | 1 | DMB | 4
VMEm1_12 | ME-1/1/35 |  |  |  |  | DMB | 1
VMEm2_3 | ME-2/1/9 |  |  | ALCT | 1
VMEm2_5 | ME-2/2/27 |  |  |  |  | DMB | 1
VMEm3_4 | ME-3/2/24 |  |  | ALCT | 1 | DMB | 4
VMEm4_6 | ME-4/1/17 |  |  |  |  | DMB | 1
[fborcher@srv-C2C04-21 status_check]$ more 20090203_1036_m_configuration_check.log

## Input 2 - configuration check
|  |  | TMB |  | ALCT |  | DMB |  |  |  | TMB |  |  | ALCT |  |  | DMB |  |  | text
[12 empty] | code | formula |  |  | formula |  |  | formula | #4 | #3 | #2 | #1
VMEp1_8 | ME+1/2/21 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to | FPGA config bit not set at CCB | Config equals xml but was not expected to | Config read dees not equal xml file and did not expect it to | Config read does not equal xml file
VMEp2_3 | ME+2/1/10 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEp2_3 | ME+2/2/18 | 20090206_1659 | TMB | Config equals xml but was not expected to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_p_configuration_check.log | Should pick up from Input 1 |  | 3 | Config equals xml but was not expected to |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to
[fborcher@srv-C2C04-21 status_check]$ more 20090206_1659_p_configuration_check.log | 0 | 20090206_1659 | 0 |  | 0 |  | 0 |  | 20090206_1659_p_configuration_check.log | Put time stamp into column C |  | 0 |  |  | 0 |  |  | 0
VMEm1_4 | ME-1/1/9 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_m_configuration_check.log | Put file name into column M | [7 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm1_4 | ME-1/3/11 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log | copy A:M and paste values into Log | [7 empty] | 3 | Config equals xml but was not expected to
VMEm1_12 | ME-1/1/35 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log | [8 empty] | 3 | Config equals xml but was not expected to
VMEm2_3 | ME-2/1/9 | 20090206_1659 |  |  | ALCT | Config read dees not equal xml file and did not expect it to |  |  | 20090206_1659_m_configuration_check.log | [5 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm3_3 | ME-3/2/17 | 20090206_1659 |  |  |  |  | DMB | Config read does not equal xml file | 20090206_1659_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm3_4 | ME-3/2/24 | 20090206_1659 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090206_1659_m_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm4_6 | ME-4/1/17 | 20090206_1659 |  |  |  |  | DMB | Config equals xml but was not expected to | 20090206_1659_m_configuration_check.log | [8 empty] | 3 | Config equals xml but was not expected to
[fborcher@srv-C2C04-21 status_check]$ more 20090206_1659_m_configuration_check.log | 0 | 20090206_1659 | 0 |  | 0 |  | 0 |  | 20090206_1659_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEp1_4 | ME+1/3/11 | 20090205_0948 |  |  |  |  | DMB | Config read does not equal xml file | 20090205_0948_p_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEp1_5 | ME+1/3/12 | 20090205_0948 |  |  |  |  | DMB | Config read does not equal xml file | 20090205_0948_p_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEp1_8 | ME+1/2/21 | 20090205_0948 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEp2_3 | ME+2/1/10 | 20090205_0948 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEp2_3 | ME+2/2/18 | 20090205_0948 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090205_0948_p_configuration_check.log |  |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to
[fborcher@srv-C2C04-21 status_check]$ more 20090205_0948_p_configuration_check.log | 0 | 20090205_0948 | 0 |  | 0 |  | 0 |  | 20090205_0948_p_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEp1_4 | ME+1/3/11 | 20090204_1614 |  |  |  |  | DMB | Config read does not equal xml file | 20090204_1614_p_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEp1_7 | CCB | 20090204_1614 | 0 |  | 0 |  | 0 |  | 20090204_1614_p_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEp1_8 | ME+1/2/21 | 20090204_1614 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEp2_3 | ME+2/1/10 | 20090204_1614 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEp2_3 | ME+2/2/18 | 20090204_1614 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1614_p_configuration_check.log |  |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to
[fborcher@srv-C2C04-21 status_check]$ more 20090204_1614_p_configuration_check.log | 0 | 20090204_1614 | 0 |  | 0 |  | 0 |  | 20090204_1614_p_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEm1_4 | ME-1/1/9 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm1_4 | ME-1/3/11 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm1_12 | ME-1/1/35 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm2_3 | ME-2/1/9 | 20090204_1612 |  |  | ALCT | Config read dees not equal xml file and did not expect it to |  |  | 20090204_1612_m_configuration_check.log | [5 empty] | 2 | Config read dees not equal xml file and did not expect it to
VMEm2_5 | ME-2/2/27 | 20090204_1612 |  |  |  |  | DMB | Config read does not equal xml file | 20090204_1612_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm3_4 | ME-3/2/24 | 20090204_1612 |  |  |  |  | DMB | Config read dees not equal xml file and did not expect it to | 20090204_1612_m_configuration_check.log | [8 empty] | 2 | Config read dees not equal xml file and did not expect it to
[fborcher@srv-C2C04-21 status_check]$ more 20090204_1612_m_configuration_check.log | 0 | 20090204_1612 | 0 |  | 0 |  | 0 |  | 20090204_1612_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEp1_8 | ME+1/2/21 | 20090203_103 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_p_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEp1_9 | ME+1/2/26 | 20090203_103 |  |  | ALCT | Config read does not equal xml file |  |  | 20090203_1036_p_configuration_check.log | [5 empty] | 1 | Config read does not equal xml file |  | 0
VMEp2_3 | ME+2/1/10 | 20090203_103 |  |  |  |  | DMB | FPGA config bit not set at CCB | 20090203_1036_p_configuration_check.log | [8 empty] | 4 | FPGA config bit not set at CCB
VMEp2_3 | ME+2/2/18 | 20090203_103 | TMB | Config read dees not equal xml file and did not expect it to | ALCT | Config read dees not equal xml file and did not expect it to | DMB | FPGA config bit not set at CCB | 20090203_1036_p_configuration_check.log |  |  | 2 | Config read dees not equal xml file and did not expect it to |  | 2 | Config read dees not equal xml file and did not expect it to |  | 4 | FPGA config bit not set at CCB
[fborcher@srv-C2C04-21 status_check]$ more 20090203_1036_p_configuration_check.log | 0 | 20090203_103 | 0 |  | 0 |  | 0 |  | 20090203_1036_p_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
VMEm1_4 | ME-1/1/9 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm1_4 | ME-1/3/11 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm1_8 | ME-1/1/22 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file | DMB | FPGA config bit not set at CCB | 20090203_1036_m_configuration_check.log | [5 empty] | 1 | Config read does not equal xml file |  | 4 | FPGA config bit not set at CCB
VMEm1_12 | ME-1/1/35 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm2_3 | ME-2/1/9 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file |  |  | 20090203_1036_m_configuration_check.log | [5 empty] | 1 | Config read does not equal xml file |  | 0
VMEm2_5 | ME-2/2/27 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
VMEm3_4 | ME-3/2/24 | 20090203_1036 |  |  | ALCT | Config read does not equal xml file | DMB | FPGA config bit not set at CCB | 20090203_1036_m_configuration_check.log | [5 empty] | 1 | Config read does not equal xml file |  | 4 | FPGA config bit not set at CCB
VMEm4_6 | ME-4/1/17 | 20090203_1036 |  |  |  |  | DMB | Config read does not equal xml file | 20090203_1036_m_configuration_check.log | [8 empty] | 1 | Config read does not equal xml file
[fborcher@srv-C2C04-21 status_check]$ more 20090203_1036_m_configuration_check.log | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0
0 | 0 | 20090203_1036 | 0 |  | 0 |  | 0 |  | 20090203_1036_m_configuration_check.log |  |  | 0 |  |  | 0 |  |  | 0

## Input 1 - Firmware Status
date_time = 20090206_0951
VMEm3_4 | ME-3/2/24 | [6 empty] | CFEB2
date_time = 20090206_0951
VMEp1_4 | ME+1/3/11 |  |  |  |  | CFEB3 |  |  |  | from ALFS > ssh cmsuser 5 or 6
VMEp2_3 | ME+2/1/10 |  |  |  |  | CFEB4
VMEp2_3 | ME+2/2/18 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | file is | ~cscpro/firmware/status_check
date_time = 20090205_0944
VMEm3_4 | ME-3/2/24 | [6 empty] | CFEB2 |  | show file with >less filename
date_time = 20090205_0944 | [9 empty] | space bar to page to bottom
VMEp1_4 | ME+1/3/11 |  |  |  |  | CFEB3 |  |  |  | highlight text to copy
VMEp1_5 | ME+1/3/12 |  |  | DMB control | CFEB4 | CFEB3 | CFEB2 | CFEB1
VMEp2_3 | ME+2/1/10 |  |  |  |  | CFEB4 |  |  |  | Paste into A1 from input file
VMEp2_3 | ME+2/2/18 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | text to column should be automatic
date_time = 20090204_1612
VMEm2_5 | ME-2/2/27 | [7 empty] | CFEB1
VMEm3_4 | ME-3/2/24 | [6 empty] | CFEB2
date_time = 20090204_1611
VMEp2_3 | ME+2/1/10 |  |  |  |  | CFEB4
VMEp2_3 | ME+2/2/18 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1
date_time = 20090203_1033
VMEm1_8 | ME-1/1/22 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1
VMEm3_4 | ME-3/2/24 | [6 empty] | CFEB2
VMEm4_6 | ME-4/1/17 |  |  |  |  | CFEB4
date_time = 20090203_1021
VMEp1_11 | ME+1/1/32 | [5 empty] | CFEB3
VMEp2_3 | ME+2/1/10 |  |  |  |  | CFEB4
VMEp2_3 | ME+2/2/18 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1
date_time = 20090130_1529
VMEp1_8 | ME+1/2/21 |  |  | DMB control | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1
VMEp2_3 | ME+2/1/10 |  |  |  |  | CFEB4
VMEp2_3 | ME+2/2/18 |  | ALCT |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1
date_time = 20090130_1527
VMEm2_4 | ME-2/2/24 | TMB | ALCT

## Input 2 - Firmware Status
date_time = 20090206_0951 | 0 | 20090206_0951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090206_0951
VMEm3_4 | ME-3/2/24 | 20090206_0951 | [6 empty] | CFEB2 | 0 | 20090206_0951
date_time = 20090206_0951 | 0 | 20090206_0951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090206_0951
VMEp1_4 | ME+1/3/11 | 20090206_0951 |  |  |  |  | CFEB3 |  | 0 | 0 | 20090206_0951
VMEp2_3 | ME+2/1/10 | 20090206_0951 |  |  |  |  | CFEB4 |  |  | 0 | 20090206_0951 | Should pick up from Input 1
VMEp2_3 | ME+2/2/18 | 20090206_0951 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090206_0951 | Put time stamp into column C
date_time = 20090205_0944 | 0 | 20090205_0944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090205_0944 | Put file name into column M
VMEm3_4 | ME-3/2/24 | 20090205_0944 | [6 empty] | CFEB2 | 0 | 20090205_0944 | copy A:M and paste values into Log
date_time = 20090205_0944 | 0 | 20090205_0944 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090205_0944
VMEp1_4 | ME+1/3/11 | 20090205_0944 |  |  |  |  | CFEB3 |  | 0 | 0 | 20090205_0944
VMEp1_5 | ME+1/3/12 | 20090205_0944 |  |  | DMB control | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 0 | 20090205_0944
VMEp2_3 | ME+2/1/10 | 20090205_0944 |  |  |  |  | CFEB4 |  |  | 0 | 20090205_0944
VMEp2_3 | ME+2/2/18 | 20090205_0944 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090205_0944
date_time = 20090204_1612 | 0 | 20090204_1612 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090204_1612
VMEm2_5 | ME-2/2/27 | 20090204_1612 | [7 empty] | CFEB1 | 20090204_1612
VMEm3_4 | ME-3/2/24 | 20090204_1612 | [6 empty] | CFEB2 | 0 | 20090204_1612
date_time = 20090204_1611 | 0 | 20090204_1611 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090204_1611
VMEp2_3 | ME+2/1/10 | 20090204_1611 |  |  |  |  | CFEB4 |  |  | 0 | 20090204_1611
VMEp2_3 | ME+2/2/18 | 20090204_1611 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090204_1611
date_time = 20090203_1033 | 0 | 20090203_1033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090203_1033
VMEm1_8 | ME-1/1/22 | 20090203_1033 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090203_1033
VMEm3_4 | ME-3/2/24 | 20090203_1033 | [6 empty] | CFEB2 | 0 | 20090203_1033
VMEm4_6 | ME-4/1/17 | 20090203_1033 |  |  |  |  | CFEB4 |  |  | 0 | 20090203_1033
date_time = 20090203_1021 | 0 | 20090203_1021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090203_1021
VMEp1_11 | ME+1/1/32 | 20090203_1021 | [5 empty] | CFEB3 |  | 0 | 20090203_1021
VMEp2_3 | ME+2/1/10 | 20090203_1021 |  |  |  |  | CFEB4 |  |  | 0 | 20090203_1021
VMEp2_3 | ME+2/2/18 | 20090203_1021 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090203_1021
date_time = 20090130_1529 | 0 | 20090130_1529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1529
VMEp1_8 | ME+1/2/21 | 20090130_1529 |  |  | DMB control | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090130_1529
VMEp2_3 | ME+2/1/10 | 20090130_1529 |  |  |  |  | CFEB4 |  |  | 0 | 20090130_1529
VMEp2_3 | ME+2/2/18 | 20090130_1529 | ALCT |  |  | CFEB5 | CFEB4 | CFEB3 | CFEB2 | CFEB1 | 20090130_1529
date_time = 20090130_1527 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
VMEm2_4 | ME-2/2/24 | 20090130_1527 | ALCT | [6 empty] | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527
0 | 0 | 20090130_1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20090130_1527