## Log Input
Entry ID | Date of Action | Hardware Type | Board ID | Site | Entered by | Crate Type | Crate Location Name | Rack | Slot Designation | Crate slot | e-log reference | comment | Mandatory for INB Barcode | Description | Location | Responsible Email | status or action taken | Serial N/O A (mfg) | Serial N/O B (rec) | Type (mfg) | Type (name) | Link to test Procedure | Link to Test Results | Global Test Result | Link to Repair History | Additional Information
| 2008-07-30 | RAT | 999 | detector | Fred | PC | VME-1/7 | X3S31c |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME-1/1/19 | 3052180120200500999 | ME RAT | X3S31c04 | fborcher@cern.ch | remove | RAT0999
| 2008-07-30 | RAT | 999 | detector | Fred | PC | VME-1/7 | X3S31c |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME-1/1/19 | 3052180120200500999 | ME RAT | X3S31c04 | fborcher@cern.ch | install | RAT0999
| 2008-07-30 | RAT | 999 | detector | Fred | PC | VME-1/7 | X3S31c |  | 10 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME-1/1/19 | 3052180120200500999 | ME RAT | X3S31c10 | fborcher@cern.ch | remove | RAT0999
| 2008-07-30 | RAT | 999 | detector | Fred | PC | VME-1/7 | X3S31c |  | 10 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME-1/1/19 | 3052180120200500999 | ME RAT | X3S31c10 | fborcher@cern.ch | install | RAT0999
| 2008-07-30 | RAT | 5118 | detector | Misha | PC | VME-1/7 | X3S31c |  | 6 | https://cmsdaq.cern.ch/elog/CSC/4894 | Debugging ALCT configuration problem on ME+1/1/20 | 3052180120200505118 | ME RAT | X3S31c06 | fborcher@cern.ch | remove | RAT5118
| 2008-07-30 | RAT | 5369 | detector | Misha | PC | VME-1/7 | X3S31c |  | 6 | https://cmsdaq.cern.ch/elog/CSC/4894 |  | 3052180120200505369 | ME RAT | X3S31c06 | fborcher@cern.ch | install | RAT5369
| 2008-07-30 | RAT | 5369 | detector | Misha | PC | VME-1/7 | X3S31c |  | 14 | https://cmsdaq.cern.ch/elog/CSC/4894 | Debugging ALCT configuration problem on ME+1/1/20 | 3052180120200505369 | ME RAT | X3S31c14 | fborcher@cern.ch | remove | RAT5369
| 2008-07-30 | RAT | 5118 | detector | Misha | PC | VME-1/7 | X3S31c |  | 14 | https://cmsdaq.cern.ch/elog/CSC/4894 |  | 3052180120200505118 | ME RAT | X3S31c14 | fborcher@cern.ch | install | RAT5118
| 2008-07-30 | RAT | 5124 | detector | misha | PC | VME-1/7 | X3S31c |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME+1/1/19 | 3052180120200505124 | ME RAT | X3S31c04 | fborcher@cern.ch | remove | RAT5124
| 2008-07-30 | RAT | 5129 | detector | misha | PC | VME-1/7 | X3S31c |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4888 |  | 3052180120200505129 | ME RAT | X3S31c04 | fborcher@cern.ch | install | RAT5129
| 2008-07-30 | RAT | 5129 | detector | misha | PC | VME-1/7 | X3S31c |  | 10 | https://cmsdaq.cern.ch/elog/CSC/4888 | Debugging ALCT configuration problem on ME+1/1/19 | 3052180120200505129 | ME RAT | X3S31c10 | fborcher@cern.ch | remove | RAT5129
| 2008-07-30 | RAT | 5124 | detector | misha | PC | VME-1/7 | X3S31c |  | 10 | https://cmsdaq.cern.ch/elog/CSC/4888 |  | 3052180120200505124 | ME RAT | X3S31c10 | fborcher@cern.ch | install | RAT5124
| 2008-07-30 | RAT | 5172 | detector | Fred | PC | VME-1/5 | X5L31b |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4895 | Debugging ALCT configuration problem on ME+1/1/13 | 3052180120200505172 | ME RAT | X5L31b04 | fborcher@cern.ch | remove | RAT5172
| 2008-07-30 | RAT | 5170 | detector | Fred | PC | VME-1/5 | X5L31b |  | 4 | https://cmsdaq.cern.ch/elog/CSC/4895 |  | 3052180120200505170 | ME RAT | X5L31b04 | fborcher@cern.ch | install | RAT5170
| 2008-07-30 | RAT | 5170 | detector | Fred | PC | VME-1/5 | X5L31b |  | 6 | https://cmsdaq.cern.ch/elog/CSC/4895 | Debugging ALCT configuration problem on ME+1/1/13 | 3052180120200505170 | ME RAT | X5L31b06 | fborcher@cern.ch | remove | RAT5170
| 2008-07-30 | RAT | 5172 | detector | Fred | PC | VME-1/5 | X5L31b |  | 6 | https://cmsdaq.cern.ch/elog/CSC/4895 |  | 3052180120200505172 | ME RAT | X5L31b06 | fborcher@cern.ch | install | RAT5172
| 2008-08-15 | TMB | 5377 | detector | misha | PC | VME+2/2 | X5R41d | F | 20 | https://cmsdaq.cern.ch/elog/CSC/5030 | ALCT errors debugging | 3052201302200505377 | ME TMB | X5R41d20F | fborcher@cern.ch | remove | TMB5377
| 2008-08-15 | TMB | 5015 | detector | misha | PC | VME+2/2 | X5R41d | F | 20 | https://cmsdaq.cern.ch/elog/CSC/5030 |  | 3052201302200505015 | ME TMB | X5R41d20F | fborcher@cern.ch | install | TMB5015
| 2008-08-15 | TMB | 5402 | detector | misha | PC | VME+3/6 | X3J41d | F | 2 | https://cmsdaq.cern.ch/elog/CSC/5031 | Debugging ALCT readout problem. | 3052201302200505402 | ME TMB | X3J41d02F | fborcher@cern.ch | remove | TMB5402
| 2008-08-15 | TMB | 5473 | detector | misha | PC | VME+3/6 | X3J41d | F | 2 | https://cmsdaq.cern.ch/elog/CSC/5031 |  | 3052201302200505473 | ME TMB | X3J41d02F | fborcher@cern.ch | install | TMB5473
| 2008-08-15 | DMB | 253 | detector | misha | PC | VME-1/6 | X3S31g | F | 3 | https://cmsdaq.cern.ch/elog/CSC/5033 | Debugging ALCT CRC errors not seen by TMB | 3052041302200400253 | ME DMB | X3S31g03F | fborcher@cern.ch | remove | DMB0253
| 2008-08-15 | DMB | 167 | detector | misha | PC | VME-1/6 | X3S31g | F | 3 | https://cmsdaq.cern.ch/elog/CSC/5033 |  | 3052041302200400167 | ME DMB | X3S31g03F | fborcher@cern.ch | install | DMB0167
| 2008-08-15 | TMB | 5015 | detector | Fred | PC | VME-1/11 | X1E31d | F | 18 | https://cmsdaq.cern.ch/elog/CSC/5035 | Debugging ALCT-TMB slow control JTAG communication problem | 3052201302200505015 | ME TMB | X1E31d18F | fborcher@cern.ch | remove | TMB5015
| 2008-08-15 | TMB | 5209 | detector | Fred | PC | VME-1/11 | X1E31d | F | 18 | https://cmsdaq.cern.ch/elog/CSC/5035 |  | 3052201302200505209 | ME TMB | X1E31d18F | fborcher@cern.ch | install | TMB5209
| 2008-08-15 | DMB | 58 | detector | misha | PC | VME-1/9 | X1L31b | F | 7 | https://cmsdaq.cern.ch/elog/CSC/5034 |  | 3052041302200400058 | ME DMB | X1L31b07F | fborcher@cern.ch | remove | DMB0058
| 2008-08-15 | DMB | 51 | detector | misha | PC | VME-1/9 | X1L31b | F | 7 | https://cmsdaq.cern.ch/elog/CSC/5034 |  | 3052041302200400051 | ME DMB | X1L31b07F | fborcher@cern.ch | install | DMB0051
| 2008-08-21 | VCC | 64 | detector | durkin | PC | VME+1/8 | X1R31d | F | 1 | https://cmsdaq.cern.ch/elog/CSC/5219 | Communications with VME+1/8 were lost about noon. After three power ups and three switch reloads we still were unable to communicate. The VMECC would not respond to a loopback. It did not respond to VMECC reset commands. | 3052220303200600064 | ME VCC | X1R31d01F | fborcher@cern.ch | remove | VCC0064
| 2008-08-21 | VCC | 71 | detector | durkin | PC | VME+1/8 | X1R31d | F | 1 | https://cmsdaq.cern.ch/elog/CSC/5219 |  | 3052220303200600071 | ME VCC | X1R31d01F | fborcher@cern.ch | install | VCC0071
| 2008-08-22 | TMB | 5423 | detector | misha | PC | VME-3/4 | X1L41d | F | 16 | https://cmsdaq.cern.ch/elog/CSC/5242 | Debugging no comparator signal from 5 CFEBs. | 3052201302200505423 | ME TMB | X1L41d16F | fborcher@cern.ch | remove | TMB5423
| 2008-08-22 | TMB | 5200 | detector | misha | PC | VME-3/4 | X1L41d | F | 16 | https://cmsdaq.cern.ch/elog/CSC/5242 |  | 3052201302200505200 | ME TMB | X1L41d16F | fborcher@cern.ch | install | TMB5200
| 2008-08-22 | DMB | 355 | detector | misha | PC | VME-3/4 | X1L41d | F | 17 | https://cmsdaq.cern.ch/elog/CSC/5243 | Debugging no comparator signal from 5 CFEBs. | 3052041302200400355 | ME DMB | X1L41d17F | fborcher@cern.ch | remove | DMB0355
| 2008-08-22 | DMB | 70 | detector | misha | PC | VME-3/4 | X1L41d | F | 17 | https://cmsdaq.cern.ch/elog/CSC/5243 |  | 3052041302200400070 | ME DMB | X1L41d17F | fborcher@cern.ch | install | DMB0070
| 2008-08-25 | TMB | 5117 | USC55 | misha | PC |  |  | F |  | https://cmsdaq.cern.ch/elog/CSC/5364 |  | 3052201302200505117 | ME TMB | USC55 | fborcher@cern.ch | remove | TMB5117
| 2008-08-25 | TMB | 5350 | USC55 | misha | PC |  |  | F |  | https://cmsdaq.cern.ch/elog/CSC/5364 |  | 3052201302200505350 | ME TMB | USC55 | fborcher@cern.ch | install | TMB5350
| 2008-08-25 | DMB | 271 | USC55 | misha | PC |  |  | F |  | https://cmsdaq.cern.ch/elog/CSC/5364 | Two TMBs 5117, 5350 and two DMBs 271, 245 have been found in the underground control room. There is no any e-log entrees or paper massages for these boards. If anybody remember why they were replaced or brought to the control room, please, write e-log. | 3052041302200400271 | ME DMB | USC55 | fborcher@cern.ch | remove | DMB0271
| 2008-08-25 | DMB | 245 | USC55 | misha | PC |  |  | F |  | https://cmsdaq.cern.ch/elog/CSC/5364 | Two TMBs 5117, 5350 and two DMBs 271, 245 have been found in the underground control room. There is no any e-log entrees or paper massages for these boards. If anybody remember why they were replaced or brought to the control room, please, write e-log. | 3052041302200400245 | ME DMB | USC55 | fborcher@cern.ch | install | DMB0245
| 2008-08-25 | TMB | 5283 | detector | Greg | PC | VME+3/5 | X1U41b | F | 2 | https://cmsdaq.cern.ch/elog/CSC/5366 | Loss of firmware--unable to download firmware by VME | 3052201302200505283 | ME TMB | X1U41b02F | fborcher@cern.ch | remove | TMB5283
| 2008-08-25 | TMB | 5473 | detector | Greg | PC | VME+3/5 | X1U41b | F | 2 | https://cmsdaq.cern.ch/elog/CSC/5366 |  | 3052201302200505473 | ME TMB | X1U41b02F | fborcher@cern.ch | install | TMB5473
| 2008-09-01 | DMB | 81 | detector | misha | PC | VME-1/9 | X1L31b | F | 5 | https://cmsdaq.cern.ch/elog/CSC/5483 | Debugging bad CRC errors from CFEB 3. | 3052041302200400081 | ME DMB | X1L31b05F | fborcher@cern.ch | remove | DMB0081
| 2008-09-01 | DMB | 58 | detector | misha | PC | VME-1/9 | X1L31b | F | 5 | https://cmsdaq.cern.ch/elog/CSC/5483 |  | 3052041302200400058 | ME DMB | X1L31b05F | fborcher@cern.ch | install | DMB0058
| 2008-11-16 | VCC | 52 | detector | Bylsma | PC | VME+1/6 | X3A31g | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7529 | JTAG communication failure, could not program PROM | 3052220303200600052 | ME VCC | X3A31g01F | fborcher@cern.ch | remove | VCC0052
| 2008-11-16 | VCC | 25 | detector | Bylsma | PC | VME+1/6 | X3A31g | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7529 |  | 3052220303200600025 | ME VCC | X3A31g01F | fborcher@cern.ch | install | VCC0025
| 2008-11-16 | VCC | 7 | detector | Bylsma | PC | VME+3/5 | X1U41b | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7529 | JTAG communication failure, could not program PROM | 3052220303200600007 | ME VCC | X1U41b01F | fborcher@cern.ch | remove | VCC0007
| 2008-11-16 | VCC | 3 | detector | Bylsma | PC | VME+3/5 | X1U41b | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7529 |  | 3052220303200600003 | ME VCC | X1U41b01F | fborcher@cern.ch | install | VCC0003
| 2008-11-17 | TMB | 5456 | detector | misha | PC | VME+2/3 | X3A41h | F | 16 | ttps://cmsdaq.cern.ch/elog/CSC/7534 | the TMB had a problem of communication with MPC | 3052201302200505456 | ME TMB | X3A41h16F | fborcher@cern.ch | remove | TMB5456
| 2008-11-17 | TMB | 5106 | detector | misha | PC | VME+2/3 | X3A41h | F | 16 | ttps://cmsdaq.cern.ch/elog/CSC/7534 |  | 3052201302200505106 | ME TMB | X3A41h16F | fborcher@cern.ch | install | TMB5106
| 2008-11-17 | DMB | 331 | detector | Bylsma | PC | VME+1/2 | X5U31b | F | 11 | https://cmsdaq.cern.ch/elog/CSC/7537 | VME readout is flaky. Hard reset helps 50% of the time. | 3052041302200400331 | ME DMB | X5U31b11F | fborcher@cern.ch | remove | DMB0331
| 2008-11-17 | DMB | 490 | detector | Bylsma | PC | VME+1/2 | X5U31b | F | 11 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400490 | ME DMB | X5U31b11F | fborcher@cern.ch | install | DMB0490
| 2008-11-17 | DMB | 403 | detector | Bylsma | PC | VME+1/5 | X5R31b | F | 11 | https://cmsdaq.cern.ch/elog/CSC/7537 | Flaky download, sometimes can not program PROM | 3052041302200400403 | ME DMB | X5R31b11F | fborcher@cern.ch | remove | DMB0403
| 2008-11-17 | DMB | 61 | detector | Bylsma | PC | VME+1/5 | X5R31b | F | 11 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400061 | ME DMB | X5R31b11F | fborcher@cern.ch | install | DMB0061
| 2008-11-17 | DMB | 224 | detector | Bylsma | PC | VME+1/8 | X1R31d | F | 9 | https://cmsdaq.cern.ch/elog/CSC/7537 | Could be CFEB problem but we are checking DMB first. | 3052041302200400224 | ME DMB | X1R31d09F | fborcher@cern.ch | remove | DMB0224
| 2008-11-17 | DMB | 369 | detector | Bylsma | PC | VME+1/8 | X1R31d | F | 9 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400369 | ME DMB | X1R31d09F | fborcher@cern.ch | install | DMB0369
| 2008-11-17 | DMB | 109 | detector | Bylsma | PC | VME-1/8 | X1L31d | F | 5 | https://cmsdaq.cern.ch/elog/CSC/7537 | All test pulses low. Could be a CFEB but trying DMB first. | 3052041302200400109 | ME DMB | X1L31d05F | fborcher@cern.ch | remove | DMB0109
| 2008-11-17 | DMB | 404 | detector | Bylsma | PC | VME-1/8 | X1L31d | F | 5 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400404 | ME DMB | X1L31d05F | fborcher@cern.ch | install | DMB0404
| 2008-11-17 | DMB | 469 | detector | Bylsma | PC | VME-1/11 | X1E31d | F | 9 | https://cmsdaq.cern.ch/elog/CSC/7537 | Old firmware but can not program. | 3052041302200400469 | ME DMB | X1E31d09F | fborcher@cern.ch | remove | DMB0469
| 2008-11-17 | DMB | 272 | detector | Bylsma | PC | VME-1/11 | X1E31d | F | 9 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400272 | ME DMB | X1E31d09F | fborcher@cern.ch | install | DMB0272
| 2008-11-17 | DMB | 336 | detector | Bylsma | PC | VME-2/6 | X3V41e | F | 17 | https://cmsdaq.cern.ch/elog/CSC/7537 | FPGA ID always returns FF's | 3052041302200400336 | ME DMB | X3V41e17F | fborcher@cern.ch | remove | DMB0336
| 2008-11-17 | DMB | 355 | detector | Bylsma | PC | VME-2/6 | X3V41e | F | 17 | https://cmsdaq.cern.ch/elog/CSC/7537 |  | 3052041302200400355 | ME DMB | X3V41e17F | fborcher@cern.ch | install | DMB0355
| 2008-11-17 | VCC | 25 | detector | Bylsma | PC | VME+1/6 | X3A31g | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7541 | Original boards repaired and put back into their original crate so MAC addresses in databased don't have to be changed. | 3052220303200600025 | ME VCC | X3A31g01F | fborcher@cern.ch | remove | VCC0025
| 2008-11-17 | VCC | 52 | detector | Bylsma | PC | VME+1/6 | X3A31g | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7541 |  | 3052220303200600052 | ME VCC | X3A31g01F | fborcher@cern.ch | install | VCC0052
| 2008-11-17 | VCC | 3 | detector | Bylsma | PC | VME+3/5 | X1U41b | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7541 | Original boards repaired and put back into their original crate so MAC addresses in databased don't have to be changed. | 3052220303200600003 | ME VCC | X1U41b01F | fborcher@cern.ch | remove | VCC0003
| 2008-11-17 | VCC | 7 | detector | Bylsma | PC | VME+3/5 | X1U41b | F | 1 | https://cmsdaq.cern.ch/elog/CSC/7541 |  | 3052220303200600007 | ME VCC | X1U41b01F | fborcher@cern.ch | install | VCC0007
| 2008-11-17 | TMB | 5071 | detector | misha | PC | VME+1/10 | X1U31b | F | 18 | https://cmsdaq.cern.ch/elog/CSC/7555 | the TMB firmware was screwed up during downloading and xmas monitoring was on. | 3052201302200505071 | ME TMB | X1U31b18F | fborcher@cern.ch | remove | TMB5071
| 2008-11-17 | TMB | 5201 | detector | misha | PC | VME+1/10 | X1U31b | F | 18 | https://cmsdaq.cern.ch/elog/CSC/7555 |  | 3052201302200505201 | ME TMB | X1U31b18F | fborcher@cern.ch | install | TMB5201
| 2008-11-17 | CCB | 52 | detector | Bylsma | PC | VME+3/3 | X3A41f | F | 13 | https://cmsdaq.cern.ch/elog/CSC/7605 | VME communications not functioning in CCB. VME handshaking works, but data readback all FF's. Multiple CCB were swapped in with no change in behavoir. | 3052030302200500052 | ME CCB | X3A41f13F | fborcher@cern.ch | remove | CCB0052
| 2008-11-17 | CCB | 80 | detector | Bylsma | PC | VME+3/3 | X3A41f | F | 13 | https://cmsdaq.cern.ch/elog/CSC/7605 |  | 3052030302200500080 | ME CCB | X3A41f13F | fborcher@cern.ch | install | CCB0080
| 2008-11-26 | TMB | 5231 | detector | misha | PC | VME+1/6 | X3A31g | F | 2 | https://cmsdaq.cern.ch/elog/CSC/7610 | damaged input connector | 3052201302200505231 | ME TMB | X3A31g02F | fborcher@cern.ch | remove | TMB5231
| 2008-11-26 | TMB | 5456 | detector | misha | PC | VME+1/6 | X3A31g | F | 2 | https://cmsdaq.cern.ch/elog/CSC/7610 |  | 3052201302200505456 | ME TMB | X3A31g02F | fborcher@cern.ch | install | TMB5456
the above added to ~_source on 2-dec-08 Fred
Note on C1: Fred Borcherding: CBP 030216 2005 CCB 030302 2005 CRB 031802 2005 DMB 041302 2004 ELM 051213 2005 EMUPC 160303 2005 MPC 131603 2005 PCM 160313 2006 RAT 180120 2005 TMB 201302 2005 VCC 220303 2006 PCM 160313 2006 ELM 051213 2005
Note on A1: Fred Borcherding: Hide - B(C - J)K - O(P - V)W - W(X - Z)AA
Note on R1: Fred Borcherding: visual inspection install test problem remove inventory

## Board Template
Entry ID | Date of Action | Hardware Type | Board ID | Site | Entered by | Crate Type | Crate Location Name | Rack | Slot Designation | Crate slot | e-log reference | comment | Mandatory for INB Barcode | Description | Location | Responsible Email | status or action taken | Serial N/O A (mfg) | Serial N/O B (rec) | Type (mfg) | Type (name) | Link to test Procedure | Link to Test Results | Global Test Result | Link to Repair History | Additional Information |  | EMPC | ELM | PCM | CBP | CRB | VCC | MPC | CCB | TMB | RAT | DMB | PCMB | ELMB | TS | Match VME ID to Crate ID PLUS | Match VME ID to Crate ID MINUS | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
| 2007-01-01 | CBP | 999 | detector |  | PC | VME+x/y |  | B | 3 |  |  | 3052030216200500999 | ME CBP | 03B | fborcher@cern.ch | remove | CBP0999 | [8 empty] | 3052030216200500999 |  |  |  | 30520302162005
| 2007-01-01 | CBP | 999 | detector |  | PC | VME+x/y |  | B | 3 | 0 |  | 3052030216200500999 | ME CBP | 03B | fborcher@cern.ch | install | CBP0999 | [8 empty] | 3052030216200500999 |  |  |  | 30520302162005
| 2007-01-01 | CCB | 999 | detector | Fred | PC | VME+x/y |  | F | 13 | 0 |  | 3052030302200500999 | ME CCB | 13F | fborcher@cern.ch | remove | CCB0999 | [8 empty] | 3052030302200500999 | [7 empty] | 30520303022005
| 2007-01-01 | CCB | 999 | detector | Fred | PC | VME+x/y |  | F | 13 | 0 |  | 3052030302200500999 | ME CCB | 13F | fborcher@cern.ch | install | CCB0999 | [8 empty] | 3052030302200500999 | [7 empty] | 30520303022005
| 2007-01-01 | CRB | 999 | detector | Fred | PC | VME+x/y |  | B | 15 | 0 |  | 3052031802200500999 | ME CRB | 15B | fborcher@cern.ch | remove | CRB0999 | [8 empty] | 3052031802200500999 |  |  |  |  | 30520318022005
| 2007-01-01 | CRB | 999 | detector | Fred | PC | VME+x/y |  | B | 15 | 0 |  | 3052031802200500999 | ME CRB | 15B | fborcher@cern.ch | install | CRB0999 | [8 empty] | 3052031802200500999 |  |  |  |  | 30520318022005
| 2007-01-01 | DMB | 999 | detector | Fred | PC | VME+x/y |  | F | x | 0 |  | 3052041302200400999 | ME DMB | xF | fborcher@cern.ch | remove | DMB0999 | [8 empty] | 3052041302200400999 | [10 empty] | 30520413022004
| 2007-01-01 | DMB | 999 | detector | Fred | PC | VME+x/y |  | F | x | 0 |  | 3052041302200400999 | ME DMB | xF | fborcher@cern.ch | install | DMB0999 | [8 empty] | 3052041302200400999 | [10 empty] | 30520413022004
| 2007-01-01 | ELM | 999 | detector | Fred | PC | VME+x/y |  | B | 1 | 0 |  | 3052051213200500999 | ME ELM | 01B | fborcher@cern.ch | remove | ELM0999 | [8 empty] | 3052051213200500999 |  | 30520512132005
| 2007-01-01 | ELM | 999 | detector | Fred | PC | VME+x/y |  | B | 1 | 0 |  | 3052051213200500999 | ME ELM | 01B | fborcher@cern.ch | install | ELM0999 | [8 empty] | 3052051213200500999 |  | 30520512132005
| 2007-01-01 | EMUPC | 999 | detector | Fred | PC | VME+x/y |  |  |  | 0 |  | 3052160303200500999 | ME EMUPC | 00 | fborcher@cern.ch | remove | EMUPC0999 | [8 empty] | 3052160303200500999 | 30521603032005
| 2007-01-01 | EMUPC | 999 | detector | Fred | PC | VME+x/y |  |  | 0 | 0 |  | 3052160303200500999 | ME EMUPC | 00 | fborcher@cern.ch | install | EMUPC0999 | [8 empty] | 3052160303200500999 | 30521603032005
| 2007-01-01 | MPC | 999 | detector | Fred | PC | VME+x/y |  | F | 12 | 0 |  | 3052131603200500999 | ME MPC | 12F | fborcher@cern.ch | remove | MPC0999 | [8 empty] | 3052131603200500999 | [6 empty] | 30521316032005
| 2007-01-01 | MPC | 999 | detector | Fred | PC | VME+x/y |  | F | 12 | 0 |  | 3052131603200500999 | ME MPC | 12F | fborcher@cern.ch | install | MPC0999 | [8 empty] | 3052131603200500999 | [6 empty] | 30521316032005
| 2007-01-01 | PCM | 999 | detector | Fred | PC | VME+x/y |  | B | 2 | 0 |  | 3052160313200600999 | ME PCM | 02B | fborcher@cern.ch | remove | PCM0999 | [8 empty] | 3052160313200600999 |  |  | 30521603132006
| 2007-01-01 | PCM | 999 | detector | Fred | PC | VME+x/y |  | B | 2 | 0 |  | 3052160313200600999 | ME PCM | 02B | fborcher@cern.ch | install | PCM0999 | [8 empty] | 3052160313200600999 |  |  | 30521603132006
| 2007-01-01 | RAT | 999 | detector | Fred | PC | VME+x/y |  |  | x | 0 |  | 3052180120200500999 | ME RAT | x | fborcher@cern.ch | remove | RAT0999 | [8 empty] | 3052180120200500999 | [9 empty] | 30521801202005
| 2007-01-01 | RAT | 999 | detector | Fred | PC | VME+x/y |  |  | x | 0 |  | 3052180120200500999 | ME RAT | x | fborcher@cern.ch | install | RAT0999 | [8 empty] | 3052180120200500999 | [9 empty] | 30521801202005
| 2007-01-01 | TMB | 999 | detector | Fred | PC | VME+x/y |  | F | x | 0 |  | 3052201302200500999 | ME TMB | xF | fborcher@cern.ch | remove | TMB0999 | [8 empty] | 3052201302200500999 | [8 empty] | 30522013022005
| 2007-01-01 | TMB | 999 | detector | Fred | PC | VME+x/y |  | F | x | 0 |  | 3052201302200500999 | ME TMB | xF | fborcher@cern.ch | install | TMB0999 | [8 empty] | 3052201302200500999 | [8 empty] | 30522013022005
| 2007-01-01 | VCC | 999 | detector | Fred | PC | VME+x/y |  | F | 1 | 0 |  | 3052220303200600999 | ME VCC | 01F | fborcher@cern.ch | remove | VCC0999 | [8 empty] | 3052220303200600999 | [5 empty] | 30522203032006
| 2007-01-01 | VCC | 999 | detector | Fred | PC | VME+x/y |  | F | 1 | 0 |  | 3052220303200600999 | ME VCC | 01F | fborcher@cern.ch | install | VCC0999 | [8 empty] | 3052220303200600999 | [5 empty] | 30522203032006
Important >> delete letter off end before commiting to LOG
Formulas:
Date of Action = [Date of Action, row above]
Note on C1: Fred Borcherding: CBP 030216 2005 CCB 030302 2005 CRB 031802 2005 DMB 041302 2004 ELM 051213 2005 EMUPC 160303 2005 MPC 131603 2005 PCM 160313 2006 RAT 180120 2005 TMB 201302 2005 VCC 220303 2006 PCM 160313 2006 ELM 051213 2005
Note on A1: Fred Borcherding: Hide - B(C - J)K - O(P - V)W - W(X - Z)AA
Note on R1: Fred Borcherding: visual inspection install test problem remove inventory

## PCrate Index
Location Name | Crate Name | Location Name | Crate Name | Crate Name | Location Name | Crate Name | Location Name | ¦ Location Name ¦ Crate Name ¦ ¦ Location Name ¦ Crate Name ¦ ¦ Crate Name ¦ Location Name ¦ ¦ Crate Name ¦ Location Name ¦
VME+1/10 | X1U31b | VME-1/10 | X1E31b | X1E31b | VME-1/10 | X3S31c | VME-1/7 | ¦ VME+1/10 ¦ X1U31b ¦ ¦ VME-1/10 ¦ X1E31b ¦ ¦ X1E31b ¦ VME-1/10 ¦ ¦ X3S31c ¦ VME-1/7 ¦
VME+1/11 | X1U31d | VME-1/11 | X1E31d | X1E31d | VME-1/11 | X3S31g | VME-1/6 | ¦ VME+1/11 ¦ X1U31d ¦ ¦ VME-1/11 ¦ X1E31d ¦ ¦ X1E31d ¦ VME-1/11 ¦ ¦ X3S31g ¦ VME-1/6 ¦
VME+1/12 | X3J31c | VME-1/12 | X3V31c | X1E41b | VME-3/5 | X3S41e | VME-2/3 | ¦ VME+1/12 ¦ X3J31c ¦ ¦ VME-1/12 ¦ X3V31c ¦ ¦ X1E41b ¦ VME-3/5 ¦ ¦ X3S41e ¦ VME-2/3 ¦
VME+1/1 | X3J31f | VME-1/1 | X3V31f | X1E41d | VME-2/5 | X3S41g | VME-3/3 | ¦ VME+1/1 ¦ X3J31f ¦ ¦ VME-1/1 ¦ X3V31f ¦ ¦ X1E41d ¦ VME-2/5 ¦ ¦ X3S41g ¦ VME-3/3 ¦
VME+1/2 | X5U31b | VME-1/2 | X5E31b | X1E51c | VME-4/5 | X3S51e | VME-4/3 | ¦ VME+1/2 ¦ X5U31b ¦ ¦ VME-1/2 ¦ X5E31b ¦ ¦ X1E51c ¦ VME-4/5 ¦ ¦ X3S51e ¦ VME-4/3 ¦
VME+1/3 | X5U31d | VME-1/3 | X5E31d | X1L31b | VME-1/9 | X3V31c | VME-1/12 | ¦ VME+1/3 ¦ X5U31d ¦ ¦ VME-1/3 ¦ X5E31d ¦ ¦ X1L31b ¦ VME-1/9 ¦ ¦ X3V31c ¦ VME-1/12 ¦
VME+1/4 | X5R31d | VME-1/4 | X5L31d | X1L31d | VME-1/8 | X3V31f | VME-1/1 | ¦ VME+1/4 ¦ X5R31d ¦ ¦ VME-1/4 ¦ X5L31d ¦ ¦ X1L31d ¦ VME-1/8 ¦ ¦ X3V31f ¦ VME-1/1 ¦
VME+1/5 | X5R31b | VME-1/5 | X5L31b | X1L41b | VME-2/4 | X3V41c | VME-3/6 | ¦ VME+1/5 ¦ X5R31b ¦ ¦ VME-1/5 ¦ X5L31b ¦ ¦ X1L41b ¦ VME-2/4 ¦ ¦ X3V41c ¦ VME-3/6 ¦
VME+1/6 | X3A31g | VME-1/6 | X3S31g | X1L41d | VME-3/4 | X3V41e | VME-2/6 | ¦ VME+1/6 ¦ X3A31g ¦ ¦ VME-1/6 ¦ X3S31g ¦ ¦ X1L41d ¦ VME-3/4 ¦ ¦ X3V41e ¦ VME-2/6 ¦
VME+1/7 | X3A31c | VME-1/7 | X3S31c | X1L51g | VME-4/4 | X3V51c | VME-4/6 | ¦ VME+1/7 ¦ X3A31c ¦ ¦ VME-1/7 ¦ X3S31c ¦ ¦ X1L51g ¦ VME-4/4 ¦ ¦ X3V51c ¦ VME-4/6 ¦
VME+1/8 | X1R31d | VME-1/8 | X1L31d | X1R31b | VME+1/9 | X5E31b | VME-1/2 | ¦ VME+1/8 ¦ X1R31d ¦ ¦ VME-1/8 ¦ X1L31d ¦ ¦ X1R31b ¦ VME+1/9 ¦ ¦ X5E31b ¦ VME-1/2 ¦
VME+1/9 | X1R31b | VME-1/9 | X1L31b | X1R31d | VME+1/8 | X5E31d | VME-1/3 | ¦ VME+1/9 ¦ X1R31b ¦ ¦ VME-1/9 ¦ X1L31b ¦ ¦ X1R31d ¦ VME+1/8 ¦ ¦ X5E31d ¦ VME-1/3 ¦
VME+2/1 | X5U41d | VME-2/1 | X5E41d | X1R41b | VME+2/4 | X5E41b | VME-3/1 | ¦ VME+2/1 ¦ X5U41d ¦ ¦ VME-2/1 ¦ X5E41d ¦ ¦ X1R41b ¦ VME+2/4 ¦ ¦ X5E41b ¦ VME-3/1 ¦
VME+2/2 | X5R41d | VME-2/2 | X5L41d | X1R41d | VME+3/4 | X5E41d | VME-2/1 | ¦ VME+2/2 ¦ X5R41d ¦ ¦ VME-2/2 ¦ X5L41d ¦ ¦ X1R41d ¦ VME+3/4 ¦ ¦ X5E41d ¦ VME-2/1 ¦
VME+2/3 | X3A41h | VME-2/3 | X3S41e | X1R51g | VME+4/4 | X5E51c | VME-4/1 | ¦ VME+2/3 ¦ X3A41h ¦ ¦ VME-2/3 ¦ X3S41e ¦ ¦ X1R51g ¦ VME+4/4 ¦ ¦ X5E51c ¦ VME-4/1 ¦
VME+2/4 | X1R41b | VME-2/4 | X1L41b | X1U31b | VME+1/10 | X5L31b | VME-1/5 | ¦ VME+2/4 ¦ X1R41b ¦ ¦ VME-2/4 ¦ X1L41b ¦ ¦ X1U31b ¦ VME+1/10 ¦ ¦ X5L31b ¦ VME-1/5 ¦
VME+2/5 | X1U41d | VME-2/5 | X1E41d | X1U31d | VME+1/11 | X5L31d | VME-1/4 | ¦ VME+2/5 ¦ X1U41d ¦ ¦ VME-2/5 ¦ X1E41d ¦ ¦ X1U31d ¦ VME+1/11 ¦ ¦ X5L31d ¦ VME-1/4 ¦
VME+2/6 | X3J41b | VME-2/6 | X3V41e | X1U41b | VME+3/5 | X5L41b | VME-3/2 | ¦ VME+2/6 ¦ X3J41b ¦ ¦ VME-2/6 ¦ X3V41e ¦ ¦ X1U41b ¦ VME+3/5 ¦ ¦ X5L41b ¦ VME-3/2 ¦
VME+3/1 | X5U41b | VME-3/1 | X5E41b | X1U41d | VME+2/5 | X5L41d | VME-2/2 | ¦ VME+3/1 ¦ X5U41b ¦ ¦ VME-3/1 ¦ X5E41b ¦ ¦ X1U41d ¦ VME+2/5 ¦ ¦ X5L41d ¦ VME-2/2 ¦
VME+3/2 | X5R41b | VME-3/2 | X5L41b | X1U51c | VME+4/5 | X5L51c | VME-4/2 | ¦ VME+3/2 ¦ X5R41b ¦ ¦ VME-3/2 ¦ X5L41b ¦ ¦ X1U51c ¦ VME+4/5 ¦ ¦ X5L51c ¦ VME-4/2 ¦
VME+3/3 | X3A41f | VME-3/3 | X3S41g | X3A31c | VME+1/7 | X5R31b | VME+1/5 | ¦ VME+3/3 ¦ X3A41f ¦ ¦ VME-3/3 ¦ X3S41g ¦ ¦ X3A31c ¦ VME+1/7 ¦ ¦ X5R31b ¦ VME+1/5 ¦
VME+3/4 | X1R41d | VME-3/4 | X1L41d | X3A31g | VME+1/6 | X5R31d | VME+1/4 | ¦ VME+3/4 ¦ X1R41d ¦ ¦ VME-3/4 ¦ X1L41d ¦ ¦ X3A31g ¦ VME+1/6 ¦ ¦ X5R31d ¦ VME+1/4 ¦
VME+3/5 | X1U41b | VME-3/5 | X1E41b | X3A41f | VME+3/3 | X5R41b | VME+3/2 | ¦ VME+3/5 ¦ X1U41b ¦ ¦ VME-3/5 ¦ X1E41b ¦ ¦ X3A41f ¦ VME+3/3 ¦ ¦ X5R41b ¦ VME+3/2 ¦
VME+3/6 | X3J41d | VME-3/6 | X3V41c | X3A41h | VME+2/3 | X5R41d | VME+2/2 | ¦ VME+3/6 ¦ X3J41d ¦ ¦ VME-3/6 ¦ X3V41c ¦ ¦ X3A41h ¦ VME+2/3 ¦ ¦ X5R41d ¦ VME+2/2 ¦
VME+4/1 | X5U51c | VME-4/1 | X5E51c | X3A51j | VME+4/3 | X5R51c | VME+4/2 | ¦ VME+4/1 ¦ X5U51c ¦ ¦ VME-4/1 ¦ X5E51c ¦ ¦ X3A51j ¦ VME+4/3 ¦ ¦ X5R51c ¦ VME+4/2 ¦
VME+4/2 | X5R51c | VME-4/2 | X5L51c | X3J31c | VME+1/12 | X5U31b | VME+1/2 | ¦ VME+4/2 ¦ X5R51c ¦ ¦ VME-4/2 ¦ X5L51c ¦ ¦ X3J31c ¦ VME+1/12 ¦ ¦ X5U31b ¦ VME+1/2 ¦
VME+4/3 | X3A51j | VME-4/3 | X3S51e | X3J31f | VME+1/1 | X5U31d | VME+1/3 | ¦ VME+4/3 ¦ X3A51j ¦ ¦ VME-4/3 ¦ X3S51e ¦ ¦ X3J31f ¦ VME+1/1 ¦ ¦ X5U31d ¦ VME+1/3 ¦
VME+4/4 | X1R51g | VME-4/4 | X1L51g | X3J41b | VME+2/6 | X5U41b | VME+3/1 | ¦ VME+4/4 ¦ X1R51g ¦ ¦ VME-4/4 ¦ X1L51g ¦ ¦ X3J41b ¦ VME+2/6 ¦ ¦ X5U41b ¦ VME+3/1 ¦
VME+4/5 | X1U51c | VME-4/5 | X1E51c | X3J41d | VME+3/6 | X5U41d | VME+2/1 | ¦ VME+4/5 ¦ X1U51c ¦ ¦ VME-4/5 ¦ X1E51c ¦ ¦ X3J41d ¦ VME+3/6 ¦ ¦ X5U41d ¦ VME+2/1 ¦
VME+4/6 | X3J51c | VME-4/6 | X3V51c | X3J51c | VME+4/6 | X5U51c | VME+4/1 | ¦ VME+4/6 ¦ X3J51c ¦ ¦ VME-4/6 ¦ X3V51c ¦ ¦ X3J51c ¦ VME+4/6 ¦ ¦ X5U51c ¦ VME+4/1 ¦

## FED Crate Template
Entry ID | Date of Action | Hardware Type | Board ID | Board | Rev. | Site | Entered by | Crate Type | Crate Location Name | Rack | Crate | Slot Designation | Crate slot | comment | Mandatory for INB Barcode | Description | Location | Responsible Email | status or action taken | Serial N/O A (mfg) | Serial N/O B (rec) | Type (mfg) | Type (name) | Link to test Procedure | Link to Test Results | Global Test Result | Link to Repair History | Additional Information
1 | 0 | CVC |  | 32203 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 1 | CAEN VMD CC | 3052032203200510000 | ME CVC | S1G0zm1F | fborcher@cern.ch | SX5 I&C Test | CVC0000
2 | 0 | FED |  | 60504 | 2005 | detector |  | FED | FCTCn | S1G0z | m |  | 1 | VME Crate | 3052060504200510000 | ME FED | S1G0zm1 | fborcher@cern.ch | SX5 I&C Test | FED0000
3 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 4 | DDU | 3052040421200510000 | ME DDU | S1G0zm4F | fborcher@cern.ch | SX5 I&C Test | DDU0000
4 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 5 | DDU | 3052040421200510000 | ME DDU | S1G0zm5F | fborcher@cern.ch | SX5 I&C Test | DDU0000
5 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 6 | DDU | 3052040421200510000 | ME DDU | S1G0zm6F | fborcher@cern.ch | SX5 I&C Test | DDU0000
6 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 7 | DDU | 3052040421200510000 | ME DDU | S1G0zm7F | fborcher@cern.ch | SX5 I&C Test | DDU0000
7 | 0 | DCC |  | 40303 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 8 | DCC | 3052040303200510000 | ME DCC | S1G0zm8F | fborcher@cern.ch | SX5 I&C Test | DCC0000
8 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 9 | DDU | 3052040421200510000 | ME DDU | S1G0zm9F | fborcher@cern.ch | SX5 I&C Test | DDU0000
9 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 10 | DDU | 3052040421200510000 | ME DDU | S1G0zm10F | fborcher@cern.ch | SX5 I&C Test | DDU0000
10 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 11 | DDU | 3052040421200510000 | ME DDU | S1G0zm11F | fborcher@cern.ch | SX5 I&C Test | DDU0000
11 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 12 | DDU | 3052040421200510000 | ME DDU | S1G0zm12F | fborcher@cern.ch | SX5 I&C Test | DDU0000
12 | 0 | DDU |  | 40421 | 2005 | detector |  | FED | FCTCn | S1G0z | m | F | 13 | DDU | 3052040421200510000 | ME DDU | S1G0zm13F | fborcher@cern.ch | SX5 I&C Test | DDU0000
15 | 2007-04-24 | GNS | 1 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 1 |  | 3052071419200510001 | ME GNS | S1G08m1F | fborcher@cern.ch | installation | GNS0001
16 | 2007-04-24 | GNS | 2 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 2 |  | 3052071419200510002 | ME GNS | S1G08m2F | fborcher@cern.ch | installation | GNS0002
17 | 2007-04-24 | GNS | 3 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 3 |  | 3052071419200510003 | ME GNS | S1G08m3F | fborcher@cern.ch | installation | GNS0003
18 | 2007-04-24 | GNS | 4 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 4 |  | 3052071419200510004 | ME GNS | S1G08m4F | fborcher@cern.ch | installation | GNS0004
20 | 2007-04-24 | GNS | 5 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 6 |  | 3052071419200510005 | ME GNS | S1G08m6F | fborcher@cern.ch | installation | GNS0005
21 | 2007-04-24 | GNS | 6 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 7 |  | 3052071419200510006 | ME GNS | S1G08m7F | fborcher@cern.ch | installation | GNS0006
22 | 2007-04-24 | GNS | 7 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 8 |  | 3052071419200510007 | ME GNS | S1G08m8F | fborcher@cern.ch | installation | GNS0007
23 | 2007-04-24 | GNS | 8 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 9 |  | 3052071419200510008 | ME GNS | S1G08m9F | fborcher@cern.ch | installation | GNS0008
24 | 2007-04-24 | GNS | 9 | 71419 | 2005 | detector |  | GIG | GIGA | S1G08 | m | F | 10 |  | 3052071419200510009 | ME GNS | S1G08m10F | fborcher@cern.ch | installation | GNS0009
installation
installation
1 | 2007-04-24 | CVC |  | 32203 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 1 | CAEN VMD CC | 3052032203200510000 | ME CVC | S1G06m1F | fborcher@cern.ch | installation | CVC0000
2 | 2007-04-24 | FED |  | 60504 | 2005 | detector |  | FED | FED 1 | S1G06 | m |  | 1 | VME Crate | 3052060504200510000 | ME FED | S1G06m1 | fborcher@cern.ch | installation | FED0000
3 | 2007-04-24 | DDU | 32 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 4 | DDU | 3052040421200510032 | ME DDU | S1G06m4F | fborcher@cern.ch | installation | DDU0032
4 | 2007-04-24 | DDU | 34 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 5 | DDU | 3052040421200510034 | ME DDU | S1G06m5F | fborcher@cern.ch | installation | DDU0034
5 | 2007-04-24 | DDU | 36 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 6 | DDU | 3052040421200510036 | ME DDU | S1G06m6F | fborcher@cern.ch | installation | DDU0036
6 | 2007-04-24 | DDU | 38 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 7 | DDU | 3052040421200510038 | ME DDU | S1G06m7F | fborcher@cern.ch | installation | DDU0038
7 | 2007-04-24 | DCC | 6 | 40303 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 8 | DCC | 3052040303200510006 | ME DCC | S1G06m8F | fborcher@cern.ch | installation | DCC0006
8 | 2007-04-24 | DDU | 39 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 9 | DDU | 3052040421200510039 | ME DDU | S1G06m9F | fborcher@cern.ch | installation | DDU0039
9 | 2007-04-24 | DDU | 37 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 10 | DDU | 3052040421200510037 | ME DDU | S1G06m10F | fborcher@cern.ch | installation | DDU0037
10 | 2007-04-24 | DDU | 35 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 11 | DDU | 3052040421200510035 | ME DDU | S1G06m11F | fborcher@cern.ch | installation | DDU0035
11 | 2007-04-24 | DDU | 33 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 12 | DDU | 3052040421200510033 | ME DDU | S1G06m12F | fborcher@cern.ch | installation | DDU0033
12 | 2007-04-24 | DDU | 31 | 40421 | 2005 | detector |  | FED | FED 1 | S1G06 | m | F | 13 | DDU | 3052040421200510031 | ME DDU | S1G06m13F | fborcher@cern.ch | installation | DDU0031
installation
1 | 2007-04-24 | CVC |  | 32203 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 1 | CAEN VMD CC | 3052032203200510000 | ME CVC | S1G06m1F | fborcher@cern.ch | installation | CVC0000
2 | 2007-04-24 | FED |  | 60504 | 2005 | detector |  | FED | FED 2 | S1G06 | m |  | 1 | VME Crate | 3052060504200510000 | ME FED | S1G06m1 | fborcher@cern.ch | installation | FED0000
3 | 2007-04-24 | DDU | 22 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 4 | DDU | 3052040421200510022 | ME DDU | S1G06m4F | fborcher@cern.ch | installation | DDU0022
4 | 2007-04-24 | DDU | 24 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 5 | DDU | 3052040421200510024 | ME DDU | S1G06m5F | fborcher@cern.ch | installation | DDU0024
5 | 2007-04-24 | DDU | 26 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 6 | DDU | 3052040421200510026 | ME DDU | S1G06m6F | fborcher@cern.ch | installation | DDU0026
6 | 2007-04-24 | DDU | 28 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 7 | DDU | 3052040421200510028 | ME DDU | S1G06m7F | fborcher@cern.ch | installation | DDU0028
7 | 2007-04-24 | DCC | 5 | 40303 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 8 | DCC | 3052040303200510005 | ME DCC | S1G06m8F | fborcher@cern.ch | installation | DCC0005
8 | 2007-04-24 | DDU | 29 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 9 | DDU | 3052040421200510029 | ME DDU | S1G06m9F | fborcher@cern.ch | installation | DDU0029
9 | 2007-04-24 | DDU | 27 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 10 | DDU | 3052040421200510027 | ME DDU | S1G06m10F | fborcher@cern.ch | installation | DDU0027
10 | 2007-04-24 | DDU | 25 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 11 | DDU | 3052040421200510025 | ME DDU | S1G06m11F | fborcher@cern.ch | installation | DDU0025
11 | 2007-04-24 | DDU | 23 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 12 | DDU | 3052040421200510023 | ME DDU | S1G06m12F | fborcher@cern.ch | installation | DDU0023
12 | 2007-04-24 | DDU | 21 | 40421 | 2005 | detector |  | FED | FED 2 | S1G06 | m | F | 13 | DDU | 3052040421200510021 | ME DDU | S1G06m13F | fborcher@cern.ch | installation | DDU0021
installation
1 | 2007-04-02 | CVC |  | 32203 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 1 | CAEN VMD CC | 3052032203200510000 | ME CVC | S1G08m1F | fborcher@cern.ch | installation | CVC0000
2 | 2007-04-02 | FED | 4 | 60504 | 2005 | detector |  | FED | FED 4 | S1G08 | m |  | 1 | VME Crate | 3052060504200510004 | ME FED | S1G08m1 | fborcher@cern.ch | installation | FED0004
3 | 2007-04-02 | DDU | 12 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 4 | DDU | 3052040421200510012 | ME DDU | S1G08m4F | fborcher@cern.ch | installation | DDU0012
4 | 2007-04-02 | DDU | 13 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 5 | DDU | 3052040421200510013 | ME DDU | S1G08m5F | fborcher@cern.ch | installation | DDU0013
5 | 2007-04-02 | DDU | 14 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 6 | DDU | 3052040421200510014 | ME DDU | S1G08m6F | fborcher@cern.ch | installation | DDU0014
6 | 2007-04-02 | DDU | 15 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 7 | DDU | 3052040421200510015 | ME DDU | S1G08m7F | fborcher@cern.ch | installation | DDU0015
7 | 2007-04-02 | DCC | 3 | 40303 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 8 | DCC | 3052040303200510003 | ME DCC | S1G08m8F | fborcher@cern.ch | installation | DCC0003
8 | 2007-04-02 | DDU | 16 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 9 | DDU | 3052040421200510016 | ME DDU | S1G08m9F | fborcher@cern.ch | installation | DDU0016
9 | 2007-04-02 | DDU | 17 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 10 | DDU | 3052040421200510017 | ME DDU | S1G08m10F | fborcher@cern.ch | installation | DDU0017
10 | 2007-04-02 | DDU | 18 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 11 | DDU | 3052040421200510018 | ME DDU | S1G08m11F | fborcher@cern.ch | installation | DDU0018
11 | 2007-04-02 | DDU | 19 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 12 | DDU | 3052040421200510019 | ME DDU | S1G08m12F | fborcher@cern.ch | installation | DDU0019
12 | 2007-04-02 | DDU | 20 | 40421 | 2005 | detector |  | FED | FED 4 | S1G08 | m | F | 13 | DDU | 3052040421200510020 | ME DDU | S1G08m13F | fborcher@cern.ch | installation | DDU0020
installation
1 | 2007-10-29 | CVC |  | 32203 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 1 | CAEN VMD CC | 3052032203200510000 | ME CVC | S1G08m1F | fborcher@cern.ch | installation | CVC0000
2 | 2007-10-29 | FED |  | 60504 | 2005 | detector |  | FED | FED3 | S1G08 | m |  | 1 | VME Crate | 3052060504200510000 | ME FED | S1G08m1 | fborcher@cern.ch | installation | FED0000
3 | 2007-10-29 | DDU |  | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 4 |  | 3052040421200510000 | ME DDU | S1G08m4F | fborcher@cern.ch | installation | DDU0000
4 | 2007-10-29 | DDU |  | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 5 |  | 3052040421200510000 | ME DDU | S1G08m5F | fborcher@cern.ch | installation | DDU0000
5 | 2007-10-29 | DDU | 5 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 6 | Local DAQ RUI 21 https://cmsdaq.cern.ch/elog/CSC/2864 | 3052040421200510005 | ME DDU | S1G08m6F | fborcher@cern.ch | installation | DDU0005
6 | 2007-10-29 | DDU | 6 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 7 | Local DAQ RUI 22 | 3052040421200510006 | ME DDU | S1G08m7F | fborcher@cern.ch | installation | DDU0006
7 | 2007-10-29 | DCC | 5 | 40303 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 8 | slink ID 754, 755 | 3052040303200510005 | ME DCC | S1G08m8F | fborcher@cern.ch | installation | DCC0005
8 | 2007-10-29 | DDU | 7 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 9 | Local DAQ RUI 23 | 3052040421200510007 | ME DDU | S1G08m9F | fborcher@cern.ch | installation | DDU0007
9 | 2007-10-29 | DDU | 8 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 10 | Local DAQ RUI 24 | 3052040421200510008 | ME DDU | S1G08m10F | fborcher@cern.ch | installation | DDU0008
10 | 2007-10-29 | DDU | 9 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 11 | Local DAQ RUI 25 | 3052040421200510009 | ME DDU | S1G08m11F | fborcher@cern.ch | installation | DDU0009
11 | 2007-10-29 | DDU | 10 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 12 | Local DAQ RUI 26 | 3052040421200510010 | ME DDU | S1G08m12F | fborcher@cern.ch | installation | DDU0010
12 | 2007-10-29 | DDU | 11 | 40421 | 2005 | detector |  | FED | FED3 | S1G08 | m | F | 13 | Local DAQ RUI 27 | 3052040421200510011 | ME DDU | S1G08m13F | fborcher@cern.ch | installation | DDU0011
Formulas:
Date of Action = [Date of Action, row above]
Note on A1: Fred Borcherding: Hide - B(C - J)K - O(P - V)W - W(X - Z)AA
Note on C1: Fred Borcherding: CBP 030216 2005 CCB 030302 2005 CRB 031802 2005 DMB 041302 2004 ELM 051213 2005 EMUPC 160303 2005 MPC 131603 2005 PCM 160313 2006 RAT 180120 2005 TMB 201302 2005 VCC 220303 2006 PCM 160313 2006 ELM 051213 2005

## TF Crate Template
Entry ID | Date of Action | Hardware Type | Board ID | Board | Rev. | Site | Entered by | Crate Type | Crate Location Name | Rack | Crate | Slot Designation | Crate slot | comment | Mandatory for INB Barcode | Description | Location | Responsible Email | status or action taken | Serial N/O A (mfg) | Serial N/O B (rec) | Type (mfg) | Type (name) | Link to test Procedure | Link to Test Results | Global Test Result | Link to Repair History | Additional Information
| 0 | CCC |  |  | 2005 | detector |  | TF | S1D04i1 | S1D04 | i | F | 1 |  | 3052000000200500000 | 9U CAEN VME | S1D04i1F | Daniel.Holmes@cern.ch | installed
| 0 |  |  | 200603 | 2005 | detector |  | TF | S1D04i1 | S1D04 | i |  | 1 |  | 3052200603200500000 | wiener crate ( trigger) | S1D04i1 | Daniel.Holmes@cern.ch | installed
| 0 |  |  | 200602 | 2005 | detector |  | TF | S1D04i2 | S1D04 | i | B | 2 |  | 3052200602200500000 | TF backplane | S1D04i2B | Daniel.Holmes@cern.ch | installed
| 0 | DDU |  |  | 2005 | detector |  | TF | S1D04i2 | S1D04 | i | F | 2 |  | 3052 200500000 | DDU | S1D04i2F | Daniel.Holmes@cern.ch | installed
| 0 | DDE |  | 40405 | 2005 | detector |  | TF | S1D04i2 | S1D04 | i | F | 2 |  | 3052040405200500000 | DDU extender | S1D04i2F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 16 | 201916 | 2005 | detector |  | TF | S1D04i7 | S1D04 | i | F | 7 |  | 3052201916200500016 | SP | S1D04i7F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 19 | 201916 | 2005 | detector |  | TF | S1D04i8 | S1D04 | i | F | 8 |  | 3052201916200500019 | SP | S1D04i8F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 8 | 201916 | 2005 | detector |  | TF | S1D04i9 | S1D04 | i | F | 9 |  | 3052201916200500008 | SP | S1D04i9F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 18 | 201916 | 2005 | detector |  | TF | S1D04i10 | S1D04 | i | F | 10 |  | 3052201916200500018 | SP | S1D04i10F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 20 | 201916 | 2005 | detector |  | TF | S1D04i11 | S1D04 | i | F | 11 |  | 3052201916200500020 | SP | S1D04i11F | Daniel.Holmes@cern.ch | installed
| 0 | CCB | 25 | 30302 | 2005 | detector |  | TF | S1D04i12 | S1D04 | i | F | 12 |  | 3052030302200500025 | CCB | S1D04i12F | Daniel.Holmes@cern.ch | installed
| 0 |  | 5 |  | 2005 | detector |  | TF | S1D04i14 | S1D04 | i | F | 14 |  | 3052000000200500005 | muon sorter | S1D04i14F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 10 | 201916 | 2005 | detector |  | TF | S1D04i16 | S1D04 | i | F | 16 |  | 3052201916200500010 | SP | S1D04i16F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 15 | 201916 | 2005 | detector |  | TF | S1D04i17 | S1D04 | i | F | 17 |  | 3052201916200500015 | SP | S1D04i17F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 13 | 201916 | 2005 | detector |  | TF | S1D04i18 | S1D04 | i | F | 18 |  | 3052201916200500013 | SP | S1D04i18F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 12 | 201916 | 2005 | detector |  | TF | S1D04i19 | S1D04 | i | F | 19 |  | 3052201916200500012 | SP | S1D04i19F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 23 | 201916 | 2005 | detector |  | TF | S1D04i20 | S1D04 | i | F | 20 |  | 3052201916200500023 | SP | S1D04i20F | Daniel.Holmes@cern.ch | installed
| 0 | TSP | 17 | 201916 | 2005 | detector |  | TF | S1D04i21 | S1D04 | i | F | 21 |  | 3052201916200500017 | SP | S1D04i21F | Daniel.Holmes@cern.ch | installed
| 0 |  |  |  | 2005 | detector |  | TF | S1D04 | S1D04 |  |  |  |  | 3052000000200500000 | mezzannine | S1D04 | Daniel.Holmes@cern.ch | installed
| 0 |  |  |  | 2005 | detector |  | TF | S1D04 | S1D04 |  |  |  |  | 3052000000200500000 | 9U CAEN PCI card | S1D04 | Daniel.Holmes@cern.ch | installed
Formulas:
Date of Action = [Date of Action, row above]
Note on A1: Fred Borcherding: Hide - B(C - J)K - O(P - V)W - W(X - Z)AA
Note on C1: Fred Borcherding: CBP 030216 2005 CCB 030302 2005 CRB 031802 2005 DMB 041302 2004 ELM 051213 2005 EMUPC 160303 2005 MPC 131603 2005 PCM 160313 2006 RAT 180120 2005 TMB 201302 2005 VCC 220303 2006 PCM 160313 2006 ELM 051213 2005

## Status of EMDB for CSC
Status of CSC Electronics db |  |  |  | Last Update | 2008-03-13
Fred
sub-system
Pcrates
Pcrate Boards
data in Excel SS
On-Chamber Electronics
data in Oracle db connected to CMS EMDB
Chambers
data in Oracle db connected to CMS EMDB
LV for Pcrates & On-Chamber
FED
HV ME1/1
HV Florida
CMS wide status
EMDB
Rack Wizard

## Maraton Template
Entry ID | Date of Action | Hardware Type | Board ID | Site | Entered by | Crate Type | Crate Location Name | Rack | Crate | Slot Designation | Crate slot | e-log reference | comment | Mandatory for INB Barcode | Description | Location | Responsible Email | status or action taken | Serial N/O A (mfg) | Serial N/O B (rec) | Type (mfg) | Type (name) | Link to test Procedure | Link to Test Results | Global Test Result | Link to Repair History | Additional Information | Board Type #
1 | 0 | PFCB | 1 | ISR | 0 | LVPS | 000 | 0 | 0 | B | 0 |  | PFC BIN | 725000001 | OPFC Bin (Crate) | ISR | fborcher@cern.ch | ISR Test | PFCB0001 | 725000001 |  | OPFC Bin (Crate) | [5 empty] | 7250
2 | 0 | PFCM | 1 | ISR | 0 | LVPS | 002 | 0 | 0 | B | 2 |  | PFC MODULE | 719600001 | OPFC Module | ISR | fborcher@cern.ch | ISR Test | PFCM0001 | 719600001 |  | OPFC Module | [5 empty] | 7196
3 | 0 | MARC | 1 | ISR | 0 | LVPS | 000 | 0 | 0 | B | 0 |  | Maraton Crate | 729600001 | Maraton Crate | ISR | fborcher@cern.ch | ISR Test | MARC0001 | 729600001 |  | Maraton Crate | [5 empty] | 7296
4 | 0 | MARS | 1 | ISR | 0 | LVPS | 004 | 0 | 0 | B | 4 |  | Maraton Supply Module | 729200001 | Maraton Supply | ISR | fborcher@cern.ch | ISR Test | MARS0001 | 729200001 |  | Maraton Supply | [5 empty] | 7292
Formulas:
Date of Action = [Date of Action, row above]
Note on A1: Fred Borcherding: Hide - B(C - J)K - O(P - V)W - W(X - Z)AA
Note on C1: Fred Borcherding: CBP 030216 2005 CCB 030302 2005 CRB 031802 2005 DMB 041302 2004 ELM 051213 2005 EMUPC 160303 2005 MPC 131603 2005 PCM 160313 2006 RAT 180120 2005 TMB 201302 2005 VCC 220303 2006 PCM 160313 2006 ELM 051213 2005