## Maraton Connections
Low Voltage Connections
| Far -X | [17 empty] | Near +X
ME+4/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME+4/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME+4/2 | [5 empty] | VME+4/3 | [5 empty] | VME+4/4 | [5 empty] | VME+4/5 | [5 empty] | VME+4/6 | [5 empty] | VME+4/1
| P3_CR2 | [5 empty] | P3_CR2 | [5 empty] | P3_CR2 | [5 empty] | P3_CR1 | [5 empty] | P3_CR1 | [5 empty] | P3_CR1
PCRATE | X4A51c | [5 empty] | X4A51c | [5 empty] | X4A51c | [5 empty] | X2J52f | [5 empty] | X2J52f | [5 empty] | X2J52f
| P3_CR2 | [5 empty] | P3_CR2 | [5 empty] | P3_CR2 | [5 empty] | P3_CR1 | [5 empty] | P3_CR1 | [5 empty] | P3_CR1
LVM | X4A51c | [5 empty] | X4A51c | [5 empty] | X4A51c | [5 empty] | X2J52f | [5 empty] | X2J52f | [5 empty] | X2J52f
ME+2/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME+2/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME+2/2 | [5 empty] | VME+2/3 | [5 empty] | VME+2/4 | [5 empty] | VME+2/5 | [5 empty] | VME+2/6 | [5 empty] | VME+2/1
| P2_CR4 | [5 empty] | P2_CR6 | [5 empty] | P2_CR5 | [5 empty] | P2_CR8 | [5 empty] | P2_CR1 | [5 empty] | P2_CR2
PCRATE | X4A41e | [5 empty] | X2A41k | [5 empty] | X2A41i | [5 empty] | X2J42e | [5 empty] | X4J41i | [5 empty] | X4J41k
| P2_CR4 | [5 empty] | P2_CR3 | [5 empty] | P2_CR6 | [5 empty] | P2_CR7 | [5 empty] | P2_CR7 | [5 empty] | P2_CR2
LVM | X4A41e | [5 empty] | X4A41c | [5 empty] | X2A41k | [5 empty] | X2J42c | [5 empty] | X2J42c | [5 empty] | X4J41k
ME+3/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME+3/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME+3/2 | [5 empty] | VME+3/3 | [5 empty] | VME+3/4 | [5 empty] | VME+3/5 | [5 empty] | VME+3/6 | [5 empty] | VME+3/1
| P2_CR3 | [5 empty] | P2_CR5 | [5 empty] | P2_CR5 | [5 empty] | P2_CR7 | [5 empty] | P2_CR1 | [5 empty] | P2_CR1
PCRATE | X4A41c | [5 empty] | X2A41i | [5 empty] | X2A41i | [5 empty] | X2J42c | [5 empty] | X4J41i | [5 empty] | X4J41i
| P2_CR4 | [5 empty] | P2_CR3 | [5 empty] | P2_CR6 | [5 empty] | P2_CR8 | [5 empty] | P2_CR8 | [5 empty] | P2_CR2
LVM | X4A41e | [5 empty] | X4A41c | [5 empty] | X2A41k | [5 empty] | X2J42e | [5 empty] | X2J42e | [5 empty] | X4J41k
ME+1/1 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
ME+1/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
ME+1/3 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME |  | VME+1/4 |  |  | VME+1/5 |  |  | VME+1/6 |  |  | VME+1/7 |  |  | VME+1/8 |  |  | VME+1/9 |  |  | VME+1/10 |  |  | VME+1/11 |  |  | VME+1/12 |  |  | VME+1/1 |  |  | VME+1/2 |  |  | VME+1/3
|  | P1_CR4 |  |  | P1_CR3 |  |  | P1_CR6 |  |  | P1_CR5 |  |  | P1_CR5 |  |  | P1_CR5 |  |  | P1_CR7 |  |  | P1_CR8 |  |  | P1_CR1 |  |  | P1_CR1 |  |  | P1_CR1 |  |  | P1_CR2
PCRATE |  | X4A31e |  |  | X4A31c |  |  | X2A33j |  |  | X2A33h |  |  | X2A33h |  |  | X2A33h |  |  | X2J31c |  |  | X2J31e |  |  | X4J31c |  |  | X4J31c |  |  | X4J31c |  |  | X4J31e
|  | P1_CR4 |  |  | P1_CR4 |  |  | P1_CR3 |  |  | P1_CR3 |  |  | P1_CR6 |  |  | P1_CR6 |  |  | P1_CR7 |  |  | P1_CR7 |  |  | P1_CR8 |  |  | P1_CR8 |  |  | P1_CR2 |  |  | P1_CR2
LVM |  | X4A31e |  |  | X4A31e |  |  | X4A31c |  |  | X4A31c |  |  | X2A33j |  |  | X2A33j |  |  | X2J31c |  |  | X2J31c |  |  | X2J31e |  |  | X2J31e |  |  | X4J31e |  |  | X4J31e
ME-1/1 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
ME-1/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
ME-1/3 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME |  | VME-1/4 |  |  | VME-1/5 |  |  | VME-1/6 |  |  | VME-1/7 |  |  | VME-1/8 |  |  | VME-1/9 |  |  | VME-1/10 |  |  | VME-1/11 |  |  | VME-1/12 |  |  | VME-1/1 |  |  | VME-1/2 |  |  | VME-1/3
|  | M1_CR4 |  |  | M1_CR3 |  |  | M1_CR6 |  |  | M1_CR5 |  |  | M1_CR5 |  |  | M1_CR5 |  |  | M1_CR7 |  |  | M1_CR8 |  |  | M1_CR1 |  |  | M1_CR1 |  |  | M1_CR1 |  |  | M1_CR2
PCRATE |  | X4S31e |  |  | X4S31c |  |  | X2S33V |  |  | X2S33h |  |  | X2S33h |  |  | X2S33h |  |  | X2V31c |  |  | X2V31e |  |  | X4V31c |  |  | X4V31c |  |  | X4V31c |  |  | X4V31e
|  | M1_CR4 |  |  | M1_CR4 |  |  | M1_CR3 |  |  | M1_CR3 |  |  | M1_CR6 |  |  | M1_CR6 |  |  | M1_CR7 |  |  | M1_CR7 |  |  | M1_CR8 |  |  | M1_CR8 |  |  | M1_CR2 |  |  | M1_CR2
LVM |  | X4S31e |  |  | X4S31e |  |  | X4S31c |  |  | X4S31c |  |  | X2S33V |  |  | X2S33j |  |  | X2V31c |  |  | X2V31c |  |  | X2V31e |  |  | X2V31e |  |  | X4V31e |  |  | X4V31e
ME-2/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME-2/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME-2/2 | [5 empty] | VME-2/3 | [5 empty] | VME-2/4 | [5 empty] | VME-2/5 | [5 empty] | VME-2/6 | [5 empty] | VME-2/1
| M2_CR4 | [5 empty] | M2_CR6 | [5 empty] | M2_CR5 | [5 empty] | M2_CR8 | [5 empty] | M2_CR1 | [5 empty] | M2_CR2
PCRATE | X4S41e | [5 empty] | X2S41k | [5 empty] | X2S41i | [5 empty] | X2V42e | [5 empty] | X4V41i | [5 empty] | X4V41k
| M2_CR4 | [5 empty] | M2_CR3 | [5 empty] | M2_CR6 | [5 empty] | M2_CR7 | [5 empty] | M2_CR7 | [5 empty] | M2_CR2
LVM | X4S41e | [5 empty] | X4S41c | [5 empty] | X2S41k | [5 empty] | X2V42c | [5 empty] | X2V42c | [5 empty] | X4V41k
ME-3/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME-3/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME-3/2 | [5 empty] | VME-3/3 | [5 empty] | VME-3/4 | [5 empty] | VME-3/5 | [5 empty] | VME-3/6 | [5 empty] | VME-3/1
| M2_CR3 | [5 empty] | M2_CR5 | [5 empty] | M2_CR5 | [5 empty] | M2_CR7 | [5 empty] | M2_CR1 | [5 empty] | M2_CR1
PCRATE | X4S41c | [5 empty] | X2S41i | [5 empty] | X2S41i | [5 empty] | X2V42c | [5 empty] | X4V41i | [5 empty] | X4V41i
| M2_CR4 | [5 empty] | M2_CR3 | [5 empty] | M2_CR6 | [5 empty] | M2_CR8 | [5 empty] | M2_CR8 | [5 empty] | M2_CR2
LVM | X4S41e | [5 empty] | X4S41c | [5 empty] | X2S41k | [5 empty] | X2V42e | [5 empty] | X2V42e | [5 empty] | X4V41k
ME-4/1 | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 1 |  | 2 |  | 3 |  | 4
ME-4/2 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
VME | VME-4/2 | [5 empty] | VME-4/3 | [5 empty] | VME-4/4 | [5 empty] | VME-4/5 | [5 empty] | VME-4/6 | [5 empty] | VME-4/1
| M3_CR2 | [5 empty] | M3_CR2 | [5 empty] | M3_CR2 | [5 empty] | M3_CR1 | [5 empty] | M3_CR1 | [5 empty] | M3_CR1
PCRATE | X4S51c | [5 empty] | X4S51c | [5 empty] | X4S51c | [5 empty] | X2V52f | [5 empty] | X2V52f | [5 empty] | X2V52f
| M3_CR2 | [5 empty] | M3_CR2 | [5 empty] | M3_CR2 | [5 empty] | M3_CR1 | [5 empty] | M3_CR1 | [5 empty] | M3_CR1
LVM | X4S51c | [5 empty] | X4S51c | [5 empty] | X4S51c | [5 empty] | X2V52f | [5 empty] | X2V52f | [5 empty] | X2V52f
VME | = | VME crate ID, or PCB control
PCRATE | = | Maraton for pcrate
Xnnnnk = rack & crate name for Maraton crate
Pm_CRn = DCS name for Maraton
LVM | = | Maraton for LVM (LV distribution box for 9, 1TS of chambers
Xnnnnk = rack & crate name for Maraton crate
Pm_CRn = DCS name for Maraton

## DCS Names
| 1 | 2 | 3
Present Name |  |  |  | Possible new name
P1_CR3 | V05 | L06 | L07 | P1_V05L06L07_MAR
P1_CR4 | V04 | L04 | L05 | P1_V04L04L05_MAR
P1_CR5 | V07 | V08 | V09 | P1_V07V08V09_MAR
P1_CR6 | V06 | L08 | L09 | P1_V06L08L09_MAR
P1_CR7 | V01 | L01 | L11 | P1_V01L01L11_MAR
P1_CR8 | V11 | L12 | L01 | P1_V11L12L01_MAR
P1_CR1 | V12 | V01 | V02 | P1_V12V01V02_MAR
P1_CR2 | V03 | L02 | L03 | P1_V03L02L03_MAR
numbers 01 to 12 are TS numbers
M1_CR3 | V05 | L06 | L07 | M1_V05L06L07_MAR
M1_CR4 | V04 | L04 | L05 | M1_V04L04L05_MAR
M1_CR5 | V07 | V08 | V09 | M1_V07V08V09_MAR
M1_CR6 | V06 | L08 | L09 | M1_V06L08L09_MAR
M1_CR7 | V10 | L01 | L11 | M1_V10L01L11_MAR
M1_CR8 | V11 | L12 | L01 | M1_V11L12L01_MAR
M1_CR1 | V12 | V01 | V02 | M1_V12V01V02_MAR
M1_CR2 | V03 | L02 | L03 | M1_V03L02L03_MAR
numbers 01 to 12 are TS numbers
P2_CR3 | V32 | L23 | L33 | P2_V32L23L33_MAR
P2_CR4 | V22 | L22 | L32 | P2_V22L22L32_MAR
P2_CR5 | V33 | V24 | V34 | P2_V33V24V34_MAR
P2_CR6 | V23 | L24 | L34 | P2_V23L24L34_MAR
P2_CR7 | V35 | L25 | L26 | P2_V35L25L26_MAR
P2_CR8 | V25 | L35 | L36 | P2_V25L35L36_MAR
P2_CR1 | V26 | V36 | V31 | P2_V26V36V31_MAR
P2_CR2 | V21 | L21 | L31 | P2_V21L21L31_MAR
numbers mk are m = station number ; k = TS number
P3_CR1 | FAR |  |  | P3_FAR_MAR
P3_CR2 | NEAR |  |  | P3_NEAR_MAR
V = VME crate power
L = LVM or chamber power

## PCB Names
Trigger Sector | Suggested name |  | Present Name
TS1/2 | P1_M1_PCB02_CRB | BOTTOM | P1_M1_PCB1A_CRB
TS1/3 | P1_M1_PCB03_CRB | TOP | P1_M1_PCB1B_CRB
TS1/5 | P1_M1_PCB05_CRB | BOTTOM | P1_M1_PCB2A_CRB
TS1/4 | P1_M1_PCB04_CRB | TOP | P1_M1_PCB2B_CRB
TS1/7 | P1_M1_PCB07_CRB | BOTTOM | P1_M1_PCB3A_CRB
TS1/6 | P1_M1_PCB06_CRB | TOP | P1_M1_PCB3B_CRB
TS1/9 | P1_M1_PCB09_CRB | BOTTOM | P1_M1_PCB4A_CRB
TS1/8 | P1_M1_PCB08_CRB | TOP | P1_M1_PCB4B_CRB
TS1/10 | P1_M1_PCB10_CRB | BOTTOM | P1_M1_PCB5A_CRB
TS1/11 | P1_M1_PCB11_CRB | TOP | P1_M1_PCB5B_CRB
TS1/12 | P1_M1_PCB12_CRB | BOTTOM | P1_M1_PCB6A_CRB
TS1/1 | P1_M1_PCB01_CRB | TOP | P1_M1_PCB6B_CRB