## MPC FOModule Layout
| S1D04h(YE1) |  | S1D04i(YE2) |  | S1D04j(YE3) |  | MPC-TF Fiber patch panel layout (USC55-S1D04)
Module # | a | b | a | b | a | b
1 | +1/2 | +1/3 | +3/1 | +2/1 | +4/1 | x |  | cassette:
2 | +1/5 | +1/4 | +3/2 | +2/2 | +4/2 | x |  | ----- | bot | top
3 | +1/7 | +1/6 | +3/3 | +2/3 | +4/3 | x |  | ¦a b¦ | M1 | M1
4 | +1/9 | +1/8 | +2/4 | +3/2 | +4/4 | x |  | ¦c d¦ | M2 | M2
5 | +1/10 | +1/11 | +3/5 | +2/5 | +4/5 | x |  | ¦e f¦ | M3 | M3
6 | +1/12 | +1/1 | +2/6 | +3/6 | +4/6 | x |  | ¦h i¦ | sp | sp
7 | -1/2 | -1/3 | -3/1 | -2/1 | -4/1 | x |  | ¦x x¦ | nc | nc
8 | -1/5 | -1/4 | -3/2 | -2/2 | -4/2 | x |  | ¦x x¦ | nc | nc
9 | -1/7 | -1/6 | -3/3 | -2/3 | -4/3 | x
10 | -1/9 | -1/8 | -2/4 | -3/4 | -4/4 | x
11 | -1/10 | -1/11 | -3/5 | -2/5 | -4/5 | x
12 | -1/12 | -1/1 | -2/6 | -3/6 | -4/6 | x
h > the bottom of the three FO bins
I > middle
j > top

## MPC Bin Labels
Lables for the front of the FO bins in S1D04
8.5PT | 65%
MPC to TF links
| 1 | TS+1/2 | TS+1/3 | 2 | TS+1/5 | TS+1/4 | 3 | TS+1/7 | TS+1/6 | 4 | TS+1/9 | TS+1/8 | 5 | TS+1/10 | TS+1/11 | 6 | TS+1/12 | TS+1/1
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
MPC to TF links
| 7 | TS-1/2 | TS-1/3 | 8 | TS-1/5 | TS-1/4 | 9 | TS-1/7 | TS-1/6 | 10 | TS-1/9 | TS-1/8 | 11 | TS-1/10 | TS-1/11 | 12 | TS-1/12 | TS-1/1
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
MPC to TF links
| 1 | TS+3/1 | TS+2/1 | 2 | TS+3/2 | TS+2/2 | 3 | TS+3/3 | TS+2/3 | 4 | TS+2/4 | TS+3/4 | 5 | TS+3/5 | TS+2/5 | 6 | TS+2/6 | TS+3/6
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
MPC to TF links
| 7 | TS-3/1 | TS-2/1 | 8 | TS-3/2 | TS-2/2 | 9 | TS-3/3 | TS-2/3 | 10 | TS-2/4 | TS-3/4 | 11 | TS-3/5 | TS-2/5 | 12 | TS-2/6 | TS-3/6
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
MPC to TF links
| 1 | TS+4/1 | - | 2 | TS+4/2 | - | 3 | - | TS+4/3 | 4 | - | TS+4/4 | 5 | TS+4/5 | - | 6 | TS+4/6 | -
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
MPC to TF links
| 7 | TS-4/1 | - | 8 | TS-4/2 | - | 9 | - | TS-4/3 | 10 | - | TS-4/4 | 11 | TS-4/5 | - | 12 | TS-4/6 | -
|  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1 |  | M1 | M1
|  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2 |  | M2 | M2
|  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3 |  | M3 | M3
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE

## TTC FOModule Layout
|  | S1D05i(YE1) |  | S1D05h(YE2) |  | S1D05g(YE3)
| Module No. | a | b | a | b | a | b | g > the bottom of the three FO bins
| 1 | +1/2 | +1/3 | +3/1 | +2/1 | +4/1 | x | h > middle
| 2 | +1/5 | +1/4 | +3/2 | +2/2 | +4/2 | x | i > top
| 3 | +1/7 | +1/6 | +3/3 | +2/3 | +4/3 | x
| 4 | +1/9 | +1/8 | +2/4 | +3/2 | +4/4 | x
| 5 | +1/10 | +1/11 | +3/5 | +2/5 | +4/5 | x
| 6 | +1/12 | +1/1 | +2/6 | +3/6 | +4/6 | x
| 7 | -1/2 | -1/3 | -3/1 | -2/1 | -4/1 | x
| 8 | -1/5 | -1/4 | -3/2 | -2/2 | -4/2 | x
| 9 | -1/7 | -1/6 | -3/3 | -2/3 | -4/3 | x
| 10 | -1/9 | -1/8 | -2/4 | -3/4 | -4/4 | x
| 11 | -1/10 | -1/11 | -3/5 | -2/5 | -4/5 | x
| 12 | -1/12 | -1/1 | -2/6 | -3/6 | -4/6 | x
cassette
| a | b | used |  | Layout of the fiber optic modules
| c | d | spare |  | in the TTC rack S1D05
| e | f | spare
| x | x | not connected
| x | x | not connected
| x | x | not connected
| S1D05j(YE1) |  | S1D05i(YE2) |  | S1D05h(YE3) |  |  | TTC-CCB Fiber patch panel layout (USC55-S1D05)
Module # | a | b | a | b | a | b
1 | +1/2 | +1/3 | +3/1 | +2/1 | +4/1 | x |  | cassette:
2 | +1/5 | +1/4 | +3/2 | +2/2 | +4/2 | x |  | ----- | bot | top
3 | +1/7 | +1/6 | +3/3 | +2/3 | +4/3 | x |  | ¦a b¦ | a | b | used
4 | +1/9 | +1/8 | +2/4 | +3/2 | +4/4 | x |  | ¦c d¦ | c | d | spares
5 | +1/10 | +1/11 | +3/5 | +2/5 | +4/5 | x |  | ¦x x¦ |  |  | not connected
6 | +1/12 | +1/1 | +2/6 | +3/6 | +4/6 | x |  | ¦x x¦
7 | -1/2 | -1/3 | -3/1 | -2/1 | -4/1 | x |  | ¦x x¦
8 | -1/5 | -1/4 | -3/2 | -2/2 | -4/2 | x |  | ¦x x¦
9 | -1/7 | -1/6 | -3/3 | -2/3 | -4/3 | x |  | ¦x x¦
10 | -1/9 | -1/8 | -2/4 | -3/4 | -4/4 | x
11 | -1/10 | -1/11 | -3/5 | -2/5 | -4/5 | x
12 | -1/12 | -1/1 | -2/6 | -3/6 | -4/6 | x

## TTC Bin Lables
Lables for the front of the FO bins in S1D05
8.5PT | 65%
TTC links
| 1 | TS+1/2 | TS+1/3 | 2 | TS+1/5 | TS+1/4 | 3 | TS+1/7 | TS+1/6 | 4 | TS+1/9 | TS+1/8 | 5 | TS+1/10 | TS+1/11 | 6 | TS+1/12 | TS+1/1
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
TTC links
| 7 | TS-1/2 | TS-1/3 | 8 | TS-1/5 | TS-1/4 | 9 | TS-1/7 | TS-1/6 | 10 | TS-1/9 | TS-1/8 | 11 | TS-1/10 | TS-1/11 | 12 | TS-1/12 | TS-1/1
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
TTC links
| 1 | TS+3/1 | TS+2/1 | 2 | TS+3/2 | TS+2/2 | 3 | TS+3/3 | TS+2/3 | 4 | TS+2/4 | TS+3/4 | 5 | TS+3/5 | TS+2/5 | 6 | TS+2/6 | TS+3/6
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
TTC links
| 7 | TS-3/1 | TS-2/1 | 8 | TS-3/2 | TS-2/2 | 9 | TS-3/3 | TS-2/3 | 10 | TS-2/4 | TS-3/4 | 11 | TS-3/5 | TS-2/5 | 12 | TS-2/6 | TS-3/6
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
TTC links
| 1 | TS+4/1 | - | 2 | TS+4/2 | - | 3 | - | TS+4/3 | 4 | - | TS+4/4 | 5 | TS+4/5 | - | 6 | TS+4/6 | -
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE
TTC links
| 7 | TS-4/1 | - | 8 | TS-4/2 | - | 9 | - | TS-4/3 | 10 | - | TS-4/4 | 11 | TS-4/5 | - | 12 | TS-4/6 | -
|  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB |  | CCB | CCB
|  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE |  | SPARE | SPARE

## TTC FanOut
TTC Jumpers
YE+3 | YE+2 | YE+1 | YE-1 | YE-2 | YE-3
ME+4 | ME+2 & 3 | ME+1 | ME-1 | ME-2 & 3 | ME-4
+4/1 | +2/1 | +1/2 | -1/2 | -2/1 | -4/1
| +3/1 | +1/3 | -1/3 | -3/1
+4/2 | +2/2 | +1/4 | -1/4 | -2/2 | -4/2
| +3/2 | +1/5 | -1/5 | -3/2
+4/3 | +2/3 | +1/6 | -1/6 | -2/3 | -4/3
| +3/3 | +1/7 | -1/7 | -3/3
spare | spare | spare | spare | spare | spare
| spare | spare | spare | spare
+4/4 | +2/4 | +1/8 | -1/8 | -2/4 | -4/4
| +3/4 | +1/9 | -1/9 | -3/4
+4/5 | +2/5 | +1/10 | -1/10 | -2/5 | -4/5
| +3/5 | +1/11 | -1/11 | -3/5
+4/6 | +2/6 | +1/12 | -1/12 | -2/6 | -4/6
| +3/6 | +1/1 | -1/1 | -3/6
spare | spare | spare | spare | spare | spare
| spare | spare | spare | spare
34296 | 34280 | 34281 | 34282 | 34293 | 34290
34283 spare
OLD layout
34280 | 34281 | 34282 | 34283 | 34290 | 34293
34296 spare

## YE1&YE2 Labels
Labels for the Peripheral Crate Fiber Optic Jumpers
|  | For YE1 and YE2 |  |  | Each rack has an identical set of labels, these labels are repeated 24 times
| FO Crate |  |  |  | Pcrate |  |  | Labels
index | Module | connector | pcrate | board type | Board | connector | sing/double | 1st line | 2nd line
1 | 1 | 1 | bot | V | 1 |  | double | M1-1/2 | bot V1
0 | 1 | 3 | bot | V |  |  | double
0 | 1 | 5 | bot | D |  |  | double
1 | 1 | 7 | bot | D | 21 |  | double | M1-7/8 | bot D21
1 | 1 | 9 | bot | D | 15 |  | double | M1-9/10 | bot D15
1 | 1 | 11 | bot | D | 7 |  | double | M1-11/12 | bot D7
1 | 2 | 1 | bot | D | 19 |  | double | M2-1/2 | bot D19
1 | 2 | 3 | bot | D | 11 |  | double | M2-3/4 | bot D11
1 | 2 | 5 | bot | D | 5 |  | double | M2-5/6 | bot D5
1 | 2 | 7 | bot | D | 17 |  | double | M2-7/8 | bot D17
1 | 2 | 9 | bot | D | 9 |  | double | M2-9/10 | bot D9
1 | 2 | 11 | bot | D | 3 |  | double | M2-11/12 | bot D3
1 | 3 | 1 | top | D | 1 |  | double | M3-1/2 | top D1
0 | 3 | 3 | top | D |  |  | double
0 | 3 | 5 | top | D |  |  | double
1 | 3 | 7 | top | D | 21 |  | double | M3-7/8 | top D21
1 | 3 | 9 | top | D | 15 |  | double | M3-9/10 | top D15
1 | 3 | 11 | top | D | 7 |  | double | M3-11/12 | top D7
1 | 4 | 1 | top | D | 19 |  | double | M4-1/2 | top D19
1 | 4 | 3 | top | D | 11 |  | double | M4-3/4 | top D11
1 | 4 | 5 | top | D | 5 |  | double | M4-5/6 | top D5
1 | 4 | 7 | top | D | 17 |  | double | M4-7/8 | top D17
1 | 4 | 9 | top | D | 9 |  | double | M4-9/10 | top D9
1 | 4 | 11 | top | D | 3 |  | double | M4-11/12 | top D3
1 | 6 | 1 | bot | M | 12 | M1 | single | M6-1 | bot 12 M1
1 | 6 | 2 | top | M | 12 | M1 | single | M6-2 | top 12 M1
1 | 6 | 3 | bot | M | 12 | M2 | single | M6-3 | bot 12 M2
1 | 6 | 4 | top | M | 12 | M2 | single | M6-4 | top 12 M2
1 | 6 | 5 | bot | M | 12 | M3 | single | M6-5 | bot 12 M3
1 | 6 | 6 | top | M | 12 | M3 | single | M6-6 | top 12 M3
0 | 6 | 7 | bot | M | 12 | sp | single
0 | 6 | 8 | top | M | 12 | sp | single
0 | 6 | 9 | bot | M | 12 | nc | single
0 | 6 | 10 | top | M | 12 | nc | single
1 | 8 | 1 | bot | T | 13 | T1 | single | M8-1 | bot 13 T1
1 | 8 | 2 | top | T | 13 | T1 | single | M8-2 | top 13 T1
0 | 8 | 3 | bot | T | sp | T1 | single
0 | 8 | 4 | top | T | sp | T1 | single
0 | 8 | 5 | bot | T | nc | T1 | single
0 | 8 | 6 | top | T | nc | T1 | single
YE1&2 == 24 sets needed (6 racks x 2 disks x 2 ends)

## YE2 Labels New Version
Labels for the Peripheral Crate Fiber Optic Jumpers
|  | For YE1 and YE2 | [5 empty] | New Label |  | OLD Label
| FO Crate |  |  |  | Pcrate |  |  | Labels |  | Labels
index | Module | connector | pcrate | board type | Board | old board | sing/double | 1st line | 2nd line | 1st line | 2nd line
1 | 1 | 1 | bot | V | 1 | 1 | double |  |  | M1-1/2 | bot V1
0 | 1 | 3 | bot | V |  |  | double
0 | 1 | 5 | bot | D |  |  | double
1 | 1 | 7 | bot | D | 21 | 21 | double |  |  | M1-7/8 | bot D21
1 | 1 | 9 | bot | D | 19 | 15 | double | M1-9/10 | bot D19 | M1-9/10 | bot D15
1 | 1 | 11 | bot | D | 7 | 7 | double |  |  | M1-11/12 | bot D7
1 | 2 | 1 | bot | D | 17 | 19 | double | M2-1/2 | bot D17 | M2-1/2 | bot D19
1 | 2 | 3 | bot | D | 15 | 11 | double | M2-3/4 | bot D15 | M2-3/4 | bot D11
1 | 2 | 5 | bot | D | 5 | 5 | double |  |  | M2-5/6 | bot D5
1 | 2 | 7 | bot | D | 11 | 17 | double | M2-7/8 | bot D11 | M2-7/8 | bot D17
1 | 2 | 9 | bot | D | 9 | 9 | double |  |  | M2-9/10 | bot D9
1 | 2 | 11 | bot | D | 3 | 3 | double |  |  | M2-11/12 | bot D3
1 | 3 | 1 | top | V | 1 | 1 | double |  |  | M3-1/2 | top V1
0 | 3 | 3 | top | V |  |  | double
0 | 3 | 5 | top | D |  |  | double
1 | 3 | 7 | top | D | 21 | 21 | double |  |  | M3-7/8 | top D21
1 | 3 | 9 | top | D | 19 | 15 | double | M3-9/10 | top D19 | M3-9/10 | top D15
1 | 3 | 11 | top | D | 7 | 7 | double |  |  | M3-11/12 | top D7
1 | 4 | 1 | top | D | 17 | 19 | double | M4-1/2 | top D17 | M4-1/2 | top D19
1 | 4 | 3 | top | D | 15 | 11 | double | M4-3/4 | top D15 | M4-3/4 | top D11
1 | 4 | 5 | top | D | 5 | 5 | double |  |  | M4-5/6 | top D5
1 | 4 | 7 | top | D | 11 | 17 | double | M4-7/8 | top D11 | M4-7/8 | top D17
1 | 4 | 9 | top | D | 9 | 9 | double |  |  | M4-9/10 | top D9
1 | 4 | 11 | top | D | 3 | 3 | double |  |  | M4-11/12 | top D3
Need 12 sets of the new labels in column I and J.
6 for plus and 6 for minus

## YE3 Labels
Labels for the Peripheral Crate Fiber Optic Jumpers
|  | For YE3 |  |  | Each rack has an identical set of labels, these labels are repeated 12 times
| FO Crate |  |  |  | Pcrate |  |  |  | Labels
index | Module | connector | pcrate | board type | Board | connector | sing/double | Jumper Label | 1st line | 2nd line
1 | 1 | 1 | bot | V | 1 |  | double | M1-1/2 < bot V1 | M1-1/2 | bot V1
0 | 1 | 3 | bot | V |  |  | double
0 | 1 | 5 | bot | D |  |  | double
0 | 1 | 7 | bot | D | 21 |  | double
0 | 1 | 9 | bot | D | 15 |  | double
1 | 1 | 11 | bot | D | 7 |  | double | M1-11/12 < bot D7 | M1-11/12 | bot D7
0 | 2 | 1 | bot | D | 19 |  | double
0 | 2 | 3 | bot | D | 11 |  | double
1 | 2 | 5 | bot | D | 5 |  | double | M2-5/6 < bot D5 | M2-5/6 | bot D5
0 | 2 | 7 | bot | D | 17 |  | double
0 | 2 | 9 | bot | D | 9 |  | double
1 | 2 | 11 | bot | D | 3 |  | double | M2-11/12 < bot D3 | M2-11/12 | bot D3
0 | 3 | 1 | top | D | 1 |  | double
0 | 3 | 3 | top | D |  |  | double
0 | 3 | 5 | top | D |  |  | double
0 | 3 | 7 | top | D | 21 |  | double
0 | 3 | 9 | top | D | 15 |  | double
0 | 3 | 11 | top | D | 7 |  | double
0 | 4 | 1 | top | D | 19 |  | double
0 | 4 | 3 | top | D | 11 |  | double
0 | 4 | 5 | top | D | 5 |  | double
0 | 4 | 7 | top | D | 17 |  | double
0 | 4 | 9 | top | D | 9 |  | double
0 | 4 | 11 | top | D | 3 |  | double
1 | 6 | 1 | bot | M | 12 | M1 | single | M6-1<bot 12 M1 | M6-1 | bot 12 M1
0 | 6 | 2 | top | M | 12 | M1 | single
1 | 6 | 3 | bot | M | 12 | M2 | single | M6-3<bot 12 M2 | M6-3 | bot 12 M2
0 | 6 | 4 | top | M | 12 | M2 | single
1 | 6 | 5 | bot | M | 12 | M3 | single | M6-5<bot 12 M3 | M6-5 | bot 12 M3
0 | 6 | 6 | top | M | 12 | M3 | single
0 | 6 | 7 | bot | M | 12 | sp | single
0 | 6 | 8 | top | M | 12 | sp | single
0 | 6 | 9 | bot | M | 12 | nc | single
0 | 6 | 10 | top | M | 12 | nc | single
1 | 8 | 1 | bot | T | 13 | T1 | single | M8-1<bot 13 T1 | M8-1 | bot 13 T1
0 | 8 | 2 | top | T | 13 | T1 | single
0 | 8 | 3 | bot | T | sp | T1 | single
0 | 8 | 4 | top | T | sp | T1 | single
0 | 8 | 5 | bot | T | nc | T1 | single
0 | 8 | 6 | top | T | nc | T1 | single
YE3 == 12 sets needed (6 racks x 2 ends)

## PC Rack Cassette Crate
Peripheral Crate Rack Fiber Patch Panels
Fiber Cassette Termination Crates at Peripheral Crate Racks
Cassette Position |  |  | 1 |  | 2 |  | 3 | 4 | 5 | 6 |  | 7 | 8 |  | 9 | 10 | 11 | 12
[10 empty] | "bot" | "top" |  | "bot" | "top"
Peripheral Crate |  |  | "Bottom PCrate" |  |  |  | "Top PCrate"
1
YE1 & YE2 only
|  |  | 1 |  | 19 |  | 1 | 19 | Filler Panel | M1 | M1 | Filler Panel |  |  | Filler Panel | Filler Panel | Filler Panel | Filler Panel
|  |  | Spare |  | 11 |  | Spare | 11 |  | M2 | M2
|  |  | Spare |  | 5 |  | Spare | 5 |  | M3 | M3 |  | nc | nc
|  |  | 21 |  | 17 |  | 21 | 17 |  | sp | sp |  | nc | nc
|  |  | 15 |  | 9 |  | 15 | 9 |  | nc | nc |  | nc | nc
|  |  | 7 |  | 3 |  | 7 | 3 |  | nc | nc |  | nc | nc
YE3 only
|  |  | 1 |  | nc | nc | Filler Panel | Filler Panel | Filler Panel | M1 | sp | Filler Panel |  |  | Filler Panel | Filler Panel | Filler Panel | Filler Panel
|  |  | Spare |  | nc | nc |  |  |  | M2 | sp
|  |  | Spare |  | 5 |  |  |  |  | M3 | sp |  | nc | nc
|  |  | nc | nc | nc | nc |  |  |  | sp | sp |  | nc | nc
|  |  | nc | nc | nc | nc |  |  |  | nc | nc |  | nc | nc
|  |  | 7 |  | 3 |  |  |  |  | nc | nc |  | nc | nc
|  |  | Note: |  | The numbers on the cassette ports indicate the peripheral crate slots nubers.
Abbreviations: 'sp' indicates spare; 'nc' indicates no connection;
M1, M2, and M3, refer to MPC connectors (slot 12) M1 = top, M2 = middle, M3 = bottom;
DAQ path, VCC & DMB's, muti-mode, duplex, LC connectors.
Trigger path, MPC, multi-mode, simplex, LC connectors.
TTC, CCB, single-mode, simplex, ST connector.

## PC Rack Cassette Crate Revised
Peripheral Crate Rack Fiber Patch Panels
Fiber Cassette Termination Crates at Peripheral Crate Racks
Cassette Position |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 | 8 | 9 | 10 | 11 | 12
[11 empty] | "bot" | "top" | "bot" | "top"
Peripheral Crate |  |  | "Bottom PCrate" |  |  |  | "Top PCrate"
1
YE1 & YE2 only
|  |  | 1 |  | 19 |  | 1 |  | 19 |  | M1 | M1 |  |  | Filler Panel | Filler Panel | Filler Panel | Filler Panel | Filler Panel | Filler Panel
|  |  | Spare |  | 11 |  | Spare |  | 11 |  | M2 | M2
|  |  | Spare |  | 5 |  | Spare |  | 5 |  | M3 | M3 | nc | nc
|  |  | 21 |  | 17 |  | 21 |  | 17 |  | sp | sp | nc | nc
|  |  | 15 |  | 9 |  | 15 |  | 9 |  | nc | nc | nc | nc
|  |  | 7 |  | 3 |  | 7 |  | 3 |  | nc | nc | nc | nc
YE3 only
|  |  | 1 |  | nc | nc | M1 | sp |  |  | Filler Panel |  | Filler Panel |  | Filler Panel | Filler Panel | Filler Panel | Filler Panel | Filler Panel | Filler Panel
|  |  | Spare |  | nc | nc | M2 | sp
|  |  | Spare |  | 5 |  | M3 | sp | nc | nc
|  |  | nc | nc | nc | nc | sp | sp | nc | nc
|  |  | nc | nc | nc | nc | nc | nc | nc | nc
|  |  | 7 |  | 3 |  | nc | nc | nc | nc
|  |  | Note: |  | The numbers on the cassette ports indicate the peripheral crate slots nubers.
Abbreviations: 'sp' indicates spare; 'nc' indicates no connection;
M1, M2, and M3, refer to MPC connectors (slot 12) M1 = top, M2 = middle, M3 = bottom;
DAQ path, VCC & DMB's, muti-mode, duplex, LC connectors.
Trigger path, MPC, multi-mode, simplex, LC connectors.
TTC, CCB, single-mode, simplex, ST connector.