## EXFO_YE1_2SM_2007-05-07_15-02
FasTesT Results TUBE 2 PP(YE1)
Fiber Id | Wavelength (nm) | Loss A (dB) | Loss A Reference (dB) | Loss B (dB) | Loss B Reference (dB) | Average Loss (dB) | ORL A (dB) | Sensitivity ORL A (dB) | ORL A Reference (%) | ORL B (dB) | Sensitivity ORL B (dB) | ORL B Reference (%) | Length (km) | Comment | Wavelength A (m) | Wavelength B (m) | Temperature A (Celsius) | Temperature B (Celsius) | Date | Time | Fiber Type | Reference Type | Reference
FIBER001 | 1310 | 0.20562 | 0.30454 | 0.26339 | 0.21915 | 0.23441 | 100 | 44.1182 | 0 | 100 | 44.3889 | 0 | 0.0839 |  | 1.3036e-06 | 1.3156e-06 | 24.4375 | 24.7812 | 2007-05-07 | 15:03 | 9/125 microns SM | Side by Side | X5R31
| 1550 | 0.15455 | 0.12519 | 0.20605 | 0.12738 | 0.18023 | 100 | 44.9165 | 0 | 100 | 45.1119 | 0 | 0.0839 |  | 1.5543e-06 | 1.5462e-06 | 24.4375 | 24.7812 | 2007-05-07 | 15:03 | 9/125 microns SM | Side by Side | X5R31
FIBER002 | 1310 | 1.0414 | 0.30454 | 1.0323 | 0.21915 | 1.0368 | 100 | 45.6445 | 0 | 100 | 45.7929 | 0 | 0.0835 |  | 1.3036e-06 | 1.3157e-06 | 24.4531 | 24.7969 | 2007-05-07 | 15:03 | 9/125 microns SM | Side by Side | X5R31
| 1550 | 0.75078 | 0.12519 | 0.78375 | 0.12738 | 0.76723 | 100 | 46.0057 | 0 | 100 | 46.1709 | 0 | 0.0835 |  | 1.5543e-06 | 1.5462e-06 | 24.4531 | 24.7969 | 2007-05-07 | 15:03 | 9/125 microns SM | Side by Side | X5R31
FIBER003 | 1310 | 0.2856 | 0.30454 | 0.32741 | 0.21915 | 0.30646 | 52.2017 | 44.2663 | 0 | 54.5298 | 44.5074 | 0 | 0.0838 |  | 1.3036e-06 | 1.3157e-06 | 24.4844 | 24.7969 | 2007-05-07 | 15:08 | 9/125 microns SM | Side by Side | X5R31
| 1550 | 0.27275 | 0.12519 | 0.28034 | 0.12738 | 0.27654 | 56.8666 | 45.1344 | 0 | 100 | 45.2493 | 0 | 0.0838 |  | 1.5543e-06 | 1.5462e-06 | 24.4844 | 24.7969 | 2007-05-07 | 15:08 | 9/125 microns SM | Side by Side | X5R31
FIBER004 | 1310 | 0.55605 | 0.30454 | 0.51894 | 0.21915 | 0.53745 | 100 | 44.7643 | 0 | 100 | 44.8603 | 0 | 0.0834 |  | 1.3036e-06 | 1.3157e-06 | 24.4688 | 24.8125 | 2007-05-07 | 15:08 | 9/125 microns SM | Side by Side | X5R31
| 1550 | 0.37846 | 0.12519 | 0.40524 | 0.12738 | 0.39183 | 100 | 45.3285 | 0 | 100 | 45.4796 | 0 | 0.0834 |  | 1.5543e-06 | 1.5462e-06 | 24.4688 | 24.8125 | 2007-05-07 | 15:08 | 9/125 microns SM | Side by Side | X5R31
Threshold
Name:
Wavelength (nm) | Insertion Loss (dB) | ORL (dB) | Power (dBm) | Power Ref. (dB)
Cable Information
Id: | YE1_2SM
Manufacturer:
Type:
Comment:
Location A:
Location B:
Job Information
Id:
Contractor:
Customer:
Reason:
Operator A:
Unit A: | FOT-930
Serial Number A: | 397285
Operator B:
Unit B: | FOT-932
Serial Number B: | 397286
Date: | 2007-05-07 | 15:03