## EXFO_YE1_3_2007-05-07_11-14
FasTesT Results TUBE 3 PP(YE1)
Fiber Id | Wavelength (nm) | Loss A (dB) | Loss A Reference (dB) | Loss B (dB) | Loss B Reference (dB) | Average Loss (dB) | ORL A (dB) | Sensitivity ORL A (dB) | ORL A Reference (%) | ORL B (dB) | Sensitivity ORL B (dB) | ORL B Reference (%) | Length (km) | Comment | Wavelength A (m) | Wavelength B (m) | Temperature A (Celsius) | Temperature B (Celsius) | Date | Time | Fiber Type | Reference Type | Reference | type | module | channel
FIBER001 | 850 | 0.43452 | 0.6426 | 0.43244 | 0.78477 | 0.43348 | [6 empty] | 0.0916 |  | 8.3887e-07 | 8.4211e-07 | 23.1875 | 23.5781 | 2007-05-08 | 15:55 | 50 microns MM | Side by Side | X3A31 | VCC | 1 | 1
| 1300 | 0.25692 | 0.7298 | 0.25562 | 0.67635 | 0.25627 | [6 empty] | 0.0916 |  | 1.3378e-06 | 1.3392e-06 | 23.1875 | 23.5781 | 2007-05-08 | 15:55 | 50 microns MM | Side by Side | X3A31
FIBER002 | 850 | 0.60985 | 0.6426 | 0.60177 | 0.78477 | 0.60581 | [6 empty] | 0.097 |  | 8.389e-07 | 8.4215e-07 | 23.2969 | 23.7656 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31 | VCC | 1 | 2
| 1300 | 0.40795 | 0.7298 | 0.40315 | 0.67635 | 0.40555 | [6 empty] | 0.097 |  | 1.3378e-06 | 1.3392e-06 | 23.2969 | 23.7656 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31
FIBER003 | 850 | 0.59381 | 0.6426 | 0.59086 | 0.78477 | 0.59233 | [6 empty] | 0.0939 |  | 8.3891e-07 | 8.4216e-07 | 23.3438 | 23.7812 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31 | sp | 1 | 3
| 1300 | 0.41888 | 0.7298 | 0.4152 | 0.67635 | 0.41704 | [6 empty] | 0.0939 |  | 1.3379e-06 | 1.3392e-06 | 23.3438 | 23.7812 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31
FIBER004 | 850 | 0.43835 | 0.6426 | 0.4386 | 0.78477 | 0.43847 | [6 empty] | 0.0939 |  | 8.3891e-07 | 8.4217e-07 | 23.375 | 23.8125 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31 | sp | 1 | 4
| 1300 | 0.29283 | 0.7298 | 0.29582 | 0.67635 | 0.29432 | [6 empty] | 0.0939 |  | 1.3379e-06 | 1.3392e-06 | 23.375 | 23.8125 | 2007-05-08 | 15:57 | 50 microns MM | Side by Side | X3A31
FIBER005 | 850 | 0.41505 | 0.6426 | 0.4098 | 0.78477 | 0.41242 | [6 empty] | 0.0955 |  | 8.3894e-07 | 8.4217e-07 | 23.4844 | 23.8438 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 7
| 1300 | 0.25023 | 0.7298 | 0.24993 | 0.67635 | 0.25008 | [6 empty] | 0.0955 |  | 1.3379e-06 | 1.3392e-06 | 23.4844 | 23.8438 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31
FIBER006 | 850 | 0.45867 | 0.6426 | 0.45564 | 0.78477 | 0.45715 | [6 empty] | 0.0887 |  | 8.3894e-07 | 8.4219e-07 | 23.4688 | 23.8906 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 8
| 1300 | 0.29258 | 0.7298 | 0.29168 | 0.67635 | 0.29213 | [6 empty] | 0.0887 |  | 1.3379e-06 | 1.3393e-06 | 23.4688 | 23.8906 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31
FIBER007 | 850 | 0.4935 | 0.6426 | 0.49073 | 0.78477 | 0.49212 | [6 empty] | 0.0918 |  | 8.3895e-07 | 8.4219e-07 | 23.5312 | 23.9219 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 9
| 1300 | 0.30037 | 0.7298 | 0.30272 | 0.67635 | 0.30155 | [6 empty] | 0.0918 |  | 1.3379e-06 | 1.3393e-06 | 23.5312 | 23.9219 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31
FIBER008 | 850 | 0.58245 | 0.6426 | 0.57273 | 0.78477 | 0.57758 | [6 empty] | 0.0904 |  | 8.3896e-07 | 8.422e-07 | 23.5469 | 23.9375 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 10
| 1300 | 0.38373 | 0.7298 | 0.3774 | 0.67635 | 0.38057 | [6 empty] | 0.0904 |  | 1.3379e-06 | 1.3393e-06 | 23.5469 | 23.9375 | 2007-05-08 | 15:59 | 50 microns MM | Side by Side | X3A31
FIBER009 | 850 | 0.93729 | 0.6426 | 0.93289 | 0.78477 | 0.93509 | [6 empty] | 0.096 |  | 8.3895e-07 | 8.4221e-07 | 23.5781 | 23.9844 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 11
| 1300 | 0.73346 | 0.7298 | 0.72785 | 0.67635 | 0.73065 | [6 empty] | 0.096 |  | 1.3379e-06 | 1.3393e-06 | 23.5781 | 23.9844 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31
FIBER010 | 850 | 0.80437 | 0.6426 | 0.79472 | 0.78477 | 0.79955 | [6 empty] | 0.0945 |  | 8.3897e-07 | 8.4221e-07 | 23.5781 | 23.9844 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31 | FED | 1 | 12
| 1300 | 0.62642 | 0.7298 | 0.61686 | 0.67635 | 0.62164 | [6 empty] | 0.0945 |  | 1.3379e-06 | 1.3393e-06 | 23.5781 | 23.9844 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31
FIBER011 | 850 | 0.47946 | 0.6426 | 0.47304 | 0.78477 | 0.47625 | [6 empty] | 0.0938 |  | 8.3897e-07 | 8.4221e-07 | 23.6094 | 24 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 1
| 1300 | 0.30852 | 0.7298 | 0.30536 | 0.67635 | 0.30694 | [6 empty] | 0.0938 |  | 1.3379e-06 | 1.3393e-06 | 23.6094 | 24 | 2007-05-08 | 16:00 | 50 microns MM | Side by Side | X3A31
FIBER012 | 850 | 0.47105 | 0.6426 | 0.46344 | 0.78477 | 0.46725 | [6 empty] | 0.0951 |  | 8.3898e-07 | 8.4221e-07 | 23.6406 | 24 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 2
| 1300 | 0.30662 | 0.7298 | 0.30331 | 0.67635 | 0.30497 | [6 empty] | 0.0951 |  | 1.3379e-06 | 1.3393e-06 | 23.6406 | 24 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31
FIBER013 | 850 | 0.64162 | 0.6426 | 0.63562 | 0.78477 | 0.63862 | [6 empty] | 0.0902 |  | 8.3899e-07 | 8.4222e-07 | 23.6562 | 24.0156 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 3
| 1300 | 0.44308 | 0.7298 | 0.43817 | 0.67635 | 0.44062 | [6 empty] | 0.0902 |  | 1.3379e-06 | 1.3393e-06 | 23.6562 | 24.0156 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31
FIBER014 | 850 | 0.46889 | 0.6426 | 0.46531 | 0.78477 | 0.4671 | [6 empty] | 0.0907 |  | 8.3899e-07 | 8.4222e-07 | 23.6875 | 24.0469 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 4
| 1300 | 0.32511 | 0.7298 | 0.32322 | 0.67635 | 0.32416 | [6 empty] | 0.0907 |  | 1.3379e-06 | 1.3393e-06 | 23.6875 | 24.0469 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31
FIBER015 | 850 | 0.43973 | 0.6426 | 0.44047 | 0.78477 | 0.4401 | [6 empty] | 0.0954 |  | 8.39e-07 | 8.4223e-07 | 23.7031 | 24.0625 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 5
| 1300 | 0.29001 | 0.7298 | 0.28875 | 0.67635 | 0.28938 | [6 empty] | 0.0954 |  | 1.3379e-06 | 1.3393e-06 | 23.7031 | 24.0625 | 2007-05-08 | 16:01 | 50 microns MM | Side by Side | X3A31
FIBER016 | 850 | 0.54295 | 0.6426 | 0.53434 | 0.78477 | 0.53865 | [6 empty] | 0.0955 |  | 8.39e-07 | 8.4223e-07 | 23.75 | 24.0625 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 6
| 1300 | 0.34528 | 0.7298 | 0.34445 | 0.67635 | 0.34487 | [6 empty] | 0.0955 |  | 1.338e-06 | 1.3393e-06 | 23.75 | 24.0625 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31
FIBER017 | 850 | 0.41681 | 0.6426 | 0.41436 | 0.78477 | 0.41558 | [6 empty] | 0.0929 |  | 8.39e-07 | 8.4224e-07 | 23.7188 | 24.1094 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 7
| 1300 | 0.25501 | 0.7298 | 0.2549 | 0.67635 | 0.25495 | [6 empty] | 0.0929 |  | 1.338e-06 | 1.3393e-06 | 23.7188 | 24.1094 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31
FIBER018 | 850 | 0.63271 | 0.6426 | 0.62713 | 0.78477 | 0.62992 | [6 empty] | 0.0972 |  | 8.3901e-07 | 8.4224e-07 | 23.7656 | 24.0938 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 8
| 1300 | 0.4354 | 0.7298 | 0.43362 | 0.67635 | 0.43451 | [6 empty] | 0.0972 |  | 1.338e-06 | 1.3393e-06 | 23.7656 | 24.0938 | 2007-05-08 | 16:02 | 50 microns MM | Side by Side | X3A31
FIBER019 | 850 | 0.51406 | 0.6426 | 0.51006 | 0.78477 | 0.51206 | [6 empty] | 0.0951 |  | 8.3901e-07 | 8.4224e-07 | 23.7812 | 24.0938 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 9
| 1300 | 0.34344 | 0.7298 | 0.34129 | 0.67635 | 0.34236 | [6 empty] | 0.0951 |  | 1.338e-06 | 1.3393e-06 | 23.7812 | 24.0938 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31
FIBER020 | 850 | 0.53929 | 0.6426 | 0.54334 | 0.78477 | 0.54131 | [6 empty] | 0.0927 |  | 8.3902e-07 | 8.4224e-07 | 23.7969 | 24.125 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 10
| 1300 | 0.34754 | 0.7298 | 0.35037 | 0.67635 | 0.34896 | [6 empty] | 0.0927 |  | 1.338e-06 | 1.3393e-06 | 23.7969 | 24.125 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31
FIBER021 | 850 | 0.453 | 0.6426 | 0.45026 | 0.78477 | 0.45163 | [6 empty] | 0.0939 |  | 8.3903e-07 | 8.4225e-07 | 23.8281 | 24.1406 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 11
| 1300 | 0.30429 | 0.7298 | 0.3031 | 0.67635 | 0.30369 | [6 empty] | 0.0939 |  | 1.338e-06 | 1.3393e-06 | 23.8281 | 24.1406 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31
FIBER022 | 850 | 0.54091 | 0.6426 | 0.54009 | 0.78477 | 0.5405 | [6 empty] | 0.1034 |  | 8.3903e-07 | 8.4225e-07 | 23.8281 | 24.1406 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31 | FED | 2 | 12
| 1300 | 0.37285 | 0.7298 | 0.37158 | 0.67635 | 0.37222 | [6 empty] | 0.1034 |  | 1.338e-06 | 1.3393e-06 | 23.8281 | 24.1406 | 2007-05-08 | 16:03 | 50 microns MM | Side by Side | X3A31
FIBER023 | 850 | 0.54578 | 0.6426 | 0.5434 | 0.78477 | 0.54459 | [6 empty] | 0.097 |  | 8.3902e-07 | 8.4225e-07 | 23.8438 | 24.1406 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 1
| 1300 | 0.38156 | 0.7298 | 0.38099 | 0.67635 | 0.38128 | [6 empty] | 0.097 |  | 1.338e-06 | 1.3393e-06 | 23.8438 | 24.1406 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31
FIBER024 | 850 | 0.71556 | 0.6426 | 0.71423 | 0.78477 | 0.71489 | [6 empty] | 0.0957 |  | 8.3904e-07 | 8.4226e-07 | 23.875 | 24.1719 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 2
| 1300 | 0.50651 | 0.7298 | 0.50642 | 0.67635 | 0.50647 | [6 empty] | 0.0957 |  | 1.338e-06 | 1.3393e-06 | 23.875 | 24.1719 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31
FIBER025 | 850 | 0.61685 | 0.6426 | 0.59825 | 0.78477 | 0.60754 | [6 empty] | 0.096 |  | 8.3904e-07 | 8.4226e-07 | 23.875 | 24.1875 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 3
| 1300 | 0.42671 | 0.7298 | 0.40979 | 0.67635 | 0.41824 | [6 empty] | 0.096 |  | 1.338e-06 | 1.3393e-06 | 23.875 | 24.1875 | 2007-05-08 | 16:04 | 50 microns MM | Side by Side | X3A31
FIBER026 | 850 | 0.56281 | 0.6426 | 0.56041 | 0.78477 | 0.56161 | [6 empty] | 0.0965 |  | 8.3905e-07 | 8.4226e-07 | 23.9219 | 24.1719 | 2007-05-08 | 16:05 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 4
| 1300 | 0.38456 | 0.7298 | 0.38343 | 0.67635 | 0.38399 | [6 empty] | 0.0965 |  | 1.338e-06 | 1.3393e-06 | 23.9219 | 24.1719 | 2007-05-08 | 16:05 | 50 microns MM | Side by Side | X3A31
FIBER027 | 850 | 0.52399 | 0.6426 | 0.52377 | 0.78477 | 0.52388 | [6 empty] | 0.0931 |  | 8.3906e-07 | 8.4226e-07 | 23.9375 | 24.1875 | 2007-05-08 | 16:05 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 7
| 1300 | 0.35996 | 0.7298 | 0.35955 | 0.67635 | 0.35975 | [6 empty] | 0.0931 |  | 1.338e-06 | 1.3393e-06 | 23.9375 | 24.1875 | 2007-05-08 | 16:05 | 50 microns MM | Side by Side | X3A31
FIBER028 | 850 | 0.39269 | 0.6426 | 0.39161 | 0.78477 | 0.39215 | [6 empty] | 0.0934 |  | 8.3906e-07 | 8.4226e-07 | 23.9688 | 24.1875 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 8
| 1300 | 0.21617 | 0.7298 | 0.219 | 0.67635 | 0.21759 | [6 empty] | 0.0934 |  | 1.338e-06 | 1.3393e-06 | 23.9688 | 24.1875 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31
FIBER029 | 850 | 0.47647 | 0.6426 | 0.47503 | 0.78477 | 0.47575 | [6 empty] | 0.0973 |  | 8.3906e-07 | 8.4227e-07 | 23.9844 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 9
| 1300 | 0.31487 | 0.7298 | 0.31453 | 0.67635 | 0.3147 | [6 empty] | 0.0973 |  | 1.338e-06 | 1.3393e-06 | 23.9844 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31
FIBER030 | 850 | 0.39589 | 0.6426 | 0.39796 | 0.78477 | 0.39692 | [6 empty] | 0.0957 |  | 8.3907e-07 | 8.4226e-07 | 24.0156 | 24.2031 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 10
| 1300 | 0.22709 | 0.7298 | 0.2294 | 0.67635 | 0.22825 | [6 empty] | 0.0957 |  | 1.338e-06 | 1.3393e-06 | 24.0156 | 24.2031 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31
FIBER031 | 850 | 0.63047 | 0.6426 | 0.62977 | 0.78477 | 0.63012 | [6 empty] | 0.0979 |  | 8.3908e-07 | 8.4227e-07 | 24.0312 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 11
| 1300 | 0.44254 | 0.7298 | 0.44121 | 0.67635 | 0.44187 | [6 empty] | 0.0979 |  | 1.338e-06 | 1.3393e-06 | 24.0312 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31
FIBER032 | 850 | 0.46332 | 0.6426 | 0.46437 | 0.78477 | 0.46385 | [6 empty] | 0.0956 |  | 8.3909e-07 | 8.4227e-07 | 24.0625 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31 | FED | 3 | 12
| 1300 | 0.2636 | 0.7298 | 0.26603 | 0.67635 | 0.26481 | [6 empty] | 0.0956 |  | 1.338e-06 | 1.3393e-06 | 24.0625 | 24.2188 | 2007-05-08 | 16:06 | 50 microns MM | Side by Side | X3A31
FIBER033 | 850 | 0.52107 | 0.6426 | 0.52293 | 0.78477 | 0.522 | [6 empty] | 0.0967 |  | 8.3909e-07 | 8.4227e-07 | 24.0625 | 24.2344 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 1
| 1300 | 0.35482 | 0.7298 | 0.35499 | 0.67635 | 0.3549 | [6 empty] | 0.0967 |  | 1.338e-06 | 1.3393e-06 | 24.0625 | 24.2344 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31
FIBER034 | 850 | 0.34051 | 0.6426 | 0.33852 | 0.78477 | 0.33951 | [6 empty] | 0.096 |  | 8.3909e-07 | 8.4227e-07 | 24.0938 | 24.2344 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 2
| 1300 | 0.18633 | 0.7298 | 0.18649 | 0.67635 | 0.18641 | [6 empty] | 0.096 |  | 1.338e-06 | 1.3393e-06 | 24.0938 | 24.2344 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31
FIBER035 | 850 | 0.56916 | 0.6426 | 0.56963 | 0.78477 | 0.5694 | [6 empty] | 0.0928 |  | 8.391e-07 | 8.4229e-07 | 24.1094 | 24.2969 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 3
| 1300 | 0.39508 | 0.7298 | 0.39574 | 0.67635 | 0.39541 | [6 empty] | 0.0928 |  | 1.338e-06 | 1.3394e-06 | 24.1094 | 24.2969 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31
FIBER036 | 850 | 0.50538 | 0.6426 | 0.50313 | 0.78477 | 0.50426 | [6 empty] | 0.0949 |  | 8.3909e-07 | 8.4228e-07 | 24.125 | 24.2656 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 4
| 1300 | 0.33395 | 0.7298 | 0.3362 | 0.67635 | 0.33507 | [6 empty] | 0.0949 |  | 1.338e-06 | 1.3394e-06 | 24.125 | 24.2656 | 2007-05-08 | 16:07 | 50 microns MM | Side by Side | X3A31
FIBER037 | 850 | 0.42028 | 0.6426 | 0.41957 | 0.78477 | 0.41992 | [6 empty] | 0.0957 |  | 8.3911e-07 | 8.4228e-07 | 24.1406 | 24.25 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 5
| 1300 | 0.23953 | 0.7298 | 0.24258 | 0.67635 | 0.24106 | [6 empty] | 0.0957 |  | 1.3381e-06 | 1.3394e-06 | 24.1406 | 24.25 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31
FIBER038 | 850 | 0.59241 | 0.6426 | 0.6051 | 0.78477 | 0.59875 | [6 empty] | 0.0955 |  | 8.391e-07 | 8.4229e-07 | 24.1562 | 24.2969 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 6
| 1300 | 0.43475 | 0.7298 | 0.44476 | 0.67635 | 0.43975 | [6 empty] | 0.0955 |  | 1.3381e-06 | 1.3394e-06 | 24.1562 | 24.2969 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31
FIBER039 | 850 | 0.48828 | 0.6426 | 0.478 | 0.78477 | 0.48314 | [6 empty] | 0.0965 |  | 8.3911e-07 | 8.4228e-07 | 24.1875 | 24.2812 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 7
| 1300 | 0.34553 | 0.7298 | 0.34507 | 0.67635 | 0.3453 | [6 empty] | 0.0965 |  | 1.3381e-06 | 1.3394e-06 | 24.1875 | 24.2812 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31
FIBER040 | 850 | 0.46624 | 0.6426 | 0.46509 | 0.78477 | 0.46566 | [6 empty] | 0.098 |  | 8.3912e-07 | 8.4228e-07 | 24.2031 | 24.2656 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 8
| 1300 | 0.28246 | 0.7298 | 0.28527 | 0.67635 | 0.28386 | [6 empty] | 0.098 |  | 1.3381e-06 | 1.3394e-06 | 24.2031 | 24.2656 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31
FIBER041 | 850 | 0.35138 | 0.6426 | 0.3539 | 0.78477 | 0.35264 | [6 empty] | 0.0932 |  | 8.3913e-07 | 8.4229e-07 | 24.2188 | 24.2969 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 9
| 1300 | 0.16337 | 0.7298 | 0.1672 | 0.67635 | 0.16528 | [6 empty] | 0.0932 |  | 1.3381e-06 | 1.3394e-06 | 24.2188 | 24.2969 | 2007-05-08 | 16:08 | 50 microns MM | Side by Side | X3A31
FIBER042 | 850 | 0.45611 | 0.6426 | 0.46029 | 0.78477 | 0.4582 | [6 empty] | 0.0948 |  | 8.3913e-07 | 8.4229e-07 | 24.2188 | 24.2969 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 10
| 1300 | 0.27715 | 0.7298 | 0.28044 | 0.67635 | 0.27879 | [6 empty] | 0.0948 |  | 1.3381e-06 | 1.3394e-06 | 24.2188 | 24.2969 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31
FIBER043 | 850 | 0.46286 | 0.6426 | 0.46374 | 0.78477 | 0.4633 | [6 empty] | 0.0928 |  | 8.3913e-07 | 8.4229e-07 | 24.2188 | 24.2969 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 11
| 1300 | 0.26549 | 0.7298 | 0.26768 | 0.67635 | 0.26658 | [6 empty] | 0.0928 |  | 1.3381e-06 | 1.3394e-06 | 24.2188 | 24.2969 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31
FIBER044 | 850 | 0.45988 | 0.6426 | 0.46278 | 0.78477 | 0.46133 | [6 empty] | 0.0951 |  | 8.3913e-07 | 8.4229e-07 | 24.25 | 24.3125 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31 | FED | 4 | 12
| 1300 | 0.30942 | 0.7298 | 0.30977 | 0.67635 | 0.30959 | [6 empty] | 0.0951 |  | 1.3381e-06 | 1.3394e-06 | 24.25 | 24.3125 | 2007-05-08 | 16:09 | 50 microns MM | Side by Side | X3A31
FIBER045 | 850 | 0.36446 | 0.6426 | 0.3908 | 0.78477 | 0.37761 | [6 empty] | 0.0828 |  | 8.3913e-07 | 8.4229e-07 | 24.25 | 24.2969 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 1
| 1300 | 0.19755 | 0.7298 | 0.22567 | 0.67635 | 0.21159 | [6 empty] | 0.0828 |  | 1.3381e-06 | 1.3394e-06 | 24.25 | 24.2969 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31
FIBER046 | 850 | 0.39885 | 0.6426 | 0.4008 | 0.78477 | 0.39982 | [6 empty] | 0.0806 |  | 8.3914e-07 | 8.4229e-07 | 24.2812 | 24.2969 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 2
| 1300 | 0.25168 | 0.7298 | 0.25195 | 0.67635 | 0.25182 | [6 empty] | 0.0806 |  | 1.3381e-06 | 1.3394e-06 | 24.2812 | 24.2969 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31
FIBER047 | 850 | 0.42341 | 0.6426 | 0.42418 | 0.78477 | 0.42379 | [6 empty] | 0.0819 |  | 8.3914e-07 | 8.423e-07 | 24.2656 | 24.3438 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 3
| 1300 | 0.28958 | 0.7298 | 0.29005 | 0.67635 | 0.28981 | [6 empty] | 0.0819 |  | 1.3381e-06 | 1.3394e-06 | 24.2656 | 24.3438 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31
FIBER048 | 850 | 0.45794 | 0.6426 | 0.48476 | 0.78477 | 0.47133 | [6 empty] | 0.0798 |  | 8.3915e-07 | 8.423e-07 | 24.3125 | 24.3438 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 4
| 1300 | 0.27719 | 0.7298 | 0.30885 | 0.67635 | 0.29299 | [6 empty] | 0.0798 |  | 1.3381e-06 | 1.3394e-06 | 24.3125 | 24.3438 | 2007-05-08 | 16:10 | 50 microns MM | Side by Side | X3A31
FIBER049 | 850 | 0.45624 | 0.6426 | 0.45549 | 0.78477 | 0.45587 | [6 empty] | 0.0833 |  | 8.3915e-07 | 8.4229e-07 | 24.2812 | 24.3125 | 2007-05-08 | 16:11 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 5
| 1300 | 0.28166 | 0.7298 | 0.28088 | 0.67635 | 0.28127 | [6 empty] | 0.0833 |  | 1.3381e-06 | 1.3394e-06 | 24.2812 | 24.3125 | 2007-05-08 | 16:11 | 50 microns MM | Side by Side | X3A31
FIBER050 | 850 | 0.69068 | 0.6426 | 0.65587 | 0.78477 | 0.67324 | [6 empty] | 0.0812 |  | 8.3915e-07 | 8.423e-07 | 24.2969 | 24.3438 | 2007-05-08 | 16:11 | 50 microns MM | Side by Side | X3A31 | MPC | 6 | 6
| 1300 | 0.54529 | 0.7298 | 0.51031 | 0.67635 | 0.52776 | [6 empty] | 0.0812 |  | 1.3381e-06 | 1.3394e-06 | 24.2969 | 24.3438 | 2007-05-08 | 16:11 | 50 microns MM | Side by Side | X3A31
Threshold
Name:
Wavelength (nm) | Insertion Loss (dB) | ORL (dB) | Power (dBm) | Power Ref. (dB)
Cable Information
Id: | YE1_3
Manufacturer:
Type:
Comment:
Location A:
Location B:
Job Information
Id:
Contractor:
Customer:
Reason:
Operator A:
Unit A: | FOT-930
Serial Number A: | 397285
Operator B:
Unit B: | FOT-932
Serial Number B: | 397286
Date: | 2007-05-07 | 11:15