## EXFO_YE1_4_2007-05-07_11-23
FasTesT Results TUBE 4 PP(YE1)
Fiber Id | Wavelength (nm) | Loss A (dB) | Loss A Reference (dB) | Loss B (dB) | Loss B Reference (dB) | Average Loss (dB) | ORL A (dB) | Sensitivity ORL A (dB) | ORL A Reference (%) | ORL B (dB) | Sensitivity ORL B (dB) | ORL B Reference (%) | Length (km) | Comment | Wavelength A (m) | Wavelength B (m) | Temperature A (Celsius) | Temperature B (Celsius) | Date | Time | Fiber Type | Reference Type | Reference
FIBER001 | 850 | 0.69265 | 0.82726 | 0.69369 | 0.98157 | 0.69317 | [6 empty] | 0.0799 |  | 8.3934e-07 | 8.4231e-07 | 25.125 | 24.4062 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.36171 | 0.96592 | 0.36789 | 0.91026 | 0.36479 | [6 empty] | 0.0799 |  | 1.3383e-06 | 1.3394e-06 | 25.125 | 24.4062 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
FIBER002 | 850 | 0.76416 | 0.82726 | 0.75693 | 0.98157 | 0.76054 | [6 empty] | 0.0811 |  | 8.3935e-07 | 8.4232e-07 | 25.1406 | 24.4219 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.50848 | 0.96592 | 0.50538 | 0.91026 | 0.50693 | [6 empty] | 0.0811 |  | 1.3383e-06 | 1.3394e-06 | 25.1406 | 24.4219 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
FIBER003 | 850 | 0.40003 | 0.82726 | 0.38673 | 0.98157 | 0.39337 | [6 empty] | 0.0843 |  | 8.3936e-07 | 8.4233e-07 | 25.1406 | 24.4531 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.18223 | 0.96592 | 0.17507 | 0.91026 | 0.17865 | [6 empty] | 0.0843 |  | 1.3383e-06 | 1.3394e-06 | 25.1406 | 24.4531 | 2007-05-07 | 11:24 | 50 microns MM | Side by Side | X1R31
FIBER004 | 850 | 0.35098 | 0.82726 | 0.35118 | 0.98157 | 0.35108 | [6 empty] | 0.0844 |  | 8.3936e-07 | 8.4233e-07 | 25.1719 | 24.4844 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.13702 | 0.96592 | 0.14087 | 0.91026 | 0.13895 | [6 empty] | 0.0844 |  | 1.3383e-06 | 1.3394e-06 | 25.1719 | 24.4844 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
FIBER005 | 850 | 0.62791 | 0.82726 | 0.62411 | 0.98157 | 0.62601 | [6 empty] | 0.0863 |  | 8.3937e-07 | 8.4233e-07 | 25.2188 | 24.4531 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.40624 | 0.96592 | 0.40846 | 0.91026 | 0.40735 | [6 empty] | 0.0863 |  | 1.3383e-06 | 1.3394e-06 | 25.2188 | 24.4531 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
FIBER006 | 850 | 0.28645 | 0.82726 | 0.28571 | 0.98157 | 0.28608 | [6 empty] | 0.0819 |  | 8.3938e-07 | 8.4231e-07 | 25.2188 | 24.4062 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.086272 | 0.96592 | 0.088937 | 0.91026 | 0.087604 | [6 empty] | 0.0819 |  | 1.3383e-06 | 1.3394e-06 | 25.2188 | 24.4062 | 2007-05-07 | 11:25 | 50 microns MM | Side by Side | X1R31
FIBER007 | 850 | 0.38882 | 0.82726 | 0.38697 | 0.98157 | 0.3879 | [6 empty] | 0.0845 |  | 8.3938e-07 | 8.4233e-07 | 25.2188 | 24.4688 | 2007-05-07 | 11:26 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.20273 | 0.96592 | 0.20255 | 0.91026 | 0.20264 | [6 empty] | 0.0845 |  | 1.3383e-06 | 1.3394e-06 | 25.2188 | 24.4688 | 2007-05-07 | 11:26 | 50 microns MM | Side by Side | X1R31
FIBER008 | 850 | 0.44672 | 0.82726 | 0.44809 | 0.98157 | 0.4474 | [6 empty] | 0.0815 |  | 8.3939e-07 | 8.4233e-07 | 25.2656 | 24.4531 | 2007-05-07 | 11:26 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.23687 | 0.96592 | 0.23961 | 0.91026 | 0.23824 | [6 empty] | 0.0815 |  | 1.3383e-06 | 1.3394e-06 | 25.2656 | 24.4531 | 2007-05-07 | 11:26 | 50 microns MM | Side by Side | X1R31
FIBER009 | 850 | 0.40756 | 0.82726 | 0.40275 | 0.98157 | 0.40515 | [6 empty] | 0.0835 |  | 8.394e-07 | 8.4233e-07 | 25.2969 | 24.4531 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.1567 | 0.96592 | 0.15888 | 0.91026 | 0.15779 | [6 empty] | 0.0835 |  | 1.3383e-06 | 1.3394e-06 | 25.2969 | 24.4531 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
FIBER010 | 850 | 0.6629 | 0.82726 | 0.65937 | 0.98157 | 0.66114 | [6 empty] | 0.0834 |  | 8.3939e-07 | 8.4232e-07 | 25.2812 | 24.4375 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.47109 | 0.96592 | 0.4694 | 0.91026 | 0.47024 | [6 empty] | 0.0834 |  | 1.3383e-06 | 1.3394e-06 | 25.2812 | 24.4375 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
FIBER011 | 850 | 0.97627 | 0.82726 | 0.95209 | 0.98157 | 0.96416 | [6 empty] | 0.0835 |  | 8.394e-07 | 8.4232e-07 | 25.3125 | 24.4375 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.49044 | 0.96592 | 0.4719 | 0.91026 | 0.48116 | [6 empty] | 0.0835 |  | 1.3383e-06 | 1.3394e-06 | 25.3125 | 24.4375 | 2007-05-07 | 11:27 | 50 microns MM | Side by Side | X1R31
FIBER012 | 850 | 0.45791 | 0.82726 | 0.45763 | 0.98157 | 0.45777 | [6 empty] | 0.0844 |  | 8.394e-07 | 8.4233e-07 | 25.3125 | 24.4844 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.21744 | 0.96592 | 0.21877 | 0.91026 | 0.21811 | [6 empty] | 0.0844 |  | 1.3384e-06 | 1.3394e-06 | 25.3125 | 24.4844 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
FIBER013 | 850 | 0.3216 | 0.82726 | 0.32251 | 0.98157 | 0.32205 | [6 empty] | 0.0858 |  | 8.3942e-07 | 8.4233e-07 | 25.3594 | 24.4688 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.10226 | 0.96592 | 0.10934 | 0.91026 | 0.1058 | [6 empty] | 0.0858 |  | 1.3384e-06 | 1.3394e-06 | 25.3594 | 24.4688 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
FIBER014 | 850 | 0.27694 | 0.82726 | 0.27718 | 0.98157 | 0.27706 | [6 empty] | 0.0857 |  | 8.3941e-07 | 8.4233e-07 | 25.3594 | 24.4531 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.039181 | 0.96592 | 0.050208 | 0.91026 | 0.044691 | [6 empty] | 0.0857 |  | 1.3384e-06 | 1.3394e-06 | 25.3594 | 24.4531 | 2007-05-07 | 11:28 | 50 microns MM | Side by Side | X1R31
FIBER015 | 850 | 0.21517 | 0.82726 | 0.21536 | 0.98157 | 0.21526 | [6 empty] | 0.084 |  | 8.3942e-07 | 8.423e-07 | 25.4062 | 24.3594 | 2007-05-07 | 11:31 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.026381 | 0.96592 | -0.019518 | 0.91026 | -0.022951 | [6 empty] | 0.084 |  | 1.3384e-06 | 1.3394e-06 | 25.4062 | 24.3594 | 2007-05-07 | 11:31 | 50 microns MM | Side by Side | X1R31
FIBER016 | 850 | 0.2897 | 0.82726 | 0.28821 | 0.98157 | 0.28895 | [6 empty] | 0.0819 |  | 8.3943e-07 | 8.4231e-07 | 25.4219 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.089468 | 0.96592 | 0.091774 | 0.91026 | 0.090621 | [6 empty] | 0.0819 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
FIBER017 | 850 | 0.19378 | 0.82726 | 0.20228 | 0.98157 | 0.19803 | [6 empty] | 0.084 |  | 8.3943e-07 | 8.4231e-07 | 25.3906 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.0036459 | 0.96592 | 0.013826 | 0.91026 | 0.0087331 | [6 empty] | 0.084 |  | 1.3384e-06 | 1.3394e-06 | 25.3906 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
FIBER018 | 850 | 0.103 | 0.82726 | 0.12339 | 0.98157 | 0.11319 | [6 empty] | 0.0858 |  | 8.3943e-07 | 8.4231e-07 | 25.4375 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.097494 | 0.96592 | -0.075309 | 0.91026 | -0.086416 | [6 empty] | 0.0858 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.3906 | 2007-05-07 | 11:32 | 50 microns MM | Side by Side | X1R31
FIBER019 | 850 | 0.52481 | 0.82726 | 0.52375 | 0.98157 | 0.52428 | [6 empty] | 0.0848 |  | 8.3943e-07 | 8.4231e-07 | 25.4375 | 24.375 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.30656 | 0.96592 | 0.3041 | 0.91026 | 0.30533 | [6 empty] | 0.0848 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.375 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
FIBER020 | 850 | 0.19024 | 0.82726 | 0.19312 | 0.98157 | 0.19168 | [6 empty] | 0.0839 |  | 8.3944e-07 | 8.4231e-07 | 25.4844 | 24.4062 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.046714 | 0.96592 | -0.042319 | 0.91026 | -0.044517 | [6 empty] | 0.0839 |  | 1.3384e-06 | 1.3394e-06 | 25.4844 | 24.4062 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
FIBER021 | 850 | 0.11366 | 0.82726 | 0.11466 | 0.98157 | 0.11416 | [6 empty] | 0.0806 |  | 8.3944e-07 | 8.4231e-07 | 25.4688 | 24.3906 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.09817 | 0.96592 | -0.092183 | 0.91026 | -0.095178 | [6 empty] | 0.0806 |  | 1.3384e-06 | 1.3394e-06 | 25.4688 | 24.3906 | 2007-05-07 | 11:33 | 50 microns MM | Side by Side | X1R31
FIBER022 | 850 | 0.31395 | 0.82726 | 0.31316 | 0.98157 | 0.31356 | [6 empty] | 0.085 |  | 8.3943e-07 | 8.4231e-07 | 25.4531 | 24.375 | 2007-05-07 | 11:34 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.11605 | 0.96592 | 0.11714 | 0.91026 | 0.1166 | [6 empty] | 0.085 |  | 1.3384e-06 | 1.3394e-06 | 25.4531 | 24.375 | 2007-05-07 | 11:34 | 50 microns MM | Side by Side | X1R31
FIBER023 | 850 | 0.33601 | 0.82726 | 0.3366 | 0.98157 | 0.33631 | [6 empty] | 0.0807 |  | 8.3942e-07 | 8.4229e-07 | 25.375 | 24.3281 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.12262 | 0.96592 | 0.12379 | 0.91026 | 0.1232 | [6 empty] | 0.0807 |  | 1.3384e-06 | 1.3394e-06 | 25.375 | 24.3281 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
FIBER024 | 850 | 0.38538 | 0.82726 | 0.38895 | 0.98157 | 0.38716 | [6 empty] | 0.081 |  | 8.3942e-07 | 8.4228e-07 | 25.375 | 24.2656 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.16189 | 0.96592 | 0.16712 | 0.91026 | 0.16451 | [6 empty] | 0.081 |  | 1.3384e-06 | 1.3394e-06 | 25.375 | 24.2656 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
FIBER025 | 850 | 0.22094 | 0.82726 | 0.22638 | 0.98157 | 0.22366 | [6 empty] | 0.0814 |  | 8.3943e-07 | 8.4229e-07 | 25.4062 | 24.3125 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.010248 | 0.96592 | 0.018391 | 0.91026 | 0.014318 | [6 empty] | 0.0814 |  | 1.3384e-06 | 1.3394e-06 | 25.4062 | 24.3125 | 2007-05-07 | 11:35 | 50 microns MM | Side by Side | X1R31
FIBER026 | 850 | 0.18724 | 0.82726 | 0.19034 | 0.98157 | 0.18879 | [6 empty] | 0.0842 |  | 8.3943e-07 | 8.4229e-07 | 25.4219 | 24.3281 | 2007-05-07 | 11:36 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.025827 | 0.96592 | -0.022538 | 0.91026 | -0.024183 | [6 empty] | 0.0842 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.3281 | 2007-05-07 | 11:36 | 50 microns MM | Side by Side | X1R31
FIBER027 | 850 | 0.20212 | 0.82726 | 0.20418 | 0.98157 | 0.20315 | [6 empty] | 0.083 |  | 8.3943e-07 | 8.4228e-07 | 25.4531 | 24.2812 | 2007-05-07 | 11:36 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.004796 | 0.96592 | 0.008109 | 0.91026 | 0.0064522 | [6 empty] | 0.083 |  | 1.3384e-06 | 1.3394e-06 | 25.4531 | 24.2812 | 2007-05-07 | 11:36 | 50 microns MM | Side by Side | X1R31
FIBER028 | 850 | 0.24001 | 0.82726 | 0.24394 | 0.98157 | 0.24198 | [6 empty] | 0.0834 |  | 8.3943e-07 | 8.4229e-07 | 25.4375 | 24.2969 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.029984 | 0.96592 | 0.038068 | 0.91026 | 0.034024 | [6 empty] | 0.0834 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.2969 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
FIBER029 | 850 | 0.23773 | 0.82726 | 0.23845 | 0.98157 | 0.23809 | [6 empty] | 0.0876 |  | 8.3943e-07 | 8.4229e-07 | 25.4375 | 24.3125 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.045849 | 0.96592 | 0.048414 | 0.91026 | 0.047131 | [6 empty] | 0.0876 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.3125 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
FIBER030 | 850 | 0.16939 | 0.82726 | 0.17237 | 0.98157 | 0.17088 | [6 empty] | 0.0855 |  | 8.3942e-07 | 8.4229e-07 | 25.4375 | 24.2969 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.03319 | 0.96592 | -0.028397 | 0.91026 | -0.030794 | [6 empty] | 0.0855 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.2969 | 2007-05-07 | 11:37 | 50 microns MM | Side by Side | X1R31
FIBER031 | 850 | 0.73425 | 0.82726 | 0.68121 | 0.98157 | 0.70764 | [6 empty] | 0.0841 |  | 8.3943e-07 | 8.4229e-07 | 25.4531 | 24.3125 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.56379 | 0.96592 | 0.58191 | 0.91026 | 0.57284 | [6 empty] | 0.0841 |  | 1.3384e-06 | 1.3394e-06 | 25.4531 | 24.3125 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
FIBER032 | 850 | 0.27406 | 0.82726 | 0.2754 | 0.98157 | 0.27473 | [6 empty] | 0.0843 |  | 8.3943e-07 | 8.4229e-07 | 25.4375 | 24.2969 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.069978 | 0.96592 | 0.073754 | 0.91026 | 0.071865 | [6 empty] | 0.0843 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.2969 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
FIBER033 | 850 | 0.36089 | 0.82726 | 0.35986 | 0.98157 | 0.36038 | [6 empty] | 0.0863 |  | 8.3943e-07 | 8.4228e-07 | 25.4219 | 24.2812 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.14281 | 0.96592 | 0.14401 | 0.91026 | 0.14341 | [6 empty] | 0.0863 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.2812 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
FIBER034 | 850 | 0.14733 | 0.82726 | 0.15777 | 0.98157 | 0.15255 | [6 empty] | 0.0838 |  | 8.3943e-07 | 8.4228e-07 | 25.4219 | 24.2812 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.058077 | 0.96592 | -0.044351 | 0.91026 | -0.05122 | [6 empty] | 0.0838 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.2812 | 2007-05-07 | 11:38 | 50 microns MM | Side by Side | X1R31
FIBER035 | 850 | 0.38988 | 0.82726 | 0.41228 | 0.98157 | 0.40107 | [6 empty] | 0.0856 |  | 8.3943e-07 | 8.4228e-07 | 25.4375 | 24.2812 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.17567 | 0.96592 | 0.19975 | 0.91026 | 0.18769 | [6 empty] | 0.0856 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.2812 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
FIBER036 | 850 | 0.28571 | 0.82726 | 0.28637 | 0.98157 | 0.28604 | [6 empty] | 0.0857 |  | 8.3942e-07 | 8.4228e-07 | 25.4375 | 24.2656 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.096082 | 0.96592 | 0.097262 | 0.91026 | 0.096672 | [6 empty] | 0.0857 |  | 1.3384e-06 | 1.3394e-06 | 25.4375 | 24.2656 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
FIBER037 | 850 | 0.13551 | 0.82726 | 0.14049 | 0.98157 | 0.138 | [6 empty] | 0.081 |  | 8.3943e-07 | 8.4228e-07 | 25.4219 | 24.2812 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.051127 | 0.96592 | -0.047907 | 0.91026 | -0.049518 | [6 empty] | 0.081 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.2812 | 2007-05-07 | 11:39 | 50 microns MM | Side by Side | X1R31
FIBER038 | 850 | 0.22278 | 0.82726 | 0.17091 | 0.98157 | 0.19677 | [6 empty] | 0.0868 |  | 8.3943e-07 | 8.4228e-07 | 25.4219 | 24.2656 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.029972 | 0.96592 | -0.025589 | 0.91026 | 0.0021027 | [6 empty] | 0.0868 |  | 1.3384e-06 | 1.3394e-06 | 25.4219 | 24.2656 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
FIBER039 | 850 | 0.45762 | 0.82726 | 0.45169 | 0.98157 | 0.45465 | [6 empty] | 0.0837 |  | 8.3942e-07 | 8.4228e-07 | 25.4062 | 24.2656 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.23117 | 0.96592 | 0.23021 | 0.91026 | 0.23069 | [6 empty] | 0.0837 |  | 1.3384e-06 | 1.3394e-06 | 25.4062 | 24.2656 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
FIBER040 | 850 | 0.24354 | 0.82726 | 0.2415 | 0.98157 | 0.24252 | [6 empty] | 0.0859 |  | 8.3943e-07 | 8.4228e-07 | 25.4062 | 24.25 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.050132 | 0.96592 | 0.05122 | 0.91026 | 0.050676 | [6 empty] | 0.0859 |  | 1.3384e-06 | 1.3394e-06 | 25.4062 | 24.25 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
FIBER041 | 850 | 0.28006 | 0.82726 | 0.25969 | 0.98157 | 0.26986 | [6 empty] | 0.0849 |  | 8.3942e-07 | 8.4228e-07 | 25.3438 | 24.25 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.068225 | 0.96592 | 0.053939 | 0.91026 | 0.061077 | [6 empty] | 0.0849 |  | 1.3384e-06 | 1.3394e-06 | 25.3438 | 24.25 | 2007-05-07 | 11:40 | 50 microns MM | Side by Side | X1R31
FIBER042 | 850 | 0.2735 | 0.82726 | 0.26456 | 0.98157 | 0.26903 | [6 empty] | 0.0847 |  | 8.3942e-07 | 8.4227e-07 | 25.4062 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.067709 | 0.96592 | 0.06043 | 0.91026 | 0.064068 | [6 empty] | 0.0847 |  | 1.3384e-06 | 1.3393e-06 | 25.4062 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
FIBER043 | 850 | 0.31107 | 0.82726 | 0.31012 | 0.98157 | 0.31059 | [6 empty] | 0.0826 |  | 8.3941e-07 | 8.4227e-07 | 25.3438 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.10434 | 0.96592 | 0.10568 | 0.91026 | 0.10501 | [6 empty] | 0.0826 |  | 1.3384e-06 | 1.3393e-06 | 25.3438 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
FIBER044 | 850 | 0.31341 | 0.82726 | 0.31202 | 0.98157 | 0.31272 | [6 empty] | 0.0868 |  | 8.3941e-07 | 8.4227e-07 | 25.3594 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.11941 | 0.96592 | 0.12063 | 0.91026 | 0.12002 | [6 empty] | 0.0868 |  | 1.3384e-06 | 1.3393e-06 | 25.3594 | 24.2344 | 2007-05-07 | 11:41 | 50 microns MM | Side by Side | X1R31
FIBER045 | 850 | 0.17673 | 0.82726 | 0.15701 | 0.98157 | 0.16686 | [6 empty] | 0.0688 |  | 8.394e-07 | 8.4227e-07 | 25.3281 | 24.2188 | 2007-05-07 | 11:42 | 50 microns MM | Side by Side | X1R31
| 1300 | -0.021872 | 0.96592 | -0.044163 | 0.91026 | -0.033032 | [6 empty] | 0.0688 |  | 1.3384e-06 | 1.3393e-06 | 25.3281 | 24.2188 | 2007-05-07 | 11:42 | 50 microns MM | Side by Side | X1R31
FIBER046 | 850 | 0.27829 | 0.82726 | 0.27851 | 0.98157 | 0.2784 | [6 empty] | 0.0725 |  | 8.394e-07 | 8.4225e-07 | 25.3281 | 24.1562 | 2007-05-07 | 11:42 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.066965 | 0.96592 | 0.068462 | 0.91026 | 0.067713 | [6 empty] | 0.0725 |  | 1.3383e-06 | 1.3393e-06 | 25.3281 | 24.1562 | 2007-05-07 | 11:42 | 50 microns MM | Side by Side | X1R31
FIBER047 | 850 | 0.2592 | 0.82726 | 0.26767 | 0.98157 | 0.26343 | [6 empty] | 0.0733 |  | 8.394e-07 | 8.4226e-07 | 25.3281 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.02731 | 0.96592 | 0.033373 | 0.91026 | 0.03034 | [6 empty] | 0.0733 |  | 1.3384e-06 | 1.3393e-06 | 25.3281 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
FIBER048 | 850 | 0.31342 | 0.82726 | 0.3128 | 0.98157 | 0.31311 | [6 empty] | 0.0699 |  | 8.394e-07 | 8.4226e-07 | 25.3125 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.13031 | 0.96592 | 0.12954 | 0.91026 | 0.12993 | [6 empty] | 0.0699 |  | 1.3383e-06 | 1.3393e-06 | 25.3125 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
FIBER049 | 850 | 0.51 | 0.82726 | 0.50928 | 0.98157 | 0.50964 | [6 empty] | 0.0715 |  | 8.394e-07 | 8.4226e-07 | 25.3125 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.33649 | 0.96592 | 0.33337 | 0.91026 | 0.33493 | [6 empty] | 0.0715 |  | 1.3383e-06 | 1.3393e-06 | 25.3125 | 24.1875 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
FIBER050 | 850 | 0.24635 | 0.82726 | 0.24978 | 0.98157 | 0.24806 | [6 empty] | 0.0706 |  | 8.394e-07 | 8.4226e-07 | 25.3125 | 24.2031 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
| 1300 | 0.055017 | 0.96592 | 0.060488 | 0.91026 | 0.057751 | [6 empty] | 0.0706 |  | 1.3384e-06 | 1.3393e-06 | 25.3125 | 24.2031 | 2007-05-07 | 11:43 | 50 microns MM | Side by Side | X1R31
Threshold
Name:
Wavelength (nm) | Insertion Loss (dB) | ORL (dB) | Power (dBm) | Power Ref. (dB)
Cable Information
Id: | YE1_4
Manufacturer:
Type:
Comment:
Location A:
Location B:
Job Information
Id:
Contractor:
Customer:
Reason:
Operator A:
Unit A: | FOT-930
Serial Number A: | 397285
Operator B:
Unit B: | FOT-932
Serial Number B: | 397286
Date: | 2007-05-07 | 11:24