## EXFO_YE1_6_2007-05-07_14-24
FasTesT Results TUBE 6 PP(YE1)
Fiber Id | Wavelength (nm) | Loss A (dB) | Loss A Reference (dB) | Loss B (dB) | Loss B Reference (dB) | Average Loss (dB) | ORL A (dB) | Sensitivity ORL A (dB) | ORL A Reference (%) | ORL B (dB) | Sensitivity ORL B (dB) | ORL B Reference (%) | Length (km) | Comment | Wavelength A (m) | Wavelength B (m) | Temperature A (Celsius) | Temperature B (Celsius) | Date | Time | Fiber Type | Reference Type | Reference | type | module | channel
FIBER001 | 850 | 0.44062 | 0.6426 | 0.44366 | 0.78477 | 0.44214 | [6 empty] | 0.0802 |  | 8.3916e-07 | 8.4229e-07 | 24.3438 | 24.3125 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31 | VCC | 1 | 1
| 1300 | 0.32803 | 0.7298 | 0.3272 | 0.67635 | 0.32762 | [6 empty] | 0.0802 |  | 1.3381e-06 | 1.3394e-06 | 24.3438 | 24.3125 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31
FIBER002 | 850 | 0.41192 | 0.6426 | 0.41354 | 0.78477 | 0.41273 | [6 empty] | 0.0811 |  | 8.3916e-07 | 8.4229e-07 | 24.3594 | 24.3125 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31 | VCC | 1 | 2
| 1300 | 0.2634 | 0.7298 | 0.26486 | 0.67635 | 0.26413 | [6 empty] | 0.0811 |  | 1.3381e-06 | 1.3394e-06 | 24.3594 | 24.3125 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31
FIBER003 | 850 | 0.70433 | 0.6426 | 0.7034 | 0.78477 | 0.70386 | [6 empty] | 0.0795 |  | 8.3917e-07 | 8.4229e-07 | 24.3906 | 24.3281 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31 | sp | 1 | 3
| 1300 | 0.51032 | 0.7298 | 0.50673 | 0.67635 | 0.50853 | [6 empty] | 0.0795 |  | 1.3381e-06 | 1.3394e-06 | 24.3906 | 24.3281 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31
FIBER004 | 850 | 0.63554 | 0.6426 | 0.63273 | 0.78477 | 0.63413 | [6 empty] | 0.0853 |  | 8.3917e-07 | 8.4229e-07 | 24.375 | 24.3281 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31 | sp | 1 | 4
| 1300 | 0.44871 | 0.7298 | 0.44677 | 0.67635 | 0.44774 | [6 empty] | 0.0853 |  | 1.3381e-06 | 1.3394e-06 | 24.375 | 24.3281 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31
FIBER005 | 850 | 0.40665 | 0.6426 | 0.40832 | 0.78477 | 0.40748 | [6 empty] | 0.0806 |  | 8.3918e-07 | 8.423e-07 | 24.4219 | 24.3594 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 7
| 1300 | 0.24519 | 0.7298 | 0.2464 | 0.67635 | 0.2458 | [6 empty] | 0.0806 |  | 1.3381e-06 | 1.3394e-06 | 24.4219 | 24.3594 | 2007-05-08 | 16:13 | 50 microns MM | Side by Side | X3J31
FIBER006 | 850 | 0.50656 | 0.6426 | 0.50655 | 0.78477 | 0.50655 | [6 empty] | 0.0793 |  | 8.3918e-07 | 8.4231e-07 | 24.4219 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 8
| 1300 | 0.35971 | 0.7298 | 0.35767 | 0.67635 | 0.35869 | [6 empty] | 0.0793 |  | 1.3381e-06 | 1.3394e-06 | 24.4219 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31
FIBER007 | 850 | 0.54898 | 0.6426 | 0.54928 | 0.78477 | 0.54913 | [6 empty] | 0.0791 |  | 8.3918e-07 | 8.4231e-07 | 24.4375 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 9
| 1300 | 0.4259 | 0.7298 | 0.42366 | 0.67635 | 0.42478 | [6 empty] | 0.0791 |  | 1.3381e-06 | 1.3394e-06 | 24.4375 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31
FIBER008 | 850 | 0.34383 | 0.6426 | 0.34547 | 0.78477 | 0.34465 | [6 empty] | 0.0803 |  | 8.3918e-07 | 8.4231e-07 | 24.4688 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 10
| 1300 | 0.21255 | 0.7298 | 0.21419 | 0.67635 | 0.21337 | [6 empty] | 0.0803 |  | 1.3381e-06 | 1.3394e-06 | 24.4688 | 24.375 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31
FIBER009 | 850 | 0.47031 | 0.6426 | 0.47074 | 0.78477 | 0.47052 | [6 empty] | 0.0842 |  | 8.3918e-07 | 8.4232e-07 | 24.4375 | 24.4219 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 11
| 1300 | 0.31247 | 0.7298 | 0.3131 | 0.67635 | 0.31278 | [6 empty] | 0.0842 |  | 1.3381e-06 | 1.3394e-06 | 24.4375 | 24.4219 | 2007-05-08 | 16:14 | 50 microns MM | Side by Side | X3J31
FIBER010 | 850 | 0.50385 | 0.6426 | 0.5036 | 0.78477 | 0.50373 | [6 empty] | 0.0786 |  | 8.3919e-07 | 8.4231e-07 | 24.4844 | 24.3906 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31 | FED | 1 | 12
| 1300 | 0.35049 | 0.7298 | 0.35168 | 0.67635 | 0.35109 | [6 empty] | 0.0786 |  | 1.3381e-06 | 1.3394e-06 | 24.4844 | 24.3906 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31
FIBER011 | 850 | 0.66746 | 0.6426 | 0.66634 | 0.78477 | 0.6669 | [6 empty] | 0.078 |  | 8.3919e-07 | 8.4232e-07 | 24.4844 | 24.4219 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 1
| 1300 | 0.49655 | 0.7298 | 0.49196 | 0.67635 | 0.49425 | [6 empty] | 0.078 |  | 1.3381e-06 | 1.3394e-06 | 24.4844 | 24.4219 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31
FIBER012 | 850 | 0.47409 | 0.6426 | 0.47625 | 0.78477 | 0.47517 | [6 empty] | 0.0818 |  | 8.392e-07 | 8.4231e-07 | 24.5156 | 24.4062 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 2
| 1300 | 0.33441 | 0.7298 | 0.33274 | 0.67635 | 0.33358 | [6 empty] | 0.0818 |  | 1.3382e-06 | 1.3394e-06 | 24.5156 | 24.4062 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31
FIBER013 | 850 | 0.50351 | 0.6426 | 0.50504 | 0.78477 | 0.50427 | [6 empty] | 0.0793 |  | 8.392e-07 | 8.4232e-07 | 24.5156 | 24.4375 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 3
| 1300 | 0.36451 | 0.7298 | 0.36272 | 0.67635 | 0.36361 | [6 empty] | 0.0793 |  | 1.3382e-06 | 1.3394e-06 | 24.5156 | 24.4375 | 2007-05-08 | 16:15 | 50 microns MM | Side by Side | X3J31
FIBER014 | 850 | 0.37151 | 0.6426 | 0.37236 | 0.78477 | 0.37194 | [6 empty] | 0.0781 |  | 8.392e-07 | 8.4232e-07 | 24.5312 | 24.4375 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 4
| 1300 | 0.23034 | 0.7298 | 0.23143 | 0.67635 | 0.23089 | [6 empty] | 0.0781 |  | 1.3382e-06 | 1.3394e-06 | 24.5312 | 24.4375 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31
FIBER015 | 850 | 0.66407 | 0.6426 | 0.66972 | 0.78477 | 0.6669 | [6 empty] | 0.0803 |  | 8.392e-07 | 8.4232e-07 | 24.5 | 24.4219 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 5
| 1300 | 0.51853 | 0.7298 | 0.51913 | 0.67635 | 0.51883 | [6 empty] | 0.0803 |  | 1.3381e-06 | 1.3394e-06 | 24.5 | 24.4219 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31
FIBER016 | 850 | 0.73814 | 0.6426 | 0.73798 | 0.78477 | 0.73806 | [6 empty] | 0.0772 |  | 8.392e-07 | 8.4232e-07 | 24.5469 | 24.4375 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 6
| 1300 | 0.56955 | 0.7298 | 0.56755 | 0.67635 | 0.56855 | [6 empty] | 0.0772 |  | 1.3382e-06 | 1.3394e-06 | 24.5469 | 24.4375 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31
FIBER017 | 850 | 0.58819 | 0.6426 | 0.58662 | 0.78477 | 0.5874 | [6 empty] | 0.0823 |  | 8.3921e-07 | 8.4233e-07 | 24.5469 | 24.4531 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 7
| 1300 | 0.41126 | 0.7298 | 0.4083 | 0.67635 | 0.40978 | [6 empty] | 0.0823 |  | 1.3382e-06 | 1.3394e-06 | 24.5469 | 24.4531 | 2007-05-08 | 16:16 | 50 microns MM | Side by Side | X3J31
FIBER018 | 850 | 0.47224 | 0.6426 | 0.47986 | 0.78477 | 0.47605 | [6 empty] | 0.082 |  | 8.392e-07 | 8.4233e-07 | 24.5156 | 24.4531 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 8
| 1300 | 0.34335 | 0.7298 | 0.34468 | 0.67635 | 0.34402 | [6 empty] | 0.082 |  | 1.3382e-06 | 1.3394e-06 | 24.5156 | 24.4531 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31
FIBER019 | 850 | 0.45678 | 0.6426 | 0.46432 | 0.78477 | 0.46055 | [6 empty] | 0.0818 |  | 8.3921e-07 | 8.4232e-07 | 24.5469 | 24.4375 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 9
| 1300 | 0.28629 | 0.7298 | 0.28927 | 0.67635 | 0.28778 | [6 empty] | 0.0818 |  | 1.3382e-06 | 1.3394e-06 | 24.5469 | 24.4375 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31
FIBER020 | 850 | 0.52373 | 0.6426 | 0.52239 | 0.78477 | 0.52306 | [6 empty] | 0.0798 |  | 8.3921e-07 | 8.4233e-07 | 24.5625 | 24.4531 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 10
| 1300 | 0.37978 | 0.7298 | 0.37441 | 0.67635 | 0.37709 | [6 empty] | 0.0798 |  | 1.3382e-06 | 1.3394e-06 | 24.5625 | 24.4531 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31
FIBER021 | 850 | 0.51495 | 0.6426 | 0.51699 | 0.78477 | 0.51597 | [6 empty] | 0.081 |  | 8.3921e-07 | 8.4233e-07 | 24.5625 | 24.4844 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 11
| 1300 | 0.35769 | 0.7298 | 0.35714 | 0.67635 | 0.35742 | [6 empty] | 0.081 |  | 1.3382e-06 | 1.3394e-06 | 24.5625 | 24.4844 | 2007-05-08 | 16:17 | 50 microns MM | Side by Side | X3J31
FIBER022 | 850 | 0.53021 | 0.6426 | 0.54362 | 0.78477 | 0.53691 | [6 empty] | 0.0765 |  | 8.3922e-07 | 8.4233e-07 | 24.5781 | 24.4531 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31 | FED | 2 | 12
| 1300 | 0.35787 | 0.7298 | 0.3732 | 0.67635 | 0.36553 | [6 empty] | 0.0765 |  | 1.3382e-06 | 1.3394e-06 | 24.5781 | 24.4531 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31
FIBER023 | 850 | 0.3075 | 0.6426 | 0.31506 | 0.78477 | 0.31128 | [6 empty] | 0.0809 |  | 8.3922e-07 | 8.4233e-07 | 24.5938 | 24.4844 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 1
| 1300 | 0.17254 | 0.7298 | 0.17499 | 0.67635 | 0.17376 | [6 empty] | 0.0809 |  | 1.3382e-06 | 1.3394e-06 | 24.5938 | 24.4844 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31
FIBER024 | 850 | 0.32999 | 0.6426 | 0.323 | 0.78477 | 0.32649 | [6 empty] | 0.083 |  | 8.3922e-07 | 8.4233e-07 | 24.6094 | 24.4531 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 2
| 1300 | 0.16723 | 0.7298 | 0.15962 | 0.67635 | 0.16343 | [6 empty] | 0.083 |  | 1.3382e-06 | 1.3394e-06 | 24.6094 | 24.4531 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31
FIBER025 | 850 | 0.30734 | 0.6426 | 0.31129 | 0.78477 | 0.30931 | [6 empty] | 0.0824 |  | 8.3922e-07 | 8.4233e-07 | 24.5625 | 24.4844 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 3
| 1300 | 0.15805 | 0.7298 | 0.16141 | 0.67635 | 0.15973 | [6 empty] | 0.0824 |  | 1.3382e-06 | 1.3394e-06 | 24.5625 | 24.4844 | 2007-05-08 | 16:18 | 50 microns MM | Side by Side | X3J31
FIBER026 | 850 | 0.37908 | 0.6426 | 0.38282 | 0.78477 | 0.38095 | [6 empty] | 0.0835 |  | 8.3922e-07 | 8.4233e-07 | 24.6094 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 4
| 1300 | 0.20122 | 0.7298 | 0.20471 | 0.67635 | 0.20296 | [6 empty] | 0.0835 |  | 1.3382e-06 | 1.3394e-06 | 24.6094 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31
FIBER027 | 850 | 0.37708 | 0.6426 | 0.39323 | 0.78477 | 0.38514 | [6 empty] | 0.0819 |  | 8.3922e-07 | 8.4233e-07 | 24.6094 | 24.4688 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 7
| 1300 | 0.19481 | 0.7298 | 0.20943 | 0.67635 | 0.20211 | [6 empty] | 0.0819 |  | 1.3382e-06 | 1.3394e-06 | 24.6094 | 24.4688 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31
FIBER028 | 850 | 0.49832 | 0.6426 | 0.49783 | 0.78477 | 0.49807 | [6 empty] | 0.0804 |  | 8.3923e-07 | 8.4233e-07 | 24.625 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 8
| 1300 | 0.32843 | 0.7298 | 0.32515 | 0.67635 | 0.32679 | [6 empty] | 0.0804 |  | 1.3382e-06 | 1.3394e-06 | 24.625 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31
FIBER029 | 850 | 0.43344 | 0.6426 | 0.43524 | 0.78477 | 0.43434 | [6 empty] | 0.0828 |  | 8.3923e-07 | 8.4234e-07 | 24.625 | 24.5156 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 9
| 1300 | 0.28146 | 0.7298 | 0.27964 | 0.67635 | 0.28055 | [6 empty] | 0.0828 |  | 1.3382e-06 | 1.3394e-06 | 24.625 | 24.5156 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31
FIBER030 | 850 | 0.45609 | 0.6426 | 0.45408 | 0.78477 | 0.45508 | [6 empty] | 0.0791 |  | 8.3923e-07 | 8.4233e-07 | 24.625 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 10
| 1300 | 0.3041 | 0.7298 | 0.29614 | 0.67635 | 0.30011 | [6 empty] | 0.0791 |  | 1.3382e-06 | 1.3394e-06 | 24.625 | 24.4844 | 2007-05-08 | 16:19 | 50 microns MM | Side by Side | X3J31
FIBER031 | 850 | 0.53158 | 0.6426 | 0.52724 | 0.78477 | 0.52941 | [6 empty] | 0.0781 |  | 8.3923e-07 | 8.4234e-07 | 24.625 | 24.5 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 11
| 1300 | 0.33334 | 0.7298 | 0.3261 | 0.67635 | 0.32972 | [6 empty] | 0.0781 |  | 1.3382e-06 | 1.3394e-06 | 24.625 | 24.5 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31
FIBER032 | 850 | 0.52164 | 0.6426 | 0.52317 | 0.78477 | 0.52241 | [6 empty] | 0.0795 |  | 8.3923e-07 | 8.4233e-07 | 24.6406 | 24.4688 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31 | FED | 3 | 12
| 1300 | 0.33088 | 0.7298 | 0.32868 | 0.67635 | 0.32978 | [6 empty] | 0.0795 |  | 1.3382e-06 | 1.3394e-06 | 24.6406 | 24.4688 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31
FIBER033 | 850 | 0.61189 | 0.6426 | 0.60435 | 0.78477 | 0.60812 | [6 empty] | 0.0807 |  | 8.3923e-07 | 8.4233e-07 | 24.625 | 24.4844 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 1
| 1300 | 0.44219 | 0.7298 | 0.43371 | 0.67635 | 0.43794 | [6 empty] | 0.0807 |  | 1.3382e-06 | 1.3394e-06 | 24.625 | 24.4844 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31
FIBER034 | 850 | 0.3704 | 0.6426 | 0.37006 | 0.78477 | 0.37023 | [6 empty] | 0.0779 |  | 8.3924e-07 | 8.4233e-07 | 24.6719 | 24.4844 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 2
| 1300 | 0.18251 | 0.7298 | 0.18123 | 0.67635 | 0.18187 | [6 empty] | 0.0779 |  | 1.3382e-06 | 1.3394e-06 | 24.6719 | 24.4844 | 2007-05-08 | 16:20 | 50 microns MM | Side by Side | X3J31
FIBER035 | 850 | 0.37871 | 0.6426 | 0.38169 | 0.78477 | 0.3802 | [6 empty] | 0.0769 |  | 8.3923e-07 | 8.4235e-07 | 24.6406 | 24.5312 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 3
| 1300 | 0.25577 | 0.7298 | 0.25361 | 0.67635 | 0.25469 | [6 empty] | 0.0769 |  | 1.3382e-06 | 1.3394e-06 | 24.6406 | 24.5312 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31
FIBER036 | 850 | 0.58561 | 0.6426 | 0.58894 | 0.78477 | 0.58727 | [6 empty] | 0.0802 |  | 8.3923e-07 | 8.4234e-07 | 24.6406 | 24.5 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 4
| 1300 | 0.4049 | 0.7298 | 0.40121 | 0.67635 | 0.40306 | [6 empty] | 0.0802 |  | 1.3382e-06 | 1.3394e-06 | 24.6406 | 24.5 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31
FIBER037 | 850 | 0.48152 | 0.6426 | 0.48179 | 0.78477 | 0.48165 | [6 empty] | 0.0786 |  | 8.3924e-07 | 8.4233e-07 | 24.6562 | 24.4844 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 5
| 1300 | 0.31152 | 0.7298 | 0.30816 | 0.67635 | 0.30984 | [6 empty] | 0.0786 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.4844 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31
FIBER038 | 850 | 0.42981 | 0.6426 | 0.43147 | 0.78477 | 0.43064 | [6 empty] | 0.0805 |  | 8.3923e-07 | 8.4234e-07 | 24.6406 | 24.5 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 6
| 1300 | 0.27335 | 0.7298 | 0.26971 | 0.67635 | 0.27153 | [6 empty] | 0.0805 |  | 1.3382e-06 | 1.3394e-06 | 24.6406 | 24.5 | 2007-05-08 | 16:21 | 50 microns MM | Side by Side | X3J31
FIBER039 | 850 | 0.41237 | 0.6426 | 0.41535 | 0.78477 | 0.41386 | [6 empty] | 0.0825 |  | 8.3924e-07 | 8.4233e-07 | 24.6562 | 24.4688 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 7
| 1300 | 0.26291 | 0.7298 | 0.26122 | 0.67635 | 0.26207 | [6 empty] | 0.0825 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.4688 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31
FIBER040 | 850 | 0.41733 | 0.6426 | 0.42068 | 0.78477 | 0.419 | [6 empty] | 0.0789 |  | 8.3923e-07 | 8.4234e-07 | 24.6562 | 24.5156 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 8
| 1300 | 0.27591 | 0.7298 | 0.27449 | 0.67635 | 0.2752 | [6 empty] | 0.0789 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.5156 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31
FIBER041 | 850 | 0.52697 | 0.6426 | 0.53639 | 0.78477 | 0.53168 | [6 empty] | 0.0834 |  | 8.3924e-07 | 8.4233e-07 | 24.6562 | 24.4688 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 9
| 1300 | 0.38882 | 0.7298 | 0.39117 | 0.67635 | 0.39 | [6 empty] | 0.0834 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.4688 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31
FIBER042 | 850 | 0.60254 | 0.6426 | 0.60257 | 0.78477 | 0.60255 | [6 empty] | 0.0796 |  | 8.3923e-07 | 8.4233e-07 | 24.6406 | 24.4531 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 10
| 1300 | 0.4281 | 0.7298 | 0.42339 | 0.67635 | 0.42575 | [6 empty] | 0.0796 |  | 1.3382e-06 | 1.3394e-06 | 24.6406 | 24.4531 | 2007-05-08 | 16:22 | 50 microns MM | Side by Side | X3J31
FIBER043 | 850 | 0.66201 | 0.6426 | 0.66223 | 0.78477 | 0.66212 | [6 empty] | 0.0815 |  | 8.3924e-07 | 8.4233e-07 | 24.6719 | 24.4844 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 11
| 1300 | 0.48466 | 0.7298 | 0.48076 | 0.67635 | 0.48271 | [6 empty] | 0.0815 |  | 1.3382e-06 | 1.3394e-06 | 24.6719 | 24.4844 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31
FIBER044 | 850 | 0.59146 | 0.6426 | 1.3278 | 0.78477 | 0.94404 | [6 empty] | 0.0822 |  | 8.3924e-07 | 8.4233e-07 | 24.6875 | 24.4844 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31 | FED | 4 | 12
| 1300 | 0.40495 | 0.7298 | 1.1477 | 0.67635 | 0.76048 | [6 empty] | 0.0822 |  | 1.3382e-06 | 1.3394e-06 | 24.6875 | 24.4844 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31
FIBER045 | 850 | 0.31756 | 0.6426 | 0.31862 | 0.78477 | 0.31809 | [6 empty] | 0.0672 |  | 8.3924e-07 | 8.4232e-07 | 24.6562 | 24.4375 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 1
| 1300 | 0.17285 | 0.7298 | 0.17102 | 0.67635 | 0.17193 | [6 empty] | 0.0672 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.4375 | 2007-05-08 | 16:23 | 50 microns MM | Side by Side | X3J31
FIBER046 | 850 | 0.54545 | 0.6426 | 0.54361 | 0.78477 | 0.54453 | [6 empty] | 0.0658 |  | 8.3924e-07 | 8.4233e-07 | 24.6719 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 2
| 1300 | 0.42395 | 0.7298 | 0.41923 | 0.67635 | 0.42159 | [6 empty] | 0.0658 |  | 1.3382e-06 | 1.3394e-06 | 24.6719 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31
FIBER047 | 850 | 0.55064 | 0.6426 | 0.55295 | 0.78477 | 0.55179 | [6 empty] | 0.0666 |  | 8.3924e-07 | 8.4233e-07 | 24.6562 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 3
| 1300 | 0.45223 | 0.7298 | 0.44544 | 0.67635 | 0.44883 | [6 empty] | 0.0666 |  | 1.3382e-06 | 1.3394e-06 | 24.6562 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31
FIBER048 | 850 | 0.69641 | 0.6426 | 0.69507 | 0.78477 | 0.69574 | [6 empty] | 0.0685 |  | 8.3924e-07 | 8.4233e-07 | 24.6875 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 4
| 1300 | 0.56103 | 0.7298 | 0.55626 | 0.67635 | 0.55864 | [6 empty] | 0.0685 |  | 1.3382e-06 | 1.3394e-06 | 24.6875 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31
FIBER049 | 850 | 0.4951 | 0.6426 | 0.48694 | 0.78477 | 0.49102 | [6 empty] | 0.0667 |  | 8.3925e-07 | 8.4233e-07 | 24.6719 | 24.4844 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 5
| 1300 | 0.41 | 0.7298 | 0.40049 | 0.67635 | 0.40524 | [6 empty] | 0.0667 |  | 1.3382e-06 | 1.3394e-06 | 24.6719 | 24.4844 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31
FIBER050 | 850 | 0.53034 | 0.6426 | 0.53143 | 0.78477 | 0.53088 | [6 empty] | 0.067 |  | 8.3924e-07 | 8.4233e-07 | 24.6719 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31 | MPC | 6 | 6
| 1300 | 0.44377 | 0.7298 | 0.44088 | 0.67635 | 0.44232 | [6 empty] | 0.067 |  | 1.3382e-06 | 1.3394e-06 | 24.6719 | 24.4531 | 2007-05-08 | 16:24 | 50 microns MM | Side by Side | X3J31
Threshold
Name:
Wavelength (nm) | Insertion Loss (dB) | ORL (dB) | Power (dBm) | Power Ref. (dB)
Cable Information
Id: | YE1_6
Manufacturer:
Type:
Comment:
Location A:
Location B:
Job Information
Id:
Contractor:
Customer:
Reason:
Operator A:
Unit A: | FOT-930
Serial Number A: | 397285
Operator B:
Unit B: | FOT-932
Serial Number B: | 397286
Date: | 2007-05-07 | 14:24