## Computers in USC55 (2)
[8 empty] | Fiber Connections |  |  |  | Internal Systems |  | network connectons |  | field bus
PC height [U] | Sub-system | Serial Number | Usage | Name | Present Location | Rack | Crate Possition | # of VME IF | Connects to crate (1) | Connects to crate (2) | Connects to crate (3) | system | executive task | network 1 | network 2 | field bus | control | Comments
2 | Muon |  | CSC-TF | CSC-TF | installed | S2G18 | U15 | 1 | S1D04h |  |  | Linux |  | CMS |  |  | TF VME | TF
2 | Muon | H436891 | CSC-PC | CSC-PC 1 | installed | S2G18 | U13 | 0 | S1G07 |  |  | Linux |  | CMS | ME PC |  | PC VME | +Z - peripheral crate download and fast control
2 | Muon | 2436891 | CSC-PC | CSC-PC 2 | installed | S2G18 | U11 | 0 | S1G07 |  |  | Linux |  | CMS | ME PC |  | PC VME | -Z - peripheral crate download and fast control
2 | Muon | 4MM0X91 | CSC-FED | CSC-FED 1 | installed | S2G18 | U9 | 2 | S1G06i | S1G06g |  | Linux |  | CMS |  |  | FED VME | +Z - FED Electronics
2 | Muon | JMK8X91 | CSC-FED | CSC-FED 2 | installed | S2G18 | U7 | 2 | S1G08i | S1G08g |  | Linux |  | CMS |  |  | FED VME | -Z - FED Electronics
1 |  | 18YY791 | CSC ME1/1 | CSC ME1/1 | installed | S2G18 | U4 | 0 | [9 empty] | ME 1/1
2 | Muon | B436891 | CSC-SV | CSC SV | installed | S2G19 | U13 | 0 | [8 empty] | SV | CSC Supervisor
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U12 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME+1 | 9 1U machines:
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U11 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME+2 | they are running PVSS (1 per ME station + 1 master)
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U10 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME+3 | connected to internal network
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U9 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME+4 | they need to talk to the Oracle online database
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U8 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME-1 | (all are the Linux PC's to run PVSS)
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U7 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME-2
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U5 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME-3
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U4 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME-4
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U3 | 0 |  |  |  | Linux | PVSS | CMS |  |  | ME Master
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U2 | 0 | (S1G07) not connected yet |  |  | Linux |  | CMS | ME PC |  | peripheral crate based slow control | DCS to peripheral crate monitoring - contain D-link Card
1 | Muon |  | CSC-DCS |  | installed | S2G19 | U1 | 0 | (S1G07) not connected yet |  |  | Linux |  | CMS | ME PC |  | peripheral crate based slow control | DCS to peripheral crate monitoring - contain D-link Card
2 | Muon |  | CSC-DCS |  | Attila | S4Fxx |  | 0 |  |  |  | Windows |  | CMS |  | CANBus PCI |  | runs the Canbus based LV Wiener
2 | Muon |  | CSC-DCS |  | Attila | S4Fxx |  | 0 |  |  |  | Windows |  | CMS |  | CANBus PCI |  | runs the Canbus based LV CRB - PCMB
Networks
ME PC private > CSC only private network connecting to all the peripheral crate controllers - Gbit optical fiber network
CMS > All computers underground connect to this network >> network access to orical db etc.

## Computers in USC55
[6 empty] | Fiber Connections |  |  |  |  | Internal Systems |  | network connectons |  | field bus
DB Requester | PC height [U] | Sub-system | Usage | Rack | Crate Possition | # of VME IF | Connects to crate (1) | Connects to crate (2) | Connects to crate (3) | Requested at | system | executive task | network 1 | network 2 | field bus | control | Comments
TYLING | 2 | Muon | CSC-FED | S2G18 |  | 2 | S1G06a | S1G06b |  | 2005-07-27 |  |  | CMS | ME PC |  | FED VME | peripheral crate download and fast control
TYLING | 2 | Muon | CSC-FED | S2G18 |  | 2 | S1G07a | S1G07b |  | 2005-07-27 |  |  | CMS | ME PC |  | FED VME | peripheral crate download and fast control
TYLING | 2 | Muon | CSC-FED | S2G18 |  | 3 | S1G08a | S1G08b | S1G08c | 2005-07-27 |  |  | CMS | ME PC |  | PC VME | peripheral crate download and fast control
TYLING | 2 | Muon | CSC-FED | S2G18 |  | 3 | S1G08e | S1G08f | S1G08g | 2005-07-27 |  |  | CMS | ME PC |  | PC VME | peripheral crate download and fast control
TYLING | 1 | Muon | CSC-DCS | S2G18 |  | 1 | S1D04h |  |  | 2005-07-27 |  |  | CMS | ME PC |  | TF VME | TF
TYLING | 1 | Muon | CSC-DCS | S2G18 |  | 1 | SID04e |  |  | 2005-10-07 |  |  | CMS | ME PC |  | TTC VME | TTC - not needed, see Frank's email
? | 1 | Muon | CSC-DCS | S2G18 |  | 1 | S1A13f |  |  | 2005-10-07 |  |  | CMS | ME HV&LV |  | HV VME | HV VME Master Crate
? | 1 | Muon | CSC-DCS | S2G18 |  | 1 | S1A13g |  |  | 2005-10-07 |  |  | CMS | ME HV&LV |  | HV VME | HV VME Master Crate
? | 1 | Muon | CSC-DCS | S2G18 |  | 1 | S1A13h |  |  | 2005-10-07 |  |  | CMS | ME HV&LV |  | HV VME | These 4 in RW - Are they used?
? | 1 | Muon | CSC-DCS | S2G18 |  | 1 | S1A13k |  |  | 2005-10-07 |  |  | CMS | ME HV&LV |  | HV VME | HV VME Master Crate
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME+1 | 9 1U machines:
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME+2 | they are running PVSS (1 per ME station + 1 master)
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME+3 | connected to internal network
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME+4 | they need to talk to the Oracle online database
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME-1 | (all are the Linux PC's to run PVSS)
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME-2
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME-3 | THESE MAY NOT NEED TO BE IN USC55
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME-4
Clare | 1 | Muon | CSC-DCS | S2G19 | [6 empty] | Linux | PVSS | CMS |  |  | ME Master
Clare | 1 | Muon | CSC-DCS | S2G19 |  |  | S1G07 |  |  |  | Linux |  | CMS | ME PC |  | peripheral crate based slow control | DCS to peripheral crate monitoring
Clare | 1 | Muon | CSC-DCS | S2G19 |  |  | S1G07 |  |  |  | Linux |  | CMS | ME PC |  | peripheral crate based slow control | DCS to peripheral crate monitoring
Clare | 2 | Muon | CSC-DCS | S4Fxx | [6 empty] | Windows |  | CMS | ME HV&LV | CANBus PCI |  | runs the Canbus based LV Wiener
Clare | 2 | Muon | CSC-DCS | S4Fxx | [6 empty] | Windows |  | CMS | ME HV&LV | CANBus PCI |  | runs the Canbus based LV CRB - PCMB
Networks
ME PC private > private network connecting to all the peripheral crate controllers
ME HV&LV private > connecting all ME high voltage and low voltage control computers
CMS > network access to orical db etc.
I do not know if each of the above is a single network nor if one or more are combined.

## Valerii & Bob's Notes
9 1U machines: they are running PVSS (1 per ME station + 1 master)
connected to internal network
they need to talk to the Oracle online database
(all are the Linux PC's to run PVSS)
2 1U machines: they run the Peripheral Crate based slow control
connected to internal network
connected to Peripheral Crate network (if different)
(Linux PC-s to run Peripheral Crate Controller based
slow control. To my mind they should be located near
the DAQ configuration PC-s as they are all connected
to VME controllers via switchs (Frank, please corect
me)
2 2U machines: they run the Canbus based LV (CRB and Wiener)
connected to internal network
connected to Canbus (via Canbus PCI interfaces)
(Windows PC-s: one is to control PCMBs, another to
control Wiener Maratons)
-----Original Message-----
From: Robert Clare [mailto:robert.clare@ucr.edu]
Sent: Friday, January 26, 2007 6:58 PM
To: fredob@fnal.gov
Cc: 'Ta-yung Ling'; Frank Geurts; Paul Padley; 'Valeri Sytnik'
Subject: Re: PCs for CSC
Here is the extract from a mail that I sent to TY and Paul over a year ago:
9 1U machines: they are running PVSS (1 per ME station + 1 master)
connected to internal network
they need to talk to the Oracle online database
2 1U machines: they run the Peripheral Crate based slow control
connected to internal network
connected to Peripheral Crate network (if different)
2 2U machines: they run the Canbus based LV (CRB and Wiener)
connected to internal network
connected to Canbus (via Canbus PCI interfaces)

## T.Y. & Frank's notes
-----Original Message-----
From: LING@mps.ohio-state.edu [mailto:LING@mps.ohio-state.edu]
Sent: Friday, January 26, 2007 5:54 PM
To: Attila Racz
Cc: LING@mps.ohio-state.edu; Frank Geurts; Paul Padley; Bob Clare; Frank Glege
Subject: Re: PCs for CSC
Hi Attila:
For the 6x2U machines I ordered (2 for CSC FED crates,
2 for CSC peripheral crates, for CSC Track Finer crate and
1 for CSC TTC), you can put them all in S2G18.
Someone else (Clare/Padley) should respond for the 13 CSC-DCS PC's.
Regards,
T.Y.
-----Original Message-----
From: Frank Geurts
Sent: Tuesday, February 06, 2007 2:45 PM
To: Paul Padley; Ta-Yung Ling
Cc: Frederick Borcherding
Subject: ... and how about the CSC TTC computer?
Hi Paul and T.Y.,
in order not to put more noise on the FED/DCS computer email thread i would like to ask you about the CSC TTC computer:
In T.Y.'s list there is one machine reserved for it and as far as i can tell that one hasn't been installed by Attila.
However, Jan Troska *has* already bought (and installed) a computer for our TTC control. It is located in his rack S2B16.
This rack has all the ten TTC related PCs in it.
Were you aware of this? I guess this means that we don't need to assign that one anymore.
Frank