# CSC and Peripheral Crate Timing Documentation

The following is an outline of the usual CSC and peripheral crate timing procedure, giving the necessary steps sequentially.  To start the DAQ software, run the executable “cfeb_control” located in the fast_daq/daqmb/ directory.  Note that it will be necessary to close and recompile cfeb_control after most of the timing operations.  To recompile cfeb_control, type “gmake” in the fast_daq/daqmb/ directory.

The menus and submenus used in this documentation are listed below for reference.  From the main cfeb_control window, the following menus may be opened:

| File | Config | Trig | DDU/TCB/MPC |
| --- | --- | --- | --- |

The general procedure in timing in the system is to program the hardware, start the system triggering (but not writing any data to disk) and then perform the desired timing operation.  Some of the timing operations assume a continuous stream of particles (TMB PHOS4 timing, TMB Logic Analyzer timing), and adjusting timing in structured beam is much more difficult.

The following are the important submenus:

| ## Config | Config | DDU/TCB/MPC | Trig |
| --- | --- | --- | --- |
| ## Setup | Resets | DDU Tests | TMB Timing |

To program hardware:

- Setup – 1st command Full setup

- Setup – cathode LCT, Scint L1

- Setup – Setup ALCT

- Repeat above steps for multiple chambers (adjust VME slot).

- File – Set VME DMB Slot  (or Setup – Set VME Slot)

- Then enter the number of the DMB slot in the text entry window which appears and hit <enter>.  This adjusts both the DMB and TMB slots in cfeb_control.

To start triggering:

- Resets – Sync Reset

- DDU Tests – Reset BX & Event counters

- Setup – CCB TRG_START

- Resets – CCB BX0

- Setup – Cycle TTC clock & control (if using TTC)

- Setup – Toggle CCB L1 Trigger Enable

To stop triggering:

- Setup – Toggle CCB L1 Trigger Enable

- Setup – Cycle TTC clock & control (if using TTC)

- Setup – CCB TRG_STOP

TMB PHOS4 timing:

Because the ALCT gets its clock from the TMB, the first step is to time in the connection between TMB and ALCT, which is multiplexed up to 80 MHz from the usual 40 MHz clock of the system.  Similarly, the CFEB boards also receive a multiplexed signal from the TMB, which includes the LCT pulse.  The LCT pulse to the CFEBs is necessary to set the global L1A signal (via the CCB) to the system, and thus must be done before adjusting the timing on the CFEBs (see CFEB Timing, below).  Timing in the multiplexed signals refers to adjusting a delay in the phase of the transmission so that the serially transmitted bits are interpreted correctly after de-multiplexing.  In the 2001 version of the TMB, the delay chips are called “PHOS4 chips,” hence the name of this timing section.

To time in the multiplexed signals to the ALCT, setup the system to trigger and then run “TMB PHOS4 alct” from the “Trig – TMB Timing” menu.  After about 5 minutes, the software will output to the screen three 2-D scatter plots of the PHOS4 delay chip settings for tx and rx to the ALCT, where the tx clock (lower bits) are on the y-axis and the rx clock (higher bits) are on the x-axis.  The first plot is a scan solely over tx and the third is a combination of tx and rx (ignore the second plot).  In the first plot, values of zero represent delays where the setting is an acceptable timing, and non-zero values represent unacceptable timing.  Choose the delay at the center of the acceptable tx region from this plot (see below).

Example of first scatter plot output of ALCT PHOS4 timing (modulo some channels that do not fit on the page).  The middle of the acceptable tx region is 0x05:

0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000

0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0127  0572  0669  1728  0232  1380  0136  0035  0368  0787  0508  0085  0454  1056  0192  0055  0208  0878  1119  0105  1340  0776  0712  0018  0805  0899  0780  0801  0096  0793  0752  0809  0452  0752  0103  0621  0348  0128  0674  0737  0097  0728  0760  0761  0749  0792  0741  0764  0620  0772  0820  1091  0741  0556  0273  0864  0740  0336  0641  0714  0777  0793  0778  0981  0796  0265  0759  0757  0778  0832  0811  0762  0813  0556  0796  0812  0796  1132  0796  0812  0816  0616  0712  0777  0328  0777  0797  0780  0465  0737  0732  0796  0751  1104  0758  0835  0773  0736  0758  0771  0816  1168  0053  0267  0588  0973  0732  0756  0733  0751  0796  0135  0111  0772  0749  0816  0556  0797  0733  0556  0753  0064  0804  0769  0776  0720  0772  0017  0046  0700  0905  0937  0799  0815  0481  0862  0815  0801  0788  0771  1048  0765  0579  0321  0753  0779  0714  0592  0752  0243  0758  0425  0108  0247  0777  0011  0804  0755  0729  0799  0776  0760  0797  0796  0773  0737  0770  0832  0781  0780  0600  0524  0795  0764  0732  0805  0787  0775  1079  0832  0130  0836  0778  0088  0819  0905  0110  0796  0560  0793  0805  0755  0755  0780  0780  0740  0127  0809  0566  0781  0793  0344  0753  0755  0813  0780  0780  0769  0834  0792  0700  0792  0762  0795  0799  0772  0776  0803  0749  0769  0826  0520  0752  0797  0791  0564  0760  0608  0794  0796  1003  0835  0796  0796  0759  0776  1028  0792  0110  0801  0444  0441  0797  0617  0764  0813  0760  0145  0751  0816  0647  0795  0796  0790  0732  1045  0256  0816  0744  0774  0805  0814  0740  0060  0209  0813  0753  0776  0835  0768  0745  1032  0313  1582  0244  0007  0103  0153  0019  0493  0676  0675  1474  0439  0764  0967  1456  1234  0782  0044  1418  1767  0960  0603

|-----------------> higher bits (rx)

|

|

|

\/

lower bits (tx)

Using the value for tx selected from the first scatter plot (above).  Select the rx value from the third scatter plot (below) which is in the middle of the acceptable region.  In contrast to the first plot, acceptable delays on the third plot are non-zero and unacceptable delays are zero.

Example of third scatter plot output of ALCT PHOS4 timing (modulo some channels that do not fit on the page).  The middle of the acceptable rx region is 0x10 at an tx of 0x05 (selected above):

0000  0000  0000  0000  0000  0068  0724  0372  0160  0836  0068  1584  0092  0488  0724  0624  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0248  1584  1120  1188  0768  0260  0236  1584  1120  0396  0328  0792  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0180  1188  1120  0180  1560  0632  0816  0092  1096  1144  1028  0024  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0612  0884  0092  0180  0792  0068  0792  1188  0296  0440  1300  1584  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0012  0092  0216  0092  1348  0024  0024  0100  0420  0304  0816  0792  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0328  0556  0792  0816  1348  0328  0396  0748  0044  0328  0100  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0644  0768  1120  0724  1584  0724  0236  1584  0092  1232  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0464  1028  0304  0372  0160  1980  0792  1980  1584  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  1188  1120  1696  0304  1188  0588  1120  0884  0080  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  1188  1076  1164  0328  1492  0044  1232  0068  1696  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0612  0768  0396  0748  1584  0836  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000  0000

Set the delay values from the above plots in TMB VME Adr 16 in tmb_trgmode.c:

sndbuf[0] = 0x10;    higher order bits (rx)

sndbuf[1] = 0x05;     lower order bits (tx)

tmb_vme(0x02,0x16,sndbuf,rcvbuf,1);

To time in the multiplexed signals to the CFEBs, software in cfeb_control scans over delay settings in the PHOS4 chip, attempting to collect cathode LCTs at each setting.  Since the full DAQ path is not timed in, these events are read out through VME.  Delays having an acceptable timing will collect events, whereas delays with unacceptable timing will not.  The software creates a file  (tmb_scan.dat) containing a table of the delay settings and their respective number of collected events.  If the system is working properly, a consecutive half of the 25 time bins will have events, and the other time bins will have no events (note that the time bins “wrap around” – time bins 24 and 0 are continuous).  To run this timing software, first setup the system to trigger and then run “TMB PHOS4 cfeb” from the “Trig – TMB Timing” menu.  After the software finishes running, choose a delay value at the center of the distribution of delays with events and enter this value in TMB VME Adr 1A, 1C and1E in the file “tmb_trgmode.c” in the directory “fast_daq/daqmb/tmb_routines/.”  Note that some fluctuations in the central delay setting may occur between CFEBs, but it should be possible to choose the same delay for each CFEB and still be near the center of the distribution.

Set the CFEB PHOS4 delays in tmb_trgmode.c accordingly:

sndbuf[0] = 0x03;   CFEB 0 (Adr 1A)		sndbuf[0] = 0x03;   CFEB 2 (Adr 1C)

sndbuf[1] = 0x00;   leave this zero		sndbuf[1] = 0x03;   CFEB 1 (Adr 1C)

tmb_vme(0x02,0x1A,sndbuf,rcvbuf,1);		tmb_vme(0x02,0x1C,sndbuf,rcvbuf,1);

sndbuf[0] = 0x03;   CFEB 4 (Adr 1E)

sndbuf[1] = 0x00;   CFEB 3 (Adr 1E)

tmb_vme(0x02,0x1E,sndbuf,rcvbuf,1);

CFEB timing:

There is no adjustment on the CFEB boards to compensate for different offsets in the time between CLCT and L1A arrival on the boards.  The only way to time in the L1A signal on the CFEB is to set a difference of 2.9 s between these two signals by adjusting the L1A delay on the CCB.  Since adjusting this delay affects all of the other boards on the system, it is necessarily the next step in timing in the system.  To perform this operation, program the hardware and start triggering.  Then attach an oscilloscope to the L1A and LCT test points on the CFEB boards and measure the offset between LCT and L1A.  Center the peak of the L1As to arrive 2.9 s after LCT.  Adjust the CCB L1A delay in the software in file “rice_l1_cathode_scint.c” in the CCB directory, fast_daq/daqmb/rice_routines/.  The CCB L1A delay is in VME address 0x08 and corresponds to CSR5 in the CCB documentation.  In the case of an external (scintillation) trigger, increment or decrement the two lower order bytes of VME address 0x08 to increase or decrease the L1A delay, respectively.

sndbuf[0] = 0x00;

sndbuf[1] = 0x7b;     adjust values here

rice_vme(0x02,0x08,sndbuf,rcvbuf,0);   the VME address is the second value (0x08)

Internal TMB timing:

There are two signals internal to the TMB that must be tuned: the arrival of the L1A and the match between CLCT and ALCT.  In both cases, this amounts to centering a pulse in a window – waveforms shown in the TMB’s Logic Analyzer. At this point, it is necessary to read the Logic Analyzer through VME, but to do this, the logic analyzer dump to the data stream must be off.  Turn off the logic analyzer dump to the data stream by setting bit[05] in TMB VME Adr 98 to 0 (there should be a commented section of code in tmb_trgmode.c to easily make this adjustment).  With this setting, recompile and run cfeb_control, program the hardware, start triggering and then run:

- TMB Timing – TMB scope

- Answer “y” to “loop (y/n)?”

- Enter the desired number of events (5-10).

When finished, this software writes the Logic Analyzer dump for each event to a file (fort.2) in the fast_daq/daqmb directory.  In this dump, logic 1 is represented by “-“ and logic 0 by “_.”  Scan through each event and note the relative position of the pulse “l1a_pulse_dsp” to the window “l1a_window_dsp” (L1A timing) and the pulse “alct_vpf_tp” to the window “clct_window_tp” (ALCT – CLCT timing).  Note that the TMB will not read out an event unless “l1a_pulse_dsp” is in “l1a_window_dsp,” but “alct_vpf_tp” is not required to be in “clct_window_dsp” in the cathode pattern trigger mode used here.  While the position of the windows is fixed, incrementing or decrementing a delay in the proper VME address adjusts the position of the pulses.  Determine the average adjustment necessary to position each pulse in its respective window and then adjust the delay of each pulse accordingly.  Adjust the L1A pulse delay in VME address 74 bits [07:00] and the ALCT valid pattern pulse delay in VME address B2 bits [03:00].

L1A delay:					ALCT vpf delay:

sndbuf[0] = 0x03;    size of window		sndbuf[0] = 0x00;    always zero

sndbuf[1] = 0x79;    pulse delay			sndbuf[1] = 0x38;    window [07:04], delay [03:00]

tmb_vme(0x02,0x74,sndbuf,rcvbuf,1);		tmb_vme(0x02,0xB2,sndbuf,rcvbuf,1);

After adjusting the delays, recompile and take more Logic Analyzer data to determine if the adjustment was successful.  Some iteration may be required.

DMB DAV delay:

Once the ALCT, CFEBs and TMB are timed in, the DAQ path can be timed in.  Each board sends a signal to the DMB when it has interesting data to read out.  This data available (DAV) signal must be in time with the L1A from the CCB for the DMB to send the information from the boards to the DDU.  Actually, the DMB delays all of these signals (ALCT_DAV, CFEB_DAV, TMB_DAV, and L1ACC), and it is the delayed version that must be in time.  This allows for a range of latency between the various boards.  To view these signals, attach an oscilloscope to the proper channel (pin) on the DMB utility card, which should be plugged in near the top of the front panel of the DMB.

DMB Utility card pin identification:

Pin 19: DLYD_L1ACC, Delayed L1ACC used to match with the delayed DAVs.

Pin 21: DLYD_TMB_DAV, Delayed TMB Data Available

Pin 23: DLYD_CFEB_DAV, Delayed CFEB Data Available

Pin 29: DLYD_ALCT_DAV, Delayed ALCT Data Available

Use one probe to trigger on the delayed l1a signal and then another to look at the DAV signals.  The DAV signals should be a distribution with a peak centered on the L1A signal.  To adjust these delays, edit the file “daqmb_configuration_0024_07” in the data/daqmb_config/ directory as shown below.

…

feb_dav_delay		18	#CFEB  data_av delay

trigMB_dav_delay	24	#TMB   data_av delay

ALCT_dav_delay	08	#ALCT data_av delay

l1acc_dav_delay	0x1d	#L1A delay

…

ALCT L1A delay:

A final step in the timing in procedure is to check the ALCT L1A delay.  This delay refers to how far back in time the ALCT looks for a LCT upon the arrival of a L1A and should probably not have to be adjusted.  At the moment, the only way view the effect of adjusting this delay is to take data (using the output of the DDU) with different delay settings and find the peak in ALCT efficiency.  Adjust the “l1a_delay” setting in “configuration_clct_1(2).file” in the directory fast_daq/daqmb to adjust the delay setting on chamber 1 (chamber 2).  Note adjustments to this setting may effect the alct_vpf internal timing in the TMB, as well as the ALCT_DAV signal to the DMB.

### Contents of “configuration_clct_1.file:”

<alct_fast>

trig_mode	0

ext_trig_en	0

trig_info_en	0

fifo_pretrig	12

l1a_internal	0

l1a_offset	1

fifo_tbins	8

l1a_delay	128   ALCT L1A delay

l1a_window	3

nph_thrsh	4

nph_pattern	4

ccb_enable	1

</alct_fast>