Operation with EMU-DCS in Green Barrack.

Starting the critical control servers from zero:

1) Machine pcmsad02 console

(if you sit on Unix you can connect to it via:

rdesktop -g 1260x920 pcmsad02 or you can just use the command pcmsad02  )

1.1)  Log On:

Username: emunice

Password: LVP1pii4

1.2) start >> Run >> startxwin.bat

wait until the small window is established on the screen

1.3) In this window enter the commands:

xhost +

xterm &

xterm &

The above commands display two X-windows on the screen:

1.4) Use one of the X-windows to start the HV control server as follows:

ssh –l hvuser ufcmshv1

user: hvuser

pass: UFdqm_04

cd ~/hvcard/dim

screen slice_w

(it may starts up to 10 minutes)

HW input: Do not forget to turn on the LV power supplies for HV system

Tip:If finally you see any trouble with HV on panels,  please do the above commands again  )

Note: In principle you may skip 1.2-1.3 and do the 1.4 in an X-terminal of any machine (e.g. emudcs)

1.5) go to folder C:\dcs_stuff   (Windows machine pcmsad02)

a) Double click MARATON.exe

Wait until the graphical interface of the program is established on the screen

Click “INIT” button and wait until the “Quality” let is ON

If you see one-two popped-up warnings “Server is Busy” click “Retry button”

If you see many (say 10) popped-up warnings “Server is Busy” that means hardware problem:

Kill the program with Task Manager and check if the AC-DC converters are ON,

otherwise call Peter (16-05-37) so that he checks the CANbus, cables et.

b) Double click CRB.exe

Wait until the graphical interface of the program is established on the screen

Click “INIT REGULAR” button and wait until the “Quality” let is ON

If you see popped-up warnings “Server is Busy” click “Retry button”

If you see many (say 10) popped-up warnings “Server is Busy” that means hardware problem:

check that PCMB LV Power supplies in GB are ON (consult Peter about that)

Starting other (not critical) control servers from zero:

Machine pcmsad02

go to folder C:\dcs_stuff   (Windows machine pcmsad02)

Double click WEATHER_STATION.exe

Wait until the graphical interface of the program is established on the screen

Double click  PT100.exe

Click OK to close all the small windows

Wait until the graphical interface of the program is established on the screen

2) Machine pcmsx5gm01 console

Ask Xiaofeng (16-02-70) to start/check the gas stuff on this machine

Otherwise:

2.1)  Log On:

Username: emudcs

Password: LVP1pii4

2.2)   go to folder C:\gas

Double click GAS.exe

Click OK to close all the small windows

Wait until the graphical interface of the program is established on the screen

2.3) Ask Valeri Andreev (16-4195) or Xiaofeng (16-0270) Yang to start pt100 Labview stuff:

Otherwise: ask Sergei Morozov (software developer: Serguei.Morozov@cern.ch, 70-90-95)

3) Machine emuslice08

Martin’s help is needed to load drivers

The Peripheral Crate Controller based slow control starts automatically.

4) Machine pccms99

Ask Xiaofeng (16-02-70) to start/check the weather station

Otherwise:

4.1)  Log On:

Username: emudcs

Password: LVP1pii4

4.2)   Start >> All Programs >> WeatherLink 5.4 >> WeatherLink 5.4

You should see the menu in the opened graphical interface: File Setup Reports …..

Click the button located under Setup item of this menu, wait

Click the button located under Help item of this menu

5) Machine pccmsalign01

Ask Vladimir Sknar (16-5142)or Xiaofeng (16-0270) to start the alignment stuff

Otherwise:

5.1)  Log On:

Username: sknar

Password:

5.2) go to folder C:\dcs_stuff

Double click ALIGNMENT.exe

Click OK to close all the small windows

Click Retry to close all the small windows (many times: up to 30 if part of system is powered off)

Wait until the graphical interface of the program is established on the screen

6) Machine ufcmshv1 (see 1.4 above: the machine pcmsad02 section